## Revised MWG_Futures_and_Sensiti
|  |  | New Generation Sub-Team | [7 empty] | NEEM Region / Tx Metric Subteam |  |  |  |  | Demand, DR, EE | [5 empty] | Environmental Policies |  |  |  |  | Existing Generation | [7 empty] | Fuels |  |  |  |  | MRN Inputs
SSC-Approved Sensitivities (as of 6.6.11) |  |  | Wind Shapes (Exhibit 4) | Hydro Shapes (Exhibit 4A) | Capital Cost/Performance (Exhibit 9 Table 7) | Regional Multipliers (Exhibit 10) | Wind Resource Limits (Exhibit 11) | New Resource Addition Limits (Exhibit 12) | VER Reserve Margin Contribution (Table 5) | Intermittent Generation Limits (Table 14) | Exhibit 9 tx adders | Transfer Limits (Exhibit 17) | Wheeling Charges, Trading Friction, and Total Hurdle (Exhibit 18) | HQ/Maritimes and Canadian Hydro Assumptions (Exhibit 19) | Reserve Margin Regions and Requirements (Table 15) | 2006 Load Shape (Exhibit 01) | PHEV Factors in MRN data (Exhibit 21) | NEEM Load Blocks (Table 01) | Peak and Energy Forecast by NEEM Region (Table 2&3) | Demand Response Percentages (Exhibit 20) | Energy & Peak Targets (Exhibits 26 & 27) | Carbon Modeling (Exhibit 21 and 24) | EPA Regulations (Exhibit 23) | RPS (Exhibit 22, & Appendix C) | Renewable Incentives (Exhibit 25) | RPS Imports, Existing, & New (Appendix C) | Existing Units (Exhibit 06) | Forced New Builds (Exhibit 07) | Forced Retirements (Exhibit 08) | Forced Retrofits (Exhibit 14) | Nuclear Uprates (Exhibit 15) | Existing Operations & Maintenance Costs (without Retrofits) (Table 04) | Installed Capacity by NEEM Region (Table 06) | Example of Carbon Capture Retrofit Costs (Table 11) | Natural Gas Prices, Base Case (Exhibit 16A-16C) | Gas Price in Key MRN Parameters (Exhibit 21) | NEEM Coal Production Regions (Figure 05) | Indicative Minemouth Coal Prices in 2012 under EPA Transport Rule (Table 16) | Coal Characteristics (Table 17) | Sectoral mapping of IMPLAN Sectors based on NAICS 2002 (Appendix B) | Growth Index (Figure 07) | GDP Growth Index - United States (Exhibit 21 and Figure 08) | Real Capital Fixed Charge Rate for New Construction (Table 12) | MRN and NEEM Region Mapping (Table 18) | MRN Model's Sectors in MRN-NEEM Integrated Model (Table 19) | Typical MRN Model's Sectors (Table 20) | Average and Marginal State Taxes on Capital and Labor Income (Table 21) | Average and Marginal Federal Taxes on Capital and Labor Income (Table 22) | Default values of Elasticities in the MRN model (Table 23) | Default Resource Supply Elasticities in the MRN model (Table 24)
No. | Future + Sensitivity | Descriptions
1 | F1:BAU | Future 1: Business As Usual
2 | F1S1:Rev Xfr Limit 75% | Revised transfer capability -- overload charges at 75% of avg shadow prices
3 | F1S2:Rev Xfr Limit 25% | Revised transfer capability -- Overload charges at 25% of avg shadow prices
4 | F1S3:Revised EPA Regs | Revised characterization of EPA regulations
5 | F1S4:High Load Growth | High load growth
6 | F1S5:Low Load Growth | Low load growth
7 | F1S6:High Gas $ | High gas prices
8 | F1S7:Extra High Gas $ | Extra high (accelerated) natural gas price
9 | F1S8:Extra Low Renew $ | Extra low renewable capital costs (32.5% reduction)
10 | F1S9:RPS/EE/DR+5% | Increase state EE/DR levels and RPS reqs by 5 percentage points each
11 | F1S10:High PHEV | Higher PHEV levels | [13 empty] | X | X | X | X
12 | F1S11:Lower Renew Cap$ | Decreased renewable resources capital costs
13 | F1S12:ERC#1Delay EPA | Environmental Regulatory Curtailment (ERC) #1 - Delay implementation of new non-carbon EPA regs beyond period of study
14 | F1S13:ERC#2 Reduce RPS | ERC #2: Reduce existing state RPS by 5% in absolute terms within the timeframe specified by each state’s RPS requirement. Reduce EE/DR requirements (in states that have them) by 5 percentage points each by end of study period.
15 | F1S14:ERC#3 EPA~50% | ERC #3: Less-aggressive implementation of upcoming EPA regs (at ~50% of originally intended impact) by delaying implementation5-yrs
16 | F1S15: FM#1 Sunset Policies | FM #1: No policies/regulations continued past current expiration (PTC/ITC, etc.); RPS requirements removed.
17 | F1S16:FM#2 FM1+high load | FM #2: FM #1 PLUS high load growth.
18 | F1S17: BAU adj SPP limits andMISO CT spread | BAU with SPP vari gen contrib to reserves increased to match other futures; MISO CT's spread across regions | [5 empty] | X | X
19 | F2:National Carbon | Future 2: Federal Carbon Constraint -- National Implementation |  | X | X |  |  | X | X | X | [11 empty] | X
20 | F2S1:Rev Xfr Limit 75% | Revised transfer capability -- overload charges at 75% of avg shadow prices
21 | F2S2:Rev Xfr Limit 25% | Revised transfer capability -- Overload charges at 25% of avg shadow prices
22 | F2S3:Friction Rate Adjustment | Reduce friction charges (50%) | [10 empty] | X
23 | F2S4:High Load Growth | High load growth | [16 empty] | X
24 | F2S5:Low Load Growth | Low load growth | [16 empty] | X
25 | F2S6:Extra High Gas $ | Extra high (accelerated) natural gas price | [32 empty] | X | Not relevant since MRN not run for Sensitivities
26 | F2S7:Low Gas $ | Low gas price | [32 empty] | X | Not relevant since MRN not run for Sensitivities
27 | F2S8:Reserved | Reserved
28 | F2S9:Low Carbon $ | Carbon tax reduced by 20% from baseline levels | [19 empty] | X
29 | F2S10:Extra Low Renew $ | Extra low renewable capital costs (32.5% reduction) |  |  | X
30 | F2S11:Hardened Transmission Limits | Re-run of base case with hardened transmission limits | [9 empty] | X
31 | F2S12:Increase Variable Limits | Increase variable resource penetration limits by 15 percentage points | [7 empty] | X
32 | F3:Regional Carbon | Future 3: Federal Carbon Constraint -- State/Regional Implementation |  | X | X |  |  | X | X | X | [11 empty] | X
33 | F3S1:Rev Xfr Limit 25% | Revised transfer capability -- Overload charges at 75% of avg shadow prices
34 | F3S2:Friction Rate Adjustment | Reduce friction charges (50%) | [10 empty] | X
35 | F3S3:High Load Growth | High load growth | [16 empty] | X
36 | F3S4:Low Load Growth | Low load growth | [16 empty] | X
37 | F3S5:Extra High Gas $ | Extra high (accelerated) natural gas price | [32 empty] | X | Not relevant since MRN not run for Sensitivities
38 | F3S6:Low Gas $ | Low gas prices | [32 empty] | X | Not relevant since MRN not run for Sensitivities
39 | F3S7: Reserved | Reserved
40 | F3S8:Low Carbon $ | Carbon tax reduced by 20% from baseline levels | [19 empty] | X
41 | F3S9:Limited Nuclear | Limited new/upgraded nuclear |  |  | X
42 | F3S10:Increase Cdn hydro | Increased imported Canadian hydro | [11 empty] | X
43 | F3S11:Extra Low Renew $ | Extra low renewable capital costs (32.5% reduction) |  |  | X
44 | F3S12:Hardened Transmission Limits | Re-run of base case with hardened transmission limits | [9 empty] | X
45 | F4:EE/DR/DG | Future 4: Aggressive EE/DR/DG/Smart Grid |  | X | X |  |  | X | X | [6 empty] | X DG load shape added as Exhibit 4B |  |  | X | X | [21 empty] | X
46 | F4S1:Higher PHEV | Higher PHEV levels | [14 empty] | X | X | X
47 | F4S2:Higher PHEV-Peak | Higher PHEV levels with modified load shape (increasing peak) | [14 empty] | X | X | X
48 | F4S3:EE/DR+1% | Additional 1% mandated energy consumption reductions & comparable increase in DR | [16 empty] | X | X
49 | F5:National RPS | Future 5: National RPS -- Top-Down Implementation |  | X | X |  |  | X | X | X | [13 empty] | X | X
50 | F5S1:Rev Xfr Limit 75% | Revised transfer capability -- overload charges at 75% of avg shadow prices
51 | F5S2:Rev Xfr Limit 25% | Revised transfer capability -- Overload charges at 25% of avg shadow prices
52 | F5S3:High Load Growth | High load growth | [16 empty] | X
53 | F5S4:High Gas $ | High gas prices | [32 empty] | X | Not relevant since MRN not run for Sensitivities
54 | F5S5:CES | Clean Energy Standard | [21 empty] | X
| F5S6:High Flex Supply | Increase variable resource penetration limits by 15% (not run) | [7 empty] | deleted
55 | F5S7:High PHEV | Modified load block shapes in recognition of increased PHEV levels 37% charging during peak hrs | [14 empty] | X | X | X
56 | F5S8:Hurdle Rate Adjustment | Reduce Hurdle charges (50%) | [10 empty] | X
57 | F5S9:Offshore Wind | Force in more offshore wind | [25 empty] | X
58 | F5S10:Hardened Transmission Limits | Re-run of base case with hardened transmission limits | [9 empty] | X
59 | F6:Regional RPS | Future 6: National RPS -- State/Regional Implementation |  | X | X |  |  | X | X | X | [13 empty] | X | X
60 | F6S1:Rev Xfr Limit 25% | Revised transfer capability -- Overload charges at 25% of avg shadow prices
61 | F6S2:High Load Growth | High load growth | [16 empty] | X
62 | F6S3:High Gas $ | High gas prices | [32 empty] | X | Not relevant since MRN not run for Sensitivities
63 | F6S4:CES | Clean Energy Standard | [21 empty] | X
| F6S5:Increase Var Limit | Increase variable resource penetration limits by 15% (moved to future 2 Sen 12) | [7 empty] | deleted
64 | F6S6:Increase Cdn hydro | Increased imported Canadian hydro | [11 empty] | X
65 | F6S7:High PHEV | Modified load block shapes in recognition of increased PHEV levels | [14 empty] | X | X | X
| F6S8:Hurdle Rate Adjustment | Reduce Hurdle charges (50%) (not run) | [10 empty] | deleted
66 | F6S9:Offshore Wind | Force in more offshore wind | [25 empty] | X
67 | F6S10:Hardened Transmission Limits | Re-run of base case with hardened transmission limits | [9 empty] | X
68 | F7:Nuclear | Future 7: Nuclear Resurgence |  | X | $2,600/kW uprate costs Captured Post Processing |  |  | X | X | [18 empty] | List of Forced Nuke plants added, but need installation dates and NEEM regions
69 | F7S1:Rev Xfr Limit 25% | Revised transfer capability -- Overload charges at 25% of avg shadow prices
70 | F7S2:High Load Growth | High load growth | [16 empty] | X
71 | F7S3:EPA Carbon | EPA Carbon limitations (electric sector only) | [20 empty] | X
72 | F7S4:SMR | Small Modular Reactor |  |  | X | [37 empty] | X
73 | F8:Combined | Future 8: Combined Federal Climate and Energy Policy |  | X | X |  |  | X | X | X | [11 empty] | X |  | X
74 | F8S1:Rev Xfr Limit 75% | Revised transfer capability -- overload charges at 75% of avg shadow prices
75 | F8S2:Rev Xfr Limit 25% | Revised transfer capability -- Overload charges at 25% of avg shadow prices
76 | F8S3:Lower Renew Cap$ | Decreased renewable resources capital costs |  |  | X
77 | F8S4:Incease RPS | Increase RPS to 40% (increase intermittency penetration limit to 45%) | [7 empty] | X | [13 empty] | X
78 | F8S5 OL75 Flat CO2 | OL75%, with Flat CO2 prices after 2030, intra-MISO CC adjustments, and on-shore wind adjustments in the eastern MISO regions | [5 empty] | X | [13 empty] | X
79 | F8S6 OL75, CO2, adj | OL75%, with Flat CO2 prices after 2030, intra-MISO CC adjustments, and on-shore wind adjustments in MISO, SPP, MAPP_US, and NYISO_A-F | [5 empty] | X | [13 empty] | X
80 | F8S7 Final Hardened | Hardened limits from F8S1 (75%), Flat CO2 prices after 2030, intra-MISO CC adjustments, on-shore wind adjustments in MISO, SPP, MAPP_US, and NYISO_A-F | [5 empty] | X | [13 empty] | X
Note on T8: +1%/yr above BAU base case --lookk Thursday, February 24, 2011 5:25:19 PM
Note on T9: 1%/yr below BAU base case --lookk Thursday, February 24, 2011 5:26:35 PM
Note on AJ10: BAU high case approved by SSC at 2/8&9 meeting.
Note on T13: 5 percentage points more EE over study period through 2030 --lookk Thursday, February 24, 2011 5:30:05 PM
Note on U13: 5 percentage points more DR over study period through 2030; model DR as pseudo generators --lookk Thursday, February 24, 2011 5:30:05 PM
Note on F15: All Renewable Energy Technology Capital Costs Reduced by 20% --ssuccar Thu Feb 24 11:29:28 2011
Note on T20: +1%/yr above BAU base case --lookk Thursday, February 24, 2011 5:25:19 PM
Note on T26: +1%/yr above BAU base case --lookk Thursday, February 24, 2011 5:25:19 PM
Note on T27: 1%/yr below BAU base case --lookk Thursday, February 24, 2011 5:26:35 PM
Note on T38: +1%/yr above BAU base case --lookk Thursday, February 24, 2011 5:25:19 PM
Note on T39: 1%/yr below BAU base case --lookk Thursday, February 24, 2011 5:26:35 PM
Note on T55: +1%/yr above BAU base case --lookk Thursday, February 24, 2011 5:25:19 PM
Note on AJ56: Use BAU high natural gas price sensitivity --lookk Thursday, February 24, 2011 5:06:35 PM
Note on T65: +1%/yr above BAU base case --lookk Thursday, February 24, 2011 5:25:19 PM
Note on AJ66: Use BAU high natural gas price sensitivity --lookk Thursday, February 24, 2011 5:06:35 PM
Note on T76: 1%/yr below BAU base case --lookk Thursday, February 24, 2011 5:26:35 PM
Note on F82: All Renewable Energy Technology Capital Costs Reduced by 20% --ssuccar Thu Feb 24 11:29:28 2011