## Slide 1: Electrical Maps of Final 3 Futures
Stanton W. Hadley
11/9/11

## Slide 2: Maps show Capacity and Energy Flow
Maps show results from:
  F1S17 (Final BAU, no Tx added)
  F6S10 (Regionally applied RPS, 3 GW Tx added)
  F8S7 (CO2 price flattened post-2030, Aggressive EE/DR/DG, MISO CC and Wind shifted, 37 GW Tx added)
First set of maps show energy flow between regions
  Values on lines show amount of transfer in GWyr
  Arrow after number and on line show direction of net flow
  Colors show regions with highest net export (blue) and highest net import (red)
Second maps show total Tx capacity between regions
Third maps show added Tx capacity between regions

## Slide 3
2030 Net Export (GWyear): Blue=Export, Red=Import
NWPP
RMPA
MAPP US
MAPP CA
NE
SPP N
SPP S
AZ NM SNV
ERCOT
MISO W
MISO MO IL
MISO WUMS
MISO MI
MISO IN
IESO
PJM Rest of RTO
TVA
VACA
NEISO
NYISO
A-F
NYISO
GHI
NYISO
J & K
PJM Eastern
MAAC
PJM Rest of MAAC
SOCO
FRCC
ENTERGY
Non RTO Midwest
HQ
Maritimes
F1S17 Final BAU
Net Export Legend (GWyr)
3.5
Max
Neutral
0.0
Min
-5.5
0.3v
0.1>
0v
0^
0<
0v
0.1>
0v
0.1v
0.2<
0>
0.4v
0>
0.1<
1.9^
0.7>
0.1v
0.1v
0.1v
0.6>
0v
0v
0.1v
0.1<
0v
0.3<
0>
0.1v
0^
0.1<
0.6v
0.1<
1v
0.4v
0.5v
0.1v
2.9v
0.8>
0.2^
5v
0^
0.1^
1.7>
3.1>
0<
0.9>
0<
0>
1.4v
0>
0>
0.3<
2.2>
0.7v
1v
0.2<
0.4v

## Slide 4
2030 Net Export (GWyear): Blue=Export, Red=Import
NWPP
RMPA
MAPP US
MAPP CA
NE
SPP N
SPP S
AZ NM SNV
ERCOT
MISO W
MISO MO IL
MISO WUMS
MISO MI
MISO IN
IESO
PJM Rest of RTO
TVA
VACA
NEISO
NYISO
A-F
NYISO
GHI
NYISO
J & K
PJM Eastern
MAAC
PJM Rest of MAAC
SOCO
FRCC
ENTERGY
Non RTO Midwest
HQ
Maritimes
F6S10 HardPipes
Net Export Legend (GWyr)
8.2
Max
Neutral
0.0
Min
-5.1
0.6v
0>
1.1v
0.4^
0<
0.3v
0.8>
0^
1v
0>
1.1>
1.1v
0>
0.2<
1^
1.7>
0.1v
0.5^
0.7v
0.7>
1^
2.5v
0.3^
0>
0v
1.3>
0>
0v
0.1^
0<
0.7^
0.3<
1.8v
0.1v
0.3v
0^
3.4v
0.9>
0.6^
4.5v
0.2^
0.2^
0.9>
5.1>
0<
0>
0.1<
0.1>
1.8v
0>
0<
0.3<
2.2>
0.7v
1.3v
1.3<
0.4v

## Slide 5
2030 Net Export (GWyear): Blue=Export, Red=Import
NWPP
RMPA
MAPP US
MAPP CA
NE
SPP N
SPP S
AZ NM SNV
ERCOT
MISO W
MISO MO IL
MISO WUMS
MISO MI
MISO IN
IESO
PJM Rest of RTO
TVA
VACA
NEISO
NYISO
A-F
NYISO
GHI
NYISO
J & K
PJM Eastern
MAAC
PJM Rest of MAAC
SOCO
FRCC
ENTERGY
Non RTO Midwest
HQ
Maritimes
F8S7 Final Hardened
Net Export Legend (GWyr)
17.1
Max
Neutral
0.0
Min
-10.8
0.3v
1>
6.1v
2.9^
0>
0.6v
0<
0.1v
1.2v
0.1>
2.1>
0.2^
0>
0.2<
0.9v
1.4>
1.1v
0.1v
0^
3.1>
0.4v
3.8v
0.6v
1.6>
1.8v
1.3>
2.4>
0.1v
18.1v
0.3>
0.3v
0.3<
1.1v
0.1^
0.3v
0v
5.1v
2.1>
0.7v
5.5v
0.1v
0v
0.4<
5.7>
0.9<
1.8>
0.2<
0<
2v
0>
0>
1.3<
2.5>
2.2v
1.2v
0.6<
0.7v

## Slide 6
Total Line Capacity (GW)
NWPP
RMPA
MAPP US
MAPP CA
NE
SPP N
SPP S
AZ NM SNV
ERCOT
MISO W
MISO MO IL
MISO WUMS
MISO MI
MISO IN
IESO
PJM Rest of RTO
TVA
VACA
NEISO
NYISO
A-F
NYISO
GHI
NYISO
J & K
PJM Eastern
MAAC
PJM Rest of MAAC
SOCO
FRCC
ENTERGY
Non RTO Midwest
HQ
Maritimes
Total GW
F1S17 Final BAU
2.5
2.4
3.5
0.8
0.3
2.6
2.0
5.0
4.8
1.0
1.8
1.4
3.8
1.2
2.0
4.1
1.6
2.8
0.1
0.8
3.2
1.8
0.6
0.6
2.4
4.3
2.0
6.1
1.5
8.0
8.0
2.5
3.0
0.2
3.7
4.0
0.4
0.4
2.9
1.0
1.4
125.8
0.2
2.0
0.2
0.3
1.7
0.4
0.3
1.6
5.0
3.7
1.1
1.3
1.8
0.1
0.4
3.0

## Slide 7
Total Line Capacity (GW)
NWPP
RMPA
MAPP US
MAPP CA
NE
SPP N
SPP S
AZ NM SNV
ERCOT
MISO W
MISO MO IL
MISO WUMS
MISO MI
MISO IN
IESO
PJM Rest of RTO
TVA
VACA
NEISO
NYISO
A-F
NYISO
GHI
NYISO
J & K
PJM Eastern
MAAC
PJM Rest of MAAC
SOCO
FRCC
ENTERGY
Non RTO Midwest
HQ
Maritimes
Total GW
F6S10 HardPipes
2.5
2.4
3.5
0.8
0.3
2.6
2.0
5.0
4.8
1.0
1.8
1.4
3.8
1.2
2.0
4.1
1.6
2.8
0.1
0.8
3.2
3.0
0.6
0.6
2.4
4.8
2.0
6.2
1.5
8.0
8.0
2.5
3.0
0.2
3.7
4.4
0.4
0.4
2.9
1.0
1.9
129.3
0.2
2.0
0.2
0.3
1.7
0.5
0.3
1.6
5.0
3.7
1.1
1.3
1.8
0.9
0.4
3.0

## Slide 8
Total Line Capacity (GW)
NWPP
RMPA
MAPP US
MAPP CA
NE
SPP N
SPP S
AZ NM SNV
ERCOT
MISO W
MISO MO IL
MISO WUMS
MISO MI
MISO IN
IESO
PJM Rest of RTO
TVA
VACA
NEISO
NYISO
A-F
NYISO
GHI
NYISO
J & K
PJM Eastern
MAAC
PJM Rest of MAAC
SOCO
FRCC
ENTERGY
Non RTO Midwest
HQ
Maritimes
Total GW
F8S7 Final Hardened
2.5
2.4
3.5
0.8
0.3
2.6
2.0
5.5
4.8
1.0
3.1
1.4
4.0
1.2
4.0
4.1
1.7
4.8
0.2
19.8
3.5
1.9
0.6
0.6
2.4
5.3
2.0
6.1
1.5
8.0
8.0
2.5
3.0
0.2
3.7
4.0
0.4
1.8
3.5
3.3
1.8
167.3
0.2
2.0
0.2
0.3
2.2
1.0
0.3
1.6
5.0
3.7
1.1
4.7
7.3
0.3
0.4
3.0

## Slide 9
Line Capacity Additions (GW)
NWPP
RMPA
MAPP US
MAPP CA
NE
SPP N
SPP S
AZ NM SNV
ERCOT
MISO W
MISO MO IL
MISO WUMS
MISO MI
MISO IN
IESO
PJM Rest of RTO
TVA
VACA
NEISO
NYISO
A-F
NYISO
GHI
NYISO
J & K
PJM Eastern
MAAC
PJM Rest of MAAC
SOCO
FRCC
ENTERGY
Non RTO Midwest
HQ
Maritimes
Total GW
F6S10 HardPipes
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
1.2
0.0
0.0
0.0
0.5
0.0
0.1
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.4
0.0
0.0
0.0
0.0
0.0
3.1
0.0
0.0
0.0
0.0
0.0
0.1
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.8
0.0
0.0

## Slide 10
Line Capacity Additions (GW)
NWPP
RMPA
MAPP US
MAPP CA
NE
SPP N
SPP S
AZ NM SNV
ERCOT
MISO W
MISO MO IL
MISO WUMS
MISO MI
MISO IN
IESO
PJM Rest of RTO
TVA
VACA
NEISO
NYISO
A-F
NYISO
GHI
NYISO
J & K
PJM Eastern
MAAC
PJM Rest of MAAC
SOCO
FRCC
ENTERGY
Non RTO Midwest
HQ
Maritimes
Total GW
F8S7 Final Hardened
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.5
0.0
0.0
1.3
0.0
0.2
0.0
2.0
0.0
0.1
2.0
0.1
19.1
0.2
0.1
0.0
0.0
0.0
1.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
0.0
36.8
0.0
0.0
0.0
0.0
0.5
0.6
0.0
0.0
0.0
0.0
0.0
3.4
5.5
0.2
0.0
0.0