## Sheet1
Final List of Approved Sensitivities - 10/31/11
Run No. | Future | Sens. | Description of sensitivities | Notes
Future 1: Business As Usual
1 | 1 | 1 | Revised transfer capability -- overload charges at 75% of avg shadow prices
2 | 1 | 2 | Transmission Sensitivity #1.2 -- Overload charges at 25% of avg shadow prices
3 | 1 | 3 | Revised characterization of EPA regulations
4 | 1 | 4 | High load growth
5 | 1 | 5 | Low load growth
6 | 1 | 6 | High gas prices
7 | 1 | 7 | Extra high (accelerated) natural gas prices
8 | 1 | 8 | Extra low renewable capital costs (32.5% reduction)
9 | 1 | 9 | Increase state EE/DR levels and RPS reqs by 5 percentage points each
10 | 1 | 10 | Higher PHEV levels
11 | 1 | 11 | Decreased renewable resources capital costs
12 | 1 | 12 | Environmental Regulatory Curtailment (ERC) #1 - Delay implementation of new non-carbon EPA regs beyond period of study
13 | 1 | 13 | ERC #2: Reduce existing state RPS by 5% in absolute terms within the timeframe specified by each state’s RPS requirement. Reduce EE/DR requirements (in states that have them) by 5 percentage points each by end of study period.
14 | 1 | 14 | ERC #3: Less-aggressive implementation of upcoming EPA regs (at ~50% of originally intended impact) by delaying implementation 5 yrs
15 | 1 | 15 | FM #1: No policies/regulations continued past current expiration (PTC/ITC, etc.); RPS requirements removed.
16 | 1 | 16 | FM #2: FM #1 PLUS high load growth.
17 | 1 | 17 | Prior Base Case (F1S3) with intra-MISO CT adjustments and a higher reserve value for SPP intermittent capacity | One of the final three scenarios.
Future 2: Federal Carbon Constraint -- National Implementation
18 | 2 | 1 | Revised transfer capability -- overload charges at 75% of avg shadow prices | Used as the basis for hardening F2S11.
19 | 2 | 2 | Revised transfer capability -- overload charges at 25% of avg shadow prices
20 | 2 | 3 | Reduced friction charges (50%)
21 | 2 | 4 | High load growth
22 | 2 | 5 | Low load growth
23 | 2 | 6 | Extra High (Accelerated) gas prices
24 | 2 | 7 | Low gas prices
25 | 2 | 8 | Modified lower carbon costs (flat after 2030) | Previously: high carbon costs
26 | 2 | 9 | Lower carbon costs
27 | 2 | 10 | Extra low renewable capital costs (32.5% reduction)
28 | 2 | 11 | Re-run of base case w/ hardened transmission limits
29 | 2 | 12 | Increase variable resource penetration limits by 15 percentage points | Moved from F5
Future 3: Federal Carbon Constraint -- State/Regional Implementation
30 | 3 | 1 | Revised transfer capability -- overload charges at 75% of avg shadow prices | Used as the basis for hardening F3S11.
31 | 3 | 2 | High load growth
32 | 3 | 3 | Low load growth
33 | 3 | 4 | Extra High (accelerated) gas prices
34 | 3 | 5 | Low gas prices
35 | 3 | 6 | Modified lower carbon costs (flat after 2030) | Previously: high carbon costs
36 | 3 | 7 | Lower carbon costs
37 | 3 | 8 | Limited new/upgraded nuclear
38 | 3 | 9 | Increased imported Canadian hydro
39 | 3 | 10 | Extra low renewable capital costs (32.5% reduction)
40 | 3 | 11 | Re-run of base case w/ hardened transmission limits
41 | 3 | 12 | Increase variable resource penetration limits by 15 percentage points | Moved from F6
Future 4: Aggressive EE/DR/DG/Smart Grid
42 | 4 | 1 | Higher PHEV levels
43 | 4 | 2 | Higher PHEV levels with modified load shape (increasing peak)
44 | 4 | 3 | Additional 1% mandated energy consumption reductions & comparable increase in DR
Future 5: National RPS -- Top-Down Implementation
45 | 5 | 1 | Revised transfer capability -- overload charges at 75% of avg shadow prices | For information
46 | 5 | 2 | Revised transfer capability -- overload charges at 25% of avg shadow prices | Used as the basis for hardening F5S10.
47 | 5 | 3 | High load growth
48 | 5 | 4 | High gas prices
49 | 5 | 5 | Clean Energy Standard (CES)
----- | 5 | 6 | NO SENSIVITY RUN - PLACEHOLDER FOR CONSISTENCY IN NUMBERING | Previously: increased variable resource penetration limits; moved to F2
50 | 5 | 7 | Modified load block shapes in recognition of increased PHEV levels
51 | 5 | 8 | 50% reduction in hurdle rates
52 | 5 | 9 | Force in more offshore wind
53 | 5 | 10 | Re-run of base case w/ hardened transmission limits
Future 6: National RPS -- State/Regional Implementation
54 | 6 | 1 | Revised transfer capability -- overload charges at 25% of avg shadow prices | Used as the basis for hardening F6S10.
55 | 6 | 2 | High load growth
56 | 6 | 3 | High gas prices
57 | 6 | 4 | CES
---- | 6 | 5 | NO SENSIVITY RUN - PLACEHOLDER FOR CONSISTENCY IN NUMBERING | Previously: increased variable resource penetration limits; moved to F3
58 | 6 | 6 | Increased imported Canadian hydro
59 | 6 | 7 | Modified load block shapes in recognition of increased PHEV levels
---- | 6 | 8 | NO SENSIVITY RUN - PLACEHOLDER FOR CONSISTENCY IN NUMBERING | Previously: 50% reduction in hurdle rates
60 | 6 | 9 | Force in more offshore wind
61 | 6 | 10 | Re-run of base case w/ hardened transmission limits | One of the final three scenarios.
Future 7: Nuclear Resurgence
62 | 7 | 1 | Revised transfer capability -- overload charges at 25% of avg shadow prices
63 | 7 | 2 | High load growth
64 | 7 | 3 | EPA Carbon limitations (electric sector only)
65 | 7 | 4 | Modular Nuclear (SMR)
Future 8: Combined Federal Climate and Energy Policy
66 | 8 | 1 | Revised transfer capability -- overload charges at 75% of avg shadow prices | Used as the basis for hardening in F8S7.
67 | 8 | 2 | Revised transfer capability -- overload charges at 25% of avg shadow prices
68 | 8 | 3 | Low cost of renewable resources
69 | 8 | 4 | Increase RPS to 40% (increase intermittency penetration limit to 45%)
70 | 8 | 5 | OL75%, with Flat CO2 prices after 2030, intra-MISO CC adjustments, and on-shore wind adjustments in the eastern MISO regions
71 | 8 | 6 | OL75%, with Flat CO2 prices after 2030, intra-MISO CC adjustments, and on-shore wind adjustments in MISO, SPP, MAPP_US, and NYISO_A-F
72 | 8 | 7 | Hardened limits from F8S1 (75%), Flat CO2 prices after 2030, intra-MISO CC adjustments, on-shore wind adjustments in MISO, SPP, MAPP_US, and NYISO_A-F | One of the final three scenarios.