## Sheet1
New or Upgraded Transmission Facilities in EIPC 2025 Roll-Up Cases
Includes ALL new/upgraded facilities (161 kV and above) that are projected to be in-service by 2025
PA | States | From Bus # | From Bus Name | To Bus # | To Bus Name | Ckt | Voltage (kV) | Line Length (miles) | In-Service Date | Planning Status | Project Type | Project Description
ISO-NE | CT | 119012 | NU_341_NGR 345.00 | 119051 | LAKE ROAD 345.00 | 1 | 345 | 7.5 | 2015-12-01 | Construction | Reliability | New 345 kV line 341, Lake Road to CT/RI border West Farnum with 2-1590 ACSS conductor
ISO-NE | MA/RI | 113264 | MILLBURY 345.00 | 117001 | WEST FARNUM 345.00 | 1 | 345 | 4.8 | 2015-12-01 | Construction | Reliability | New 345 kV line 366, MA/RI Border to West Farnum with 2-1590 ACSR conductor
ISO-NE | RI | 117000 | SHERMAN ROAD 345.00 | 117001 | WEST FARNUM 345.00 | 1 | 345 | N/A | 2015-12-01 | Construction | Reliability | New Sherman Road 345 kV AIS Substation
ISO-NE | RI/CT | 117001 | WEST FARNUM 345.00 | 119012 | NU_341_NGR 345.00 | 1 | 345 | 17.7 | 2015-12-01 | Construction | Reliability | New 345kV line 341, West Farnum to Connecticut/Rhode Island border with 2-1590 ACSR conductor
ISO-NE | RI | 117000 | SHERMAN ROAD 345.00 | 117001 | WEST FARNUM 345.00 | 1 | 345 | 8.99 | 2015-12-01 | Construction | Reliability | Re-conductor 345 kV line 328, West Farnum to Sherman Rd
ISO-NE | NH | 104162 | EAGLE 345.00 | 104167 | AMHERST 345.00 | 1 | 345 | N/A | 2016-12-01 | Construction | Reliability | Eagle Substation Add: 345kV yard, (3) 345 kV circuit breakers, (4) 115kV circuit breakers, (1) 345/115 kV auto-transformer, (4) 26.6 MVAR 115 kV capacitor banks
ISO-NE | NH | 104143 | SCOBIE POND 345.00 | 104162 | EAGLE 345.00 | 1 | 345 | N/A | 2016-12-01 | Construction | Reliability | Eagle Substation Add: 345kV yard, (3) 345 kV circuit breakers, (4) 115kV circuit breakers, (1) 345/115 kV auto-transformer, (4) 26.6 MVAR 115 kV capacitor banks
ISO-NE | NH/MA | 104195 | NU_381_NU 345.00 | 116009 | NORTHFLD MT 345.00 | 1 | 345 | N/A | 2016-12-01 | Planned | Reliability | Modify Northfield Mountain 16R substation and install a 345/115 kV autotransformer
ISO-NE | NH | 104162 | EAGLE 345.00 | 105045 | EAGLE 115.00 | 1 | 345/115 | N/A | 2016-12-01 | Construction | Reliability | Eagle Substation Add: 345kV yard, (3) 345 kV circuit breakers, (4) 115kV circuit breakers, (1) 345/115 kV auto-transformer, (4) 26.6 MVAR 115 kV capacitor banks
ISO-NE | MA | 113001 | BEAR SWAMP 230.00 | 113008 | BEAR SWAMP 115.00 | 5 | 230/115 | N/A | 2017-05-01 | Planned | Reliability | Bear Swamp - install one 230/115 kV 333 MVA auto transformer, one 115 kV breaker, four 230 kV breaker replacements and upgrade various terminal equipment.
ISO-NE | MA | 116009 | NORTHFLD MT 345.00 | 116104 | NORTHFLD MT 115.00 | 5 | 345/115 | N/A | 2016-12-01 | Planned | Reliability | Modify Northfield Mountain 16R substation and install a 345/115 kV autotransformer
FRCC | FL | 403838 | ZEPHYRHLLS N | 403835 | NEW RIVER | 1 | 230 | 11.3 | 2018 | Planned | Reliability | New 230 kV line from Zephyrhills North to New River
FRCC | FL | 402586 | RIO PINAR | 402591 | CURRY FORD | 1 | 230 | 2.5 | 2016 | Planned | Reliability | Rebuild Rio Pinar to Curry Ford 230 kV line
FRCC | FL | 402584 | MYRTLE LAKE | 402074 | WEKIVA | 1 | 230 | 3 | 2017 | Planned | Reliability | Rebuild Myrtle Lake to Wekiva 230 kV line
FRCC | FL | 402070 | PIEDMONT | 402074 | WEKIVA | 1 | 230 | 3.1 | 2018 | Planned | Reliability | Rebuild Piedmont to Wekiva 230 kV line
FRCC | FL | 403530 | WILLISTON | 403173 | BRONSON DUKE | 1 | 230 | 14.5 | 2020 | Planned | Reliability | Williston to Bronson - New 230 kV Line
DEP | NC | 304182 | 6FALLS 230 T | 304185 | 3FALLS 115 T | 2 | 230/115 | N/A | 2016 | Construction | Reliability | Install a 300 MVA 230/115kV transformer bank
DEP | NC | 304192 | 6SELMA 230 T | 304177 | 3SELMA 115 T | 1 | 230/115 | N/A | 2016 | Construction | Reliability | Replace the existing 200 MVA, 230/115 kV transformer with a 300 MVA, 230/115 kV transformer
DEP | NC | 304398 | 6FBWOOD230 T | 304399 | 3FBWOOD115 T | 1 | 230/115 | N/A | 2016 | Construction | Reliability | Replace the existing 150 MVA, 230/115 kV transformer bank with 300 MVA, 230/115 kV bank
DEP | NC | 304524 | 6JACKSON230T | 304518 | 6GRANTSCRK23 | 1 | 230 | 12 | 2020 | Planned | Reliability | New Jacksonville-Grants Creek 230kV line
DEP | NC | 304518 | 6GRANTSCRK23 | 304519 | 3GRANTSCRK11 | 1 | 230/115 | N/A | 2020 | Planned | Reliability | New Grants Creek 230/115kV, 300 MVA transformer
DEP | NC | 304546 | 6NEWPORT | 304547 | 6HARLOWE230T | 1 | 230 | 10 | 2020 | Planned | Reliability | New Newport-Harlowe 230kV line
DEP | NC | 304547 | 6HARLOWE230T | 304548 | 3HARLOWE115TT | 1 | 230/115 | 17.7 | 2020 | Planned | Reliability | New Harlowe 230/115kV, 300 MVA transformer
FPL | FL | 463 | DUVAL 230 | 972 | RAVEN 230 | 1 | 230 | 41.48 | 2019 | Planned | Reliability | Raven Injection
FPL | FL | 104 | DADE 230 | 528 | QUARRY 230 | 1 | 230 | 9.03 | 2017 | Planned | Reliability | Quarry Injection
FPL | FL | 105 | DAVIS 230 | 528 | QUARRY 230 | 1 | 230 | 13.62 | 2017 | Planned | Reliability | Quarry Injection
FPL | FL | 120 | LEVEE 500 | 529 | QUARRY 500 | 1 | 500 | 0.1 | 2017 | Planned | Reliability | Quarry Injection
FPL | FL | 120 | LEVEE 500 | 529 | QUARRY 500 | 2 | 500 | 0.1 | 2017 | Planned | Reliability | Quarry Injection
FPL | FL | 15 | SWEETWATER 230 | 528 | QUARRY 230 | 1 | 230 | 3.9 | 2017 | Planned | Reliability | Quarry Injection
FPL | FL | 491 | SEAGULL 230 | 528 | QUARRY 230 | 1 | 230 | 3.9 | 2017 | Planned | Reliability | Quarry Injection
FPL | FL | 528 | QUARRY 230 | 655 | 137TH AVE 230 | 1 | 230 | 2.98 | 2017 | Planned | Reliability | Quarry Injection
FPL | FL | 348 | LAURELWOOD 230 | 350 | MYAKKA 230 | 1 | 230 | 17 | 2019 | Planned | Reliability | Laurelwood - Myakka 230kV Line
FPL | FL | 470 | ST. JOHNS 230 | 1062 | PELICER 230 | 1 | 230 | N/A | 2018 | Planned | Reliability | Pelicer - St. Johns 230kV Line
FPL | FL | 123 | EMERSON 230 | 266 | MIDWAY 230 | 1 | 230 | 15 | 2017 | Planned | Reliability | Midway - Emerson 230kV Line
FPL | FL | 263 | INDIANTOWN 230 | 1732 | HUMMINGBIRD 230 | 1 | 230 | N/A | 2017 | Planned | Reliability | New Hummingbird Substation
FPL | FL | 582 | BRIDGE 230 | 1732 | HUMMINGBIRD 230 | 1 | 230 | N/A | 2017 | Planned | Reliability | New Hummingbird Substation
IESO | ON | 151054 | LAKEHEAD_TS | 152061 | WAWA_TS | 3,4 | 230 | 246 | TBD (2018-2020) | Planned | Reliability | East-West Tie: New 230 kV line from Lakehead TS to Wawa TS
IESO | ON | 156015 | CLRGTN500_1 | 156017 | CLRGTN220_1 | 1 | 500/230 | N/A | 2018-Q2 | Planned | Reliability | Clarington TS
IESO | ON | 160110 | SANDWCH_JC21 | 160416 | LEAMINGJCT21 | 1 | 230 | N/A | 2018-Q1 | Planned | Reliability | Leamington TS
IESO | ON | 151051 | DRYDEN_TS | 151069 | CROW_RVR | 1 | 230 | N/A | 2020-Q4 | Planned | Reliability | 230 kV line to Pickle lake
JEA | FL | 404953 | GEC | 404855 | NOCATEE | 1 | 230 | 4.4 | 2019 | Planned | Load Growth | New radial line to connect new Nocatee distribution substation due to load growth
MISO | MI/OH | 238530 | 02ALLEN | 256583 | 18MOROCCO | 1 | 345 | 8.4 | 2015-12-31 | Planned | Reliability | Morocco (formerly "Lenawee") 345/138 kV station
MISO | MI/OH | 238563 | 02BAY SH | 265227 | 19MORTARCRK | 1 | 345 | 20.5 | 2018-06-01 | Planned | Reliability | Mortar Creek (formerly Hull Road) Station
MISO | MI/OH | 238889 | 02LEMOYN | 265227 | 19MORTARCRK | 1 | 345 | 31.4 | 2018-06-01 | Planned | Reliability | Mortar Creek (formerly Hull Road) Station
MISO | IN | 243207 | 05GRNTWN | 255204 | 17REYNOLDS | N1 | 765 | 69.44 | 2018-06-01 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Reynolds to Greentown 765 kV line
MISO | IN | 243213 | 05BREED | 254529 | 16PETE | 1 | 345 | N/A | 2015-12-31 | Planned | Economic | MTEP11 TCFS Flowgate A Option 3a
MISO | IL/IN | 249521 | 08SUGCRK | 347340 | 7KANSAS | 1 | 345 | 36.5 | 2018-11-15 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Pana - Mt. Zion - Kansas - Sugar Creek 345 kV line
MISO | IN | 249618 | 08GEIST | 249637 | 08DURBIN | 1 | 230 | 5.52 | 2017-06-01 | Planned | Reliability | Durbin 230/69
MISO | IN | 249626 | 08NOBLSV | 249637 | 08DURBIN | 1 | 230 | 5.52 | 2017-06-01 | Planned | Reliability | Durbin 230/69
MISO | IN | 255101 | 17BURR_OAK | 255105 | 17HIPLE | FT | 345 | 54 | 2019-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Reynolds to Burr Oak to Hiple 345 kV
MISO | IN | 255101 | 17BURR_OAK | 255205 | 17REYNOLDS | FT | 345 | 46 | 2019-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Reynolds to Burr Oak to Hiple 345 kV
MISO | MI | 264594 | 19LULU | 265227 | 19MORTARCRK | 1 | 345 | 11 | 2018-06-01 | Planned | Reliability | Mortar Creek (formerly Hull Road) Station
MISO | MI | 264612 | 19MON12 | 265227 | 19MORTARCRK | 1 | 345 | 5.6 | 2018-06-01 | Planned | Reliability | Mortar Creek (formerly Hull Road) Station
MISO | MI | 264613 | 19MON34 | 265227 | 19MORTARCRK | 2 | 345 | 5.1 | 2018-06-01 | Planned | Reliability | Mortar Creek (formerly Hull Road) Station
MISO | MI | 264839 | 19MILAN | 265083 | 19LEROUX | 1 | 345 | 28.2 | 2025-07-14 | Planned | Generator Interconnection | G867-Fermi 3 Nuclear Plant
MISO | MI | 264839 | 19MILAN | 265083 | 19LEROUX | 2 | 345 | 28.2 | 2025-07-14 | Planned | Generator Interconnection | G867-Fermi 3 Nuclear Plant
MISO | MI | 264839 | 19MILAN | 265083 | 19LEROUX | 3 | 345 | 28.2 | 2025-07-14 | Planned | Generator Interconnection | G867-Fermi 3 Nuclear Plant
MISO | MI | 264839 | 19MILAN | 265227 | 19MORTARCRK | 1 | 345 | 30.9 | 2018-06-01 | Planned | Reliability | Mortar Creek (formerly Hull Road) Station
MISO | IL/WI | 270806 | LIBERTYVI; B | 699429 | NEW SUB | 1 | 345 | 14.3 | 2020-12-31 | Planned | Reliability | Construct Southeast Wisconsin - Northeast Illinois 345 kV transmission reinforcement
MISO | IL/WI | 270940 | ZION STA ; B | 699429 | NEW SUB | 1 | 345 | 8.1 | 2020-12-31 | Planned | Reliability | Construct Southeast Wisconsin - Northeast Illinois 345 kV transmission reinforcement
MISO | MO | 344000 | 7ADAIR | 345435 | 7MAYWOOD | 1 | 345 | 58 | 2018-11-15 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Zachary-Maywood 345 kV Line
MISO | IA/MO | 344000 | 7ADAIR | 631143 | OTTUMWA3 | 1 | 345 | 71 | 2017-06-01 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Zachary - Ottumwa 345
MISO | IL/MO | 345435 | 7MAYWOOD | 347010 | 7HERLEMAN | 1 | 345 | 14 | 2016-11-15 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Palmyra Tap -Quincy-Meredosia - Ipava & Meredosia-Pawnee 345 kV Line
MISO | IL | 347010 | 7HERLEMAN | 347688 | 7MEREDOSIA | 1 | 345 | 47 | 2016-11-15 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Palmyra Tap -Quincy-Meredosia - Ipava & Meredosia-Pawnee 345 kV Line
MISO | IL | 347288 | 7IPAVA_S | 347688 | 7MEREDOSIA | 1 | 345 | 41 | 2017-11-15 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Palmyra Tap -Quincy-Meredosia - Ipava & Meredosia-Pawnee 345 kV Line
MISO | IL | 347340 | 7KANSAS | 348987 | 7FARADAY | 1 | 345 | 52 | 2018-11-15 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Pana - Mt. Zion - Kansas - Sugar Creek 345 kV line
MISO | IL | 347688 | 7MEREDOSIA | 347955 | 7AUSTIN | 1 | 345 | 55 | 2017-11-15 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Palmyra Tap -Quincy-Meredosia - Ipava & Meredosia-Pawnee 345 kV Line
MISO | IL | 347945 | 7PANA | 347955 | 7AUSTIN | 1 | 345 | 31 | 2018-11-15 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Pawnee to Pana - 345 kV Line
MISO | IL | 347945 | 7PANA | 348987 | 7FARADAY | 1 | 345 | 28 | 2016-11-15 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Pana - Mt. Zion - Kansas - Sugar Creek 345 kV line
MISO | IL | 348882 | 7RISING | 348887 | 7SIDNEY | 1 | 345 | 28 | 2016-11-15 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Sidney to Rising 345 kV line
MISO | IL | 348944 | 7SANDBURG | 349730 | 7FARGO | 1 | 345 | 35 | 2018-11-15 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Fargo-Sandburg-Oak Grove 345 kV Line
MISO | IL | 348944 | 7SANDBURG | 636635 | OAKGROV3 | 1 | 345 | 32 | 2016-12-01 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Fargo-Sandburg-Oak Grove 345 kV Line
MISO | IL | 349730 | 7FARGO | 349740 | 7MAPLE RIDGE | 1 | 345 | 22.41 | 2016-06-01 | Planned | Reliability | New 345kV Supply at Fargo Substation
MISO | WI | 601044 | BRIGGS RD 3 | 694098 | NMA B3 345 | 1 | 345 | 161.8 | 2018-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1: N LaCrosse-N Madison-Cardinal-Eden-Hickory Creek 345 kV
MISO | IA/MN | 602003 | BLUEETA5 | 631045 | HUNTLEY5 | 1 | 161 | 3.5 | 2017-06-01 | Planned | Multi-Value | Proposed MVP Portfolio 1: Lakefield Jct. - Winnebago - Winco - Kossuth County & Obrien County - Kossuth County - Webster 345 kV line
MISO | ND | 602052 | WARD CO 4 | 615347 | GRE-MCHENRY4 | 1 | 230 | 25 | 2018-06-01 | Planned | Reliability | Ward County 230 kV
MISO | ND | 602052 | WARD CO 4 | 659435 | MINOT 4 | 1 | 230 | 1 | 2018-06-01 | Planned | Reliability | Ward County 230 kV
MISO | MN | 608410 | WARRVRN2 | 608411 | WARRVRM2 | 1 | 500 | N/A | 2020-06-01 | Planned | Transmission Service Request | Great Northern Transmission Line
MISO | MN | 608410 | WARRVRN2 | 608411 | WARRVRM2 | Z | 500 | N/A | 2020-06-01 | Planned | Transmission Service Request | Great Northern Transmission Line
MISO | MH/MN | 608410 | WARRVRN2 | 667500 | DORSEY 2 | 1 | 500 | 175 | 2020-06-01 | Planned | Transmission Service Request | Great Northern Transmission Line
MISO | MN | 608411 | WARRVRM2 | 608412 | WARRVRS2 | 1 | 500 | N/A | 2020-06-01 | Planned | Transmission Service Request | Great Northern Transmission Line
MISO | MN | 608411 | WARRVRM2 | 608412 | WARRVRS2 | Z | 500 | N/A | 2020-06-01 | Planned | Transmission Service Request | Great Northern Transmission Line
MISO | MN | 608412 | WARRVRS2 | 608423 | IRRN-RX2 | 1 | 500 | 175 | 2020-06-01 | Planned | Transmission Service Request | Great Northern Transmission Line
MISO | MN | 608422 | IRONRNG2 | 608423 | IRRN-RX2 | Z | 500 | N/A | 2020-06-01 | Planned | Transmission Service Request | Great Northern Transmission Line
MISO | MN | 608611 | ZEMPLE 4 | 608626 | BOSWELL4 | 1 | 230 | 10.22 | 2020-06-01 | Planned | Reliability | Zemple (formerly Deer River) Substation
MISO | MN | 608611 | ZEMPLE 4 | 620447 | CASS LK4 | 1 | 230 | 40.86 | 2020-06-01 | Planned | Reliability | Zemple (formerly Deer River) Substation
MISO | MN | 608614 | 98L TAP4 | 608622 | IRONRNG4 | 1 | 230 | 64.44 | 2020-06-01 | Planned | Transmission Service Request | Great Northern Transmission Line
MISO | MN | 608622 | IRONRNG4 | 608624 | FORBES 4 | 1 | 230 | 33.8 | 2020-06-01 | Planned | Transmission Service Request | Great Northern Transmission Line
MISO | MN | 608622 | IRONRNG4 | 608625 | BLCKBRY4 | 1 | 230 | 0.5 | 2020-06-01 | Planned | Transmission Service Request | Great Northern Transmission Line
MISO | MN | 608622 | IRONRNG4 | 608625 | BLCKBRY4 | 2 | 230 | 0.5 | 2020-06-01 | Planned | Transmission Service Request | Great Northern Transmission Line
MISO | IA | 613370 | RUTLAND5 | 631045 | HUNTLEY5 | 1 | 161 | 1 | 2017-06-01 | Planned | Multi-Value | Proposed MVP Portfolio 1: Lakefield Jct. - Winnebago - Winco - Kossuth County & Obrien County - Kossuth County - Webster 345 kV line
MISO | SD | 620314 | BIGSTON4 | 620322 | BSSOUTH4 | 1 | 230 | N/A | 2017-09-30 | Planned | Multi-Value | MVP Portfolio 1 - Big Stone South to Brookings
MISO | SD | 620314 | BIGSTON4 | 620322 | BSSOUTH4 | 2 | 230 | N/A | 2017-09-30 | Planned | Multi-Value | MVP Portfolio 1 - Big Stone South to Brookings
MISO | ND/SD | 620417 | BSSOUTH3 | 661097 | ELLENDLMVP3 | 1 | 345 | 145 | 2019-09-30 | Planned | Multi-Value | MVP Portfolio 1 - Ellendale to Big Stone South
MISO | IA | 631138 | LAKEFLD3 | 631193 | HUNTLEY3 | 1 | 345 | 54.68 | 2017-06-01 | Planned | Multi-Value | Proposed MVP Portfolio 1: Lakefield Jct. - Winnebago - Winco - Kossuth County & Obrien County - Kossuth County - Webster 345 kV line
MISO | IA | 631138 | LAKEFLD3 | 635368 | OBRIEN 3 | 1 | 345 | 49.47 | 2016-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1: Lakefield Jct. - Winnebago - Winco - Kossuth County & Obrien County - Kossuth County - Webster 345 kV line
MISO | IA | 631191 | HCKRYCK3 | 693863 | EDEN 345 | 1 | 345 | 49.4 | 2020-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1: N LaCrosse-N Madison-Cardinal-Eden-Hickory Creek 345 kV
MISO | IA | 631193 | HUNTLEY3 | 631197 | LEDYARD3 | 1 | 345 | 22 | 2017-06-01 | Planned | Multi-Value | Proposed MVP Portfolio 1: Lakefield Jct. - Winnebago - Winco - Kossuth County & Obrien County - Kossuth County - Webster 345 kV line
MISO | IA | 631197 | LEDYARD3 | 631198 | COLBY3 | 1 | 345 | 56 | 2017-06-01 | Planned | Multi-Value | Proposed MVP Portfolio 1: Lakefield Jct. - Winnebago - Winco - Kossuth County & Obrien County - Kossuth County - Webster 345 kV line
MISO | IA | 631197 | LEDYARD3 | 635369 | KOSSUTH 3 | 1 | 345 | 19 | 2017-06-01 | Planned | Multi-Value | Proposed MVP Portfolio 1: Lakefield Jct. - Winnebago - Winco - Kossuth County & Obrien County - Kossuth County - Webster 345 kV line
MISO | IA | 631199 | KILLDEER3 | 636199 | BLACKHAWK 3 | 1 | 345 | 88 | 2016-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Winco to Hazleton 345 kV line
MISO | IA | 635368 | OBRIEN 3 | 635369 | KOSSUTH 3 | 1 | 345 | 81.77 | 2016-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1: Lakefield Jct. - Winnebago - Winco - Kossuth County & Obrien County - Kossuth County - Webster 345 kV line
MISO | IA | 635368 | OBRIEN 3 | 635400 | HIGHLND 3 | 1 | 345 | 4.1 | 2016-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1: Lakefield Jct. - Winnebago - Winco - Kossuth County & Obrien County - Kossuth County - Webster 345 kV line
MISO | ND | 661026 | ELLENDL4 | 661098 | ELLENDLMVP4 | Z | 230 | N/A | 2019-09-30 | Planned | Multi-Value | MVP Portfolio 1 - Ellendale to Big Stone South
MISO | WI | 693863 | EDEN 345 | 699829 | CARDINAL | 1 | 345 | 59.8 | 2020-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1: N LaCrosse-N Madison-Cardinal-Eden-Hickory Creek 345 kV
MISO | WI | 694102 | NMA B5 345 | 699829 | CARDINAL | 1 | 345 | 19.9 | 2020-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1: N LaCrosse-N Madison-Cardinal-Eden-Hickory Creek 345 kV
MISO | WI | 694113 | BRANCH RV B3 | 694114 | BRANCH RV B4 | Z | 345 | N/A | 2018-12-31 | Planned | Generator Interconnection | G833-4_J022-3 Long Term Solution
MISO | WI | 694113 | BRANCH RV B3 | 694115 | BRANCH RV B5 | Z | 345 | N/A | 2018-12-31 | Planned | Generator Interconnection | G833-4_J022-3 Long Term Solution
MISO | WI | 694114 | BRANCH RV B4 | 694116 | BRANCH RV B6 | Z | 345 | N/A | 2018-12-31 | Planned | Generator Interconnection | G833-4_J022-3 Long Term Solution
MISO | WI | 694114 | BRANCH RV B4 | 698898 | PT BCH2 | 1 | 345 | 17.87 | 2018-12-31 | Planned | Generator Interconnection | G833-4_J022-3 Long Term Solution
MISO | WI | 694115 | BRANCH RV B5 | 694116 | BRANCH RV B6 | Z | 345 | N/A | 2018-12-31 | Planned | Generator Interconnection | G833-4_J022-3 Long Term Solution
MISO | WI | 694115 | BRANCH RV B5 | 699433 | PT BCH1 | 1 | 345 | 20.58 | 2018-12-31 | Planned | Generator Interconnection | G833-4_J022-3 Long Term Solution
MISO | WI | 694116 | BRANCH RV B6 | 699865 | SEC | 1 | 345 | 32.33 | 2018-12-31 | Planned | Generator Interconnection | G833-4_J022-3 Long Term Solution
MISO | IN | 255204 | 17REYNOLDS | 255205 | 17REYNOLDS | 1 | 765/345 | N/A | 2018-06-01 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Reynolds to Greentown 765 kV line
MISO | IN | 255204 | 17REYNOLDS | 255205 | 17REYNOLDS | FT | 765/345 | N/A | 2018-06-01 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Reynolds to Greentown 765 kV line
MISO | LA | 335835 | 8FANCY_PT% | 335825 | 6FANCY_PT% | 2 | 500/230 | N/A | 2017-06-01 | Planned | Reliability | Fancy Point: Add 2nd 500-230 kV, 1200 MVA transformer
MISO | MO | 344000 | 7ADAIR | 344006 | 5ADAIR3 | 1 | 345/161 | N/A | 2018-11-15 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Zachary - Ottumwa 345
MISO | WI | 601044 | BRIGGS RD 3 | 601043 | BRIGGS RD 5 | 9 | 345/161 | N/A | 2018-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1: N LaCrosse-N Madison-Cardinal-Eden-Hickory Creek 345 kV
MISO | MN | 608422 | IRONRNG2 | 608622 | IRONRNG4 | 1 | 500/230 | N/A | 2020-06-01 | Planned | Transmission Service Request | Great Northern Transmission Line
MISO | IA | 631159 | HCKRYCK5 | 631191 | HCKRYCK3 | 1 | 345/161 | N/A | 2020-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1: N LaCrosse-N Madison-Cardinal-Eden-Hickory Creek 345 kV
MISO | IA | 631193 | HUNTLEY3 | 631045 | HUNTLEY5 | 1 | 345/161 | N/A | 2016-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1: Lakefield Jct. - Winnebago - Winco - Kossuth County & Obrien County - Kossuth County - Webster 345 kV line
MISO | IA | 631199 | KILLDEER3 | 631048 | EMERY 5 | 1 | 345/161 | N/A | 2016-12-31 | Planned | Multi-Value | Proposed MVP Portfolio 1 - Winco to Hazleton 345 kV line
MISO | ND | 661097 | ELLENDLMVP3 | 661098 | ELLENDLMVP4 | 1 | 345/230 | N/A | 2019-09-30 | Planned | Multi-Value | MVP Portfolio 1 - Ellendale to Big Stone South
NYISO | NY | 130861 | S PERRY | N/A | N/A | - | 230 | N/A | N/A | Planned | Reliability | Disconnect the S Perry 230kV Bus and connect the 230 kV line between Meyers and Wthrs
PJM | VA | 314908 | 8ELMONT | 314910 | 8CUNNING | 1 | 500 | 50.2 | 2018-06-01 | Engineering procurement | Reliability | Rebuild the Elmont - Cunningham 500 kV line
PJM | VA | 314919 | 8OX | N/A | N/A | - | 500 | N/A | 2019-06-01 | Engineering procurement | Reliability | Install 500 kV breaker at Ox Substation to remove Ox Tx#1 from H1T561 breaker failure outage.
PJM | VA | 314134 | 6CRANES | 314142 | 6STAFORD | - | 230 | 7.63 | 2019-06-01 | Engineering procurement | Reliability | Reconductor 7.63 miles of existing line between Cranes and Stafford, upgrade associated line switches at Stafford
PJM | PA | 200942 | 26PIERCEBRK | N/A | N/A | - | 345 | N/A | 2018-09-01 | Engineering procurement | Reliability | Reconfigure Pierce Brook 345 kV station to a ring bus and install a 125 MVAR shunt reactor at the substation
PJM | NJ | 219749 | MERCER_5 | N/A | N/A | - | 230 | N/A | 2018-09-01 | Engineering procurement | Reliability | Install a 100 MVAR 230 kV shunt reactor at Mercer station
PJM | NJ | 218311 | SEWAREN | N/A | N/A | - | 230 | N/A | 2019-06-01 | Engineering procurement | Reliability | Install two 75 MVAR 230 kV capacitors at Sewaren station
PJM | OH | 238783 | 02HARDIN | 238795 | 02HDGQ14 | 4 | 345 | N/A | 2015-06-01 | Engineering procurement | Reliability | Addition of 4th 345/138 kV transformer at Harding
PJM | NJ | 218300 | LINDEN | N/A | N/A | - | 230 | N/A | 2018-06-01 | Engineering procurement | Reliability | Replace the four Linden 230 kV GSU breakers with 80kA breakers
PJM | OH | 249568 | 08M.FTHS | N/A | N/A | - | 345 | N/A | 2015-06-01 | Engineering procurement | Reliability | Convert Miami Fort 345 kV substation to a ring bus terminating Feeder 4504, TB 9 and TB10 in separate ring positions
PJM | OH | 249568 | 08M.FTHS | 243233 | 05TANNER | 1 | 345 | N/A | 2017-05-01 | Engineering procurement | Reliability | Replace metering BCT on Tanners Creek CB T2 with a slip over CT with higher thermal rating in order to remove 1193 MVA limit on facility (Miami Fort-Tanners Creek 345 kV line)
PJM | OH | 243217 | 05DEQUIN | 243878 | 05MEADOW | 1 | 345 | 16.9 | 2020-06-01 | Engineering procurement | Reliability | Reconductor Dequine to Meadow Lake 345 kV circuit #1 utilizing dual 954 ACSR 54/7 cardinal conductor
PJM | PA | 220964 | GRACETON | 208071 | SAHA34TP | 1 | 230 | 18.4 | 2019-06-01 | Engineering procurement | Reliability | Reconductor two spans of the Graceton - Safe Harbor 230 kV transmission line. Incldues termination point upgrades
PJM | PA | 207922 | BRIS | 204515 | 27YORKANA | 1 | 230 | 13.7 | 2019-06-01 | Engineering procurement | Reliability | Reconductor three spans limiting Brunner Island - Yorkana 230 kV line, add 2 breakers to Brunner Island switchyard, upgrade associated terminal equipment
PJM | IL | 270700 | CORDOVA ; B | 270828 | NELSON ; B | 1 | 345 | N/A | 2019-06-01 | Engineering procurement | Reliability | Upgrade conductor ratings of Cordova - Nelson, Quad Cities - ESS H-471 and ESS H-471 - Nelson 345 kV lines and mitigating sag limitations
PJM | IL | 270864 | QUAD 1 3-11 | 270890 | ESS H471 ; | 1 | 345 | N/A | 2019-06-01 | Engineering procurement | Reliability | Upgrade conductor ratings of Cordova - Nelson, Quad Cities - ESS H-471 and ESS H-471 - Nelson 345 kV lines and mitigating sag limitations
PJM | IL | 270890 | ESS H471 ; | 270828 | NELSON ; B | 1 | 345 | N/A | 2019-06-01 | Engineering procurement | Reliability | Upgrade conductor ratings of Cordova - Nelson, Quad Cities - ESS H-471 and ESS H-471 - Nelson 345 kV lines and mitigating sag limitations
PJM | PA | 200013 | PEACHBTM | 213866 | PCHBTM | 1 | 500/230 | N/A | 2019-06-01 | Engineering procurement | Reliability | Increase ratings of Peach Bottom 500/230 kV transformer to 1479 MVA normal/1839 MVA emergency
PJM | OH | 242512 | 05CLOVRD | 242514 | 05J.FERR | 1 | 765 | N/A | 2019-06-01 | Engineering procurement | Reliability | Replace relays at AEP's Cloverdale and Jackson's Ferry substations to improve the thermal capacity of Cloverdale - Jackson's Ferry 765 kV line
SCE&G | SC | 371403 | 6SAL RIVER 2 | 372020 | 6VCS2_20B | 1 | 230 | 23.9 | 2016-02-01 | Committed | Reliability | New VCS2 - Saluda River 230 kV Transmission Line
SCE&G | SC | 371507 | 6SUMV TR2 | 371570 | 3SUMV TR2 | 1 | 230/115 | N/A | 2016-02-01 | Committed | Reliability | Upgrade Summerville #2 230/115 kV Transformer to 336 MVA
SCE&G | SC | 370404 | 6ST GEO1 | 371404 | 6ST GEO2 | 1 | 230 | N/A | 2016-04-01 | Committed | Reliability | New St. George 230 kV Switching Station
SCE&G | SC | 371101 | 6WATEREE2 | 371404 | 6ST GEO2 | 1 | 230 | 45.38 | 2016-04-01 | Committed | Reliability | Wateree - Summerville 230 kV Transmission Line Fold-In to St. George 230 kV Substation
SCE&G | SC | 370309 | 6SANTEE | 370404 | 6ST GEO1 | 1 | 230 | 19.65 | 2016-05-01 | Committed | Reliability | Canadys - Sumter 230 kV Transmission Line Fold-In to St. George 230 kV Substation
SCE&G | SC | 370406 | 6CANADYS | 370404 | 6ST GEO1 | 1 | 230 | 9.5 | 2016-05-01 | Committed | Reliability | Canadys - Sumter 230 kV Transmission Line Fold-In/Upgrade to St. George 230 kV Substation
SCE&G | SC | 370501 | 6WILLIAMS1 | 370701 | 6CAINHOY1 | 1 | 230 | 8.4 | 2016-05-01 | Committed | Reliability | New AM Williams - Cainhoy 230 kV Transmission Line
SCE&G | SC | 370701 | 6CAINHOY1 | 370710 | 3CAINHOY1 | 1 | 230/115 | N/A | 2016-05-01 | Committed | Reliability | New Cainhoy 230/115 kV Substation
SCE&G | SC | 371605 | 6CHURCH2 | 371650 | 3CHURCH2 | 1 | 230/115 | N/A | 2016-05-01 | Committed | Reliability | Upgrade Church Creek #2 230/115 kV Transformer to 336 MVA
SCE&G | SC | 371305 | 6OBURG2 | 371404 | 6ST GEO2 | 1 | 230 | 29 | 2017-05-01 | Committed | Reliability | New Orangeburg East - St. George 230 kV Transmission Line
SCE&G | SC | 370305 | 6OBURG1 | 302022 | 6VCS2_22B | 1 | 230 | 69 | 2018-05-01 | Committed | Reliability | New VCS2 - Orangeburg 230 kV Transmission Line
SCE&G | SC | 370204 | 6CIP | 371207 | 6HOPKINS2 | 1 | 230 | 9.3 | 2018-05-01 | Planned | Reliability | CIP - Wateree 230 kV Transmission Line Fold-In to Hopkins 230 kV Substation
SCE&G | SC | 370101 | 6WATEREE1 | 371207 | 6HOPKINS2 | 1 | 230 | 15.8 | 2018-05-01 | Planned | Reliability | CIP - Wateree 230 kV Transmission Line Fold-In to Hopkins 230 kV Substation
SCE&G | SC | 371207 | 6HOPKINS2 | 370207 | 6HOPKINS1 | 1 | 230/115 | N/A | 2018-05-01 | Planned | Reliability | New Hopkins 230 /115 kV Transformer
SCE&G | SC | 370403 | 6SAL RIVER 1 | 370404 | 6ST GEO1 | 1 | 230 | 75 | 2018-05-01 | Committed | Reliability | New Saluda River - St. George 230 kV Transmission Line
SCE&G | SC | 370404 | 6ST GEO1 | 371507 | 6SUMV TR2 | 2 | 230 | 27.2 | 2018-05-01 | Committed | Reliability | New Summerville - St. George 230 kV #2 Transmission Line
SCE&G | SC | 371404 | 6ST GEO2 | 370507 | 6SUMV TR1 | 1 | 230 | 27.2 | 2018-05-01 | Committed | Reliability | New Summerville - St. George 230 kV #1 Transmission Line
SCE&G | SC | 370505 | 6PEPPERHILL | 370507 | 6SUMV TR1 | 1 | 230 | 8.2 | 2019-05-01 | Planned | Reliability | New Pepperhill - Summerville 230 kV #1 Transmission Line
SCE&G | SC | 370406 | 6CANADYS | 370409 | 6RITTER | 1 | 230 | 19 | 2020-05-01 | Planned | Reliability | New Canadys - Ritter 230 kV Transmission Line
SBA | FL | 387060 | CRIST6 230.00 | 387057 | ECUA 230.00 | 1 | 230 | 4.5 | 2017 | Committed | Reliability | Upgrade approximately 5 mi of 230kV line to 125 C
SBA | AL | 384700 | BARRY 6 230.00 | 387057 | ECUA 230.00 | 1 | 230 | 27.1 | 2017 | Committed | Reliability | Upgrade approximately 27 mi of 230kV line to 125 C
SBA | AL | 384135 | GORGAS 161.00 | 384496 | TAFTCOAL 161.00 | 1 | 161 | 5.36 | 2017 | Committed | Reliability | Reconductor approximately 5 mi of 115kV line
SBA | AL | 384136 | JASPERSS 161.00 | 384496 | TAFTCOAL 161.00 | 1 | 161 | 8.45 | 2017 | Committed | Reliability | Reconductor approximately 8 mi of 115kV line
SBA | AL | 384136 | JASPERSS 161.00 | 384137 | JASPERTS 161.00 | 1 | 161 | 0.8 | 2017 | Committed | Reliability | Construct approximately 1 mi of new 115kV line
SBA | AL | 384136 | JASPERSS 161.00 | 384138 | JASPERDS 161.00 | 1 | 161 | 0.7 | 2017 | Committed | Reliability | Construct approximately 1 mi of new 115kV line
SBA | AL | 384136 | JASPERSS 161.00 | 384132 | OAKMAN 161.00 | 1 | 161 | 10 | 2017 | Committed | Reliability | Construct approximately 10 mi of new 115kV line
SBA | AL | 384137 | JASPERTS 161.00 | 384147 | PARKLAND 161.00 | 1 | 161 | 2.64 | 2017 | Committed | Reliability | Reconductor approximately 3 mi of 115kV line
SBA | GA | 380008 | VOGTLE 500.00 | 381490 | THOMSON 500.00 | 1 | 500 | 55 | 2017 | Committed | Reliability | Construct approximately 55 mi of new 500kV line
SBA | GA | 382730 | DYER ROAD 230.00 | 382731 | DYER ROAD 115.00 | 1 | 230/115 | N/A | 2017 | Committed | Reliability | Loop existing line into new substation
SBA | GA | 382224 | CORN CRIB 230.00 | 382730 | DYER ROAD 230.00 | 1 | 230 | 14.3 | 2017 | Committed | Reliability | Construct a new 230/115kV substation
SBA | GA | 382224 | CORN CRIB 230.00 | 382269 | THOMASTON 230.0 | 1 | 230 | 40.5 | 2017 | Committed | Reliability | Construct a new 230/115kV substation
SBA | GA | 382225 | CORN CRIB 115.00 | 382731 | DYER ROAD 115.00 | 1 | 230/115 | 3 | 2017 | Committed | Reliability | Construct a new 230/115kV substation
SBA | GA | 382225 | CORN CRIB 115.00 | 382280 | THOMASTON 115.00 | 1 | 230/115 | 4.2 | 2017 | Committed | Reliability | Construct a new 230/115kV substation
SBA | GA | 382269 | THOMASTN 230.00 | 382730 | DYER ROAD 230.00 | 1 | 230 | 53.214 | 2017 | Committed | Reliability | Loop existing line into new substation
SBA | GA | 389001 | MCINTOSH 230.00 | 389153 | MCINTOSH 10 230.00 | 1 | 230 | 0.35 | 2017 | Committed | Reliability | Relocate the McIntosh 10CC from W McIntosh to McIntosh
SBA | GA | 380162 | S HAZLE 230.00 | 380860 | S HAZLE 115.00 | 1 | 230/115 | N/A | 2017 | Committed | Reliability | Replacement of existing 230/115 transformer bank
SBA | GA | 381977 | SHARON SP 230.00 | 382084 | SHARON SP 115.00 | 1 | 230/115 | N/A | 2018 | Committed | Reliability | Install a new 230/115kV transformer in DS
SBA | GA | 380086 | CUMMING 230.00 | 381977 | SHARON SP 230.00 | 1 | 230 | 6.6 | 2018 | Committed | Reliability | Construct approximately 7 mi of new 230kV line
SBA | GA | 381977 | SHARON SP 230.00 | 382084 | SHARON SP 115.00 | 1 | 230/115 | N/A | 2018 | Committed | Reliability | Install a new 230/115kV transformer in DS
SBA | GA | 380008 | VOGTLE 500.00 | 380002 | WADLEY 500.00 | 1 | 500 | 46.6 | 2019 | Committed | Reliability | Loop existing 500kV line from Warthen into Wadley
SBA | GA | 383052 | WARTHEN 500.00 | 380002 | WADLEY 500.00 | 1 | 500 | 29.8 | 2019 | Committed | Reliability | Loop existing 500kV line from Vogtle into Wadley
SBA | GA | 380002 | WADLEY 500.00 | 380118 | WADLEY LS 230.00 | 1 | 500/230 | N/A | 2019 | Committed | Reliability | Install a new 500/230 kV transformer bank
SBA | GA | 382117 | WADLEY B1 230.00 | 382118 | WADLEY B2 230.00 | 1 | 230 | N/A | 2019 | Committed | Reliability | Install a 230kV bus tie breaker
SBA | AL | 384215 | HOLT 6 230.00 | 384374 | S. BESSEMER 230.00 | 1 | 230 | 25 | 2019 | Committed | Reliability | Construct approximately 25 mi of new 230kV line
SBA | AL | 384374 | S. BESSEMER 230.00 | 385923 | 6N.DAIM 6 230.00 | 1 | 230 | 12.5 | 2019 | Committed | Reliability | Construct approximately 25 mi of new 230kV line
SBA | AL | 384215 | HOLT 6 230.00 | 385923 | 6N.DAIM 6 230.00 | 1 | 230 | 12.5 | 2019 | Committed | Reliability | Construct approximately 25 mi of new 230kV line
SBA | GA | 389001 | MCINTOSH 230.00 | 389002 | MCINTOSH 115.00 | 1 | 230/115 | N/A | 2020 | Committed | Reliability | Replacement of existing 230/115 transformer bank
SBA | GA | 380156 | 6N DUBLIN B1230.00 | 380833 | 3N DUBLIN B1115.00 | 1 | 230/115 | N/A | 2020 | Committed | Reliability | Replace the 230/115 kV Bank A transformer at North Dublin
SBA | GA | 380117 | WAYNESBORO 230.00 | 380562 | WAYNESBORO 115.00 | 1 | 230/115 | N/A | 2021 | Planned | Reliability | Install a new 115/230kV transformer bank
SBA | GA | 380132 | FIRST AVE B2 230.00 | 380613 | FIRST AVE B2 115.00 | 1 | 230/115 | N/A | 2022 | Planned | Reliability | Replacement of existing 230/115 transformer bank
SBA | AL | 384623 | 6N BREW 6 230.00 | 317017 | 6BELLVIL6 230.00 | 1 | 230 | 15 | 2023 | Planned | Reliability | Construct approx. 15 mi of 230 kV line
SBA | GA | 382730 | DYER ROAD 230.00 | 382731 | DYER ROAD 115.00 | 1 | 230/115 | N/A | 2023 | Planned | Reliability | Loop existing line into new substation
SBA | AL | 384234 | 6CLAY 6 230.00 | 385039 | 6ARGO DS 230.00 | 1 | 230 | 4.68 | 2023 | Planned | Reliability | Upgrade approx. 17 mi along Clay - Leeds 230 kV line
SBA | AL | 384241 | 6LEEDSTS6 230.00 | 385039 | 6ARGO DS 230.00 | 1 | 230 | 12.62 | 2023 | Planned | Reliability | Upgrade approx. 17 mi along Clay - Leeds 230 kV line
SBA | AL | 384131 | 5OAKMANTP 161.00 | 384135 | 5GORGAS 161.00 | 1 | 161 | 12.76 | 2023 | Planned | Reliability | Rebuild approx. 36 mi of 161 kV line from Fayette - Gorgas
SBA | AL | 384131 | 5OAKMANTP 161.00 | 384978 | 5BERRY 161.00 | 1 | 161 | 10.05 | 2023 | Planned | Reliability | Rebuild approx. 36 mi of 161 kV line from Fayette - Gorgas
SBA | AL | 384128 | 5JWALTTP 161.00 | 384978 | 5BERRY 161.00 | 1 | 161 | 0.79 | 2023 | Planned | Reliability | Rebuild approx. 36 mi of 161 kV line from Fayette - Gorgas
SBA | AL | 384128 | 5JWALTTP 161.00 | 384979 | 5BANKSTON 161.00 | 1 | 161 | 3.65 | 2023 | Planned | Reliability | Rebuild approx. 36 mi of 161 kV line from Fayette - Gorgas
SBA | AL | 384127 | 5FAY COTN 161.00 | 384979 | 5BANKSTON 161.00 | 1 | 161 | 7.94 | 2023 | Planned | Reliability | Rebuild approx. 36 mi of 161 kV line from Fayette - Gorgas
SBA | AL | 384121 | 5FAYET TS 161.00 | 384127 | 5FAY COTN 161.00 | 1 | 161 | 1.51 | 2023 | Planned | Reliability | Rebuild approx. 36 mi of 161 kV line from Fayette - Gorgas
SBA | AL | 384489 | N SELMA6 230.00 | 385500 | HARRIS SS 230.00 | 1 | 230 | 25.9 | 2023 | Planned | Reliability | Upgrade approximately 26 mi of 230kV line to 100C
SBA | GA | 381750 | 6ARNOLD MILL230.00 | 382615 | 6BATESVIL RD230.00 | 1 | 230 | 3.8 | 2024 | Planned | Reliability | Construct approx. 12 mi of 230 kV from Arnold Mill - Hopewell
SBA | GA | 382614 | 6BIRMINGHAM 230.00 | 382615 | 6BATESVIL RD230.00 | 1 | 230 | 4.8 | 2024 | Planned | Reliability | Construct approx. 12 mi of 230 kV from Arnold Mill - Hopewell
SBA | GA | 382614 | 6BIRMINGHAM 230.00 | 380209 | 6HOPEWELL 230.00 | 1 | 230 | 3.3 | 2024 | Planned | Reliability | Construct approx. 12 mi of 230 kV from Arnold Mill - Hopewell
SBA | GA | 380056 | 6BERKELEY LK230.00 | 382623 | 6NORCROSS B3230.00 | 1 | 230 | 3.77 | 2024 | Planned | Reliability | Reconductor approx. 3.7 mi along Norcross - Ocee 230 kV line
SBA | GA | 382708 | 6UNIONCTY B1230.00 | 380123 | 6YATES 230.00 | 1 | 230 | 23.42 | 2024 | Planned | Reliability | Reconductor approx. 23 mi Union City - Yates white 230 kV line
SBA | AL | 384156 | 6MILLER6 230.00 | 384172 | 6BOYLESM1 230.00 | 1 | 230 | 17.92 | 2025 | Planned | Reliability | Upgrade approx. 18 mi Miller - Boyles 230 kV line
SPP | OK | 511553 | CHISHOLM7 | 511557 | CHISHOLM6 | 1 | 345/230 | N/A | 3/2018 | Construction | Reliability | Construct new 345/230 kV Chisholm substation between existing 230 kV substations, Sweetwater and Elk City. Cut-in existing Sweetwater - Elk City 230 kV Ckt 1 line into new Chisholm substation and install any necessary 230 kV terminal equipment. Install new 345/230 675 MVA transformer at new Chisholm substation.
SPP | KS | 539805 | ELMCREEK7 | 539639 | ELMCREK6 | 1 | 345/230 | N/A | 12/2016 | Construction | Reliability | Install new 345/230 kV transformer at Elm Creek.
SPP | NM | 527896 | HOBBS_INT 7 | 527894 | HOBBS_INT 6 | 1 | 345/230 | N/A | 6/2018 | Construction | Reliability | Expand existing Hobbs substation to accommodate 345 kV terminals. Install 345/230 kV 644 MVA transformer at Hobbs.
SPP | KS | 532767 | GEARY 7 | N/A | N/A |  | 345 | N/A | 6/2017 | Construction | Reliability | Install 345 kV ring bus at the new Geary County substation.
SPP | NM | 527965 | KIOWA 7 | N/A | N/A | 1 | 345 | N/A | 6/2018 | Construction | Reliability | Construct new Kiowa 345 kV substation adjacent to Potash Junction. 345 kV bus will be ring, expandable to minimum 6 line or transformer terminals. Install terminal equipment as needed.
SPP | ND | 659336 | TANDE 3 | N/A | N/A |  | 345 | N/A | 1/2016 | Construction | Reliability | Construct new 345 kV Tande substation adjacent to the existing 230 kV Neset substation. Install new 345/230 kV transformer at Tande.
SPP | MO | 541316 | Lone Jack | 541218 | GRNWD 5 | 1 | 161 | N/A | 12/2019 | Construction | Reliability | Radial Line From Greenwood to a new distribution sub at Lone Jack
SPP | KS | 543054 | CEDARNL5 | 543131 | CLARE 5 | 1 | 161 | 4.8 | 11/2017 | Construction | Reliability | New Cedar Niles-Clare 161 kV Line & Clare substation
SPP | TX | 526525 | WOLFFORTH 6 | 526161 | CARLISLE 6 | 1 | 230 | 16.8 | 6/2017 | Construction | Reliability | Build new 16.8-mile 230 kV line from Carlisle to Wolfforth South and install necessary terminal equipment.
SPP | MO | 541201 | SIBLEY 7 | 541197 | MULLNCR7 | 1 | 345 | 105 | 12/2016 | Construction | Reliability | Build a new 105 mile 345 kV line with at least 3000 A capacity from Sibley to a new Mullin Creek (formerly Maryville) substation. Upgrade the Sibley substation with the necessary breakers and terminal equipment.
SPP | MO | 645458 | S3458 3 | 541197 | MULLNCR7 | 1 | 345 | 65 | 12/2016 | Construction | Reliability | Build a new 345 kV substation at Mullin Creek (formerly Maryville) with a ring bus and necessary terminal equipment. Build a new 65 mile 345 kV line with at least 3000 A capacity from the new Mullin Creek substation to the Missouri/Nebraska state border towards OPPD's Nebraska City substation.
SPP | OK | 511553 | CHISHOLM7 | 515800 | GRACMNT7 | 1 | 345 | 72 | 3/2018 | Construction | Reliability | Build new single circuit 345 kV line from new Chisholm substation to point of interconnection with Oklahoma Gas & Electric Co. (OGE) towards Gracemont. The approximate line length for the Chisholm - Gracemont 345 kV line is 100 miles, of which AEP will construct approximately 70 miles from Chisholm to the OGE interconnection point.
SPP | OK | 511553 | CHISHOLM7 | 515800 | Gracemont 345kv | 1 | 345 | 29.8 | 3/2018 | Construction | Reliability | Build new 30-mile single circuit 345 kV line from the Gracemont substation to the interconnection point with American Electric Power, toward the new Chisholm substation. Install any necessary terminal equipment at Gracemont.
SPP | OK | 515375 | WWRDEHV7 | 515407 | TATONGA7 | 2 | 345 | 49 | 3/2021 | Construction | Reliability | Build second circuit of new 49-mile 345 kV line from Woodward District EHV to Tatonga.
SPP | KS | 539805 | ELMCREEK7 | 532773 | SUMMIT 7 | 1 | 345 | 29.77 | 3/2018 | Construction | Reliability | Build new 345 kV line from the Elm Creek substation to the Westar Energy, Inc. interception point from the Summit substation.
SPP | KS | 539805 | ELMCREEK7 | 532773 | SUMMIT 7 | 1 | 345 | 28.46 | 12/2016 | Construction | Reliability | Build new 345 kV line from the Summit substation to the ITC Great Plains, LLC interception point from the Elm Creek substation.
SPP | NE | 640500 | CHERRYC3 | 640183 | GENTLMN3 | 1 | 345 | 110 | 6/2018 | Construction | Reliability | Build new 110-mile 345 kV line from Gerald Gentleman Station substation to new Cherry County substation. This upgrade is contingent upon approval from Western Area Power Administration ("WAPA") to tap the Grand Island - Fort Thompson 345 kV line.
SPP | TX | 525832 | TUCO_INT 7 | 526936 | YOAKUM_345 | 1 | 345 | 107 | 6/2020 | Construction | Reliability | Construct new 107-mile 345 kV line from Tuco to Yoakum. Install any necessary 345 kV terminal equipment at Yoakum associated with new 345/230 kV transformer.
SPP | TX | 526936 | YOAKUM_345 | 527896 | HOBBS_INT 7 | 1 | 345 | 52 | 6/2020 | Construction | Reliability | Construct new 52-mile 345 kV line from Hobbs to Yoakum.
SPP | NM | 527965 | KIOWA 7 | 528027 | RDRUNNER 7 | 1 | 230 | 40 | 10/2015 | Construction | Reliability | Construct new 40-mile 345 kV line operated at 230 kV from Potash Junction to Road Runner.
SPP | NE | 646226 | S1226 5 | 646301 | S1301 161kV |  | 161 | 17 | 10/2018 | Construction | Reliability | Build new 17-mile 161 kV line from S1226 to new substation S1301.
SPP | NM | 528185 | NLOV_PLT 7 | 528223 | CHINA_DRAW 7 | 1 | 345 | 18.2 | 6/2018 | Construction | Reliability | Construct new 18.2-mile 345 kV line from North Loving to China Draw.
SPP | OK | 528185 | NLOV_PLT 7 | 527965 | KIOWA 7 | 1 | 345 | 20.4 | 6/2018 | Construction | Reliability | Construct new 20.4-mile 345 kV line from new Kiowa substation to North Loving.
SPP | NM | 527965 | KIOWA 7 | 527896 | HOBBS_INT 7 |  | 345 | 47.2 | 6/2018 | Construction | Reliability | Construct new 47.2-mile 345 kV line from Kiowa to Hobbs.
SPP | ND | 659333 | JUDSON 3 | 659336 | TANDE 3 | 1 | 345 | 58 | 12/2017 | Construction | Reliability | Construct new 58-mile 345 kV line from Judson to Tande.
SPP | SD | 659138 | NESET 4 | 659336 | TANDE 3 | 1 | 230 | 2 | 12/2017 | Construction | Reliability | Install new 2-mile 230 kV line from Neset to new Tande substation.
SPP | OK | 511553 | CHISHOLM7 | 515800 | GRACMNT7 | 1 | 345 | 93 | 3/2018 | Construction | Reliability | Includes new 93 mile 345 kV line from Elk City to Gracemont, and new 345/230 kV transformer at Elk City.
SPP | ND | 659138 | NESET 4 | 659337 | TANDE 4 | 1 | 230 | 58 | 1/2016 | Construction | Reliability | Construct new 58-mile 345 kV line from Judson to Tande.
TVA | KY | 361114 | 5BRISTOW TAP | 360332 | 5E BOWLGREEN | 1 | 161 | 1.89 | 2015-11-16 | Planned | Reliability | Bristow Tap-East Bowling Green 161 kV, uprate
TVA | TN | 360322 | 5CLARKSVILLE | 360628 | 5ROTARY PARK | 1 | 161 | 4.5 | 2015-11-16 | Planned | Reliability | Clarksville-Rotary Park 161 kV, uprate
TVA | AL | 360260 | 5COLBERT FP | 361016 | 5RUSSVL AL T | 1 | 161 | 16.6 | 2016-06-16 | Planned | Reliability | Colbert-Russellville Tap 161 kV, uprate
TVA | KY | 360564 | 5COMMERCE PK | 361677 | 5SALEMCH KYT | 1 | 161 | 6.16 | 2016-11-16 | Planned | Reliability | Commerce Park-Salem Church Tap-Edgoten 161 kV, uprate
TVA | MS | 360154 | 5N HOLLY SPG | 360212 | 5HOLLY SPGS | 1 | 161 | 3.95 | 2018-11-18 | Planned | Reliability | Construct Ashland, tap North Holly Springs-Holly Springs 161 kV
TVA | GA | 361601 | 5FANNIN | 361600 | 5FANNIN TP | 1 | 161 | 4.08 | 2016-11-16 | Planned | Reliability | Construct Barksdale, tap Fannin-Fannin Tap 161 kV
TVA | MS | 360232 | 5STURGIS MS | 361151 | 5ADATON MS | 1 | 161 | 13.81 | 2018-06-18 | Planned | Reliability | Construct Bluefield, tap Sturgis-Adaton 161 kV
TVA | MS | 361052 | 5WEYERHSR TP | 361054 | 5BROOKSVL MS | 1 | 161 | 9.14 | 2017-06-17 | Planned | Reliability | Construct Deerbrook, tap Weyerhaeuser Tap-Brooksville 161 kV
TVA | MS | 360242 | 5PHILADEL MS | 360589 | 5BLOOMO MS | 1 | 161 | 7.03 | 2018-06-18 | Planned | Reliability | Construct House, tap Philadelphia-Bloomo 161 kV
TVA | MS | 360528 | 5CLAYTON VLG | 360689 | 5CLAY | 1 | 161 | 12.24 | 2016-11-16 | Planned | Reliability | Construct Lone Oak, tap Clayton Village-Clay 161 kV
TVA | TN | 360305 | 5MT PLEAS TN | 361463 | 5CULLEOKA TP | 1 | 161 | 15.67 | 2016-06-16 | Planned | Reliability | Construct Lynnville, tap Mount Pleasant-Culleoka Tap 161 kV
TVA | TN | 361706 | 5MECCA PIKE | 360596 | 5ETOWAH TN | 1 | 161 | 3.36 | 2016-11-16 | Planned | Reliability | Construct Mecca Pike-Etowah 161 kV
TVA | TN | 365719 | 5CLARKE RD71 | 360725 | 5FREEPORT #2 | 1 | 161 | 12.28 | 2015-11-16 | Planned | Reliability | Construct MLGW's Mendenhall Road, tap MLGW's Clarke Road-Freeport 161 kV
TVA | MS | 360036 | 5WEST POINT | 361529 | 5STARKVLE SS | 1 | 161 | 14.23 | 2018-06-18 | Planned | Reliability | Construct Montpelier, tap West Point-Starkville SS 161 kV
TVA | TN | 360090 | 8ROANE TN | 360071 | 8WILSON TN | 1 | 500 | 123.29 | 2018-11-18 | Planned | Reliability | Construct Plateau, loop into existing Roane-Wilson 500 kV, loop into existing Monterey-Campbell Junction 161 kV
TVA | MS | 360109 | 5REDHILLS MS | 361498 | 5WEIR MS TAP | 1 | 161 | 8.5 | 2019-06-18 | Planned | Reliability | Construct Red Hills-Weir-Kosciusko-Singleton-Leake 161 kV
TVA | TN | 360341 | 5BANGHAM TN | 360342 | 5LIVINGST TN | 1 | 161 | 11.49 | 2016-11-16 | Planned | Reliability | Construct Rickman, tap Bangham-Livingston 161 kV
TVA | TN | 360450 | 5HUNTSVL TN | 361287 | 5JAMESTWN TN | 1 | 161 | 30.8 | 2018-11-18 | Planned | Reliability | Construct Rugby, tap Huntsville-Jamestown 161 kV
TVA | TN | 360166 | 5SELMER TN | 360175 | 5W ADAMSVLLE | 1 | 161 | 15.33 | 2017-06-17 | Planned | Reliability | Construct Selmer-West Adamsville 161 kV, loop West Adamsville into existing North Adamsville-North Adamsville Tap 161 kV
TVA | TN | 361036 | 5TENNOL TN | 361031 | 5TENNOL TAP | 1 | 161 | 5.85 | 2015-11-16 | Planned | Reliability | Construct South Pittsburg, tap Tennol-Tennol Tap 161 kV
TVA | TN | 360399 | 5GREAT FALLS | 361138 | 5PIKEVLLE TP | 1 | 161 | 22.59 | 2017-06-17 | Planned | Reliability | Construct Spencer, tap Great Falls-Pikeville Tap 161 kV
TVA | TN | 360616 | 5SR 160 TN | 361459 | 5BULLS GAP | 1 | 161 | 12.56 | 2016-06-16 | Planned | Reliability | Construct Springvale, tap Tenn. State Rte. 160-Bulls Gap 161 kV
TVA | KY | 361113 | 5GLASGOW TP | 361114 | 5BRISTOW TAP | 1 | 161 | 19.28 | 2015-11-16 | Planned | Reliability | Construct Transpark, tap Glasgow Tap-Bristow Tap 161 kV
TVA | MS | 360580 | 5TURNERPK MS | 360735 | 5UNION MS B1 | 1 | 161 | 16.2 | 2016-06-16 | Planned | Reliability | Construct Turner Park-Union 161 kV
TVA | TN | 360350 | 5GLADEVLL TN | 361020 | 5GLADEVL TP | 1 | 161 | 0.84 | 2016-06-16 | Planned | Reliability | Construct Vesta Road, tap Gladeville-Gladeville Tap 161 kV
TVA | TN | 360011 | 5RUTHERFORD | 361555 | 5CASON LANE | 1 | 161 | 9.79 | 2016-06-16 | Planned | Reliability | Construct Veterans, tap Rutherford-Cason Lane 161 kV
TVA | TN | 360152 | 5S JACKSON | 361346 | 5MAGICVAL TP | 1 | 161 | 10.87 | 2016-11-16 | Planned | Reliability | Construct Watlington Road, tap South Jackson-Magic Valley Tap 161 kV
TVA | MS | 360207 | 5W BATESV MS | 361717 | 5WCHARLESTON | 1 | 161 | 23 | 2019-06-18 | Planned | Reliability | Construct West Batesville-West Charleston-North Oakland 161 kV, move Charleston & North Oakland delivery point loads off Entergy's transmission system
TVA | TN | 361708 | 5WOODLANDMIL | 361399 | 5N UNION CIT | 1 | 161 | 4.02 | 2015-11-16 | Planned | Reliability | Construct Woodland Mills-North Union City 161 kV
TVA | TN | 360144 | 5DYERSBRG TN | 361244 | 5DOUBLE BRDG | 1 | 161 | 6.73 | 2017-06-17 | Planned | Reliability | Dyersburg-Mill Creek-Double Bridges-Curve-Ripley-East Industrial Park Tap-Wingate Tap-Covington 161 kV, uprate
TVA | MS | 360631 | 8FRENCH CAMP | 360654 | 8CHOCTAW MS | 1 | 500 | 13.31 | 2016-06-16 | Planned | Reliability | French Camp-Choctaw 500 kV, uprate
TVA | KY | 361113 | 5GLASGOW TP | 361603 | 5E GLASGOW T | 1 | 161 | 6.05 | 2015-11-16 | Planned | Reliability | Glasgow Tap-East Glasgow Tap 161 kV, uprate
TVA | TN | 360164 | 5HICK VALLEY | 361134 | 5SOMERVLE TP | 1 | 161 | 18.82 | 2016-06-16 | Planned | Reliability | Hickory Valley-Somerville Tap-West Somerville-Oakland Tap-Cordova 161 kV, uprate
TVA | KY | 360325 | 5HOPKINSV KY | 361302 | 5SUP GRAPH T | 1 | 161 | 8 | 2016-11-16 | Planned | Reliability | Hopkinsville-Superior Graphite Tap-Casky-Pembroke Tap-Commerce Park 161 kV, reconductor
TVA | MS | 360239 | 5LOUISVLE MS | 361282 | 5NOXAPATER T | 1 | 161 | 8.76 | 2016-11-16 | Planned | Reliability | Louisville-Noxapater Tap 161 kV, uprate
TVA | TN | 360358 | 5N NASHVILLE | 361019 | 5HENDRSNVL T | 1 | 161 | 7.81 | 2015-11-16 | Planned | Reliability | North Nashville-Hendersonville Tap 161 kV, uprate
TVA | AL | 360261 | 5OAKLAND AL | 360263 | 5WILSON HP | 1 | 161 | 12.38 | 2015-11-16 | Planned | Reliability | Oakland-Wilson Hydro 161 kV, reconductor
TVA | MS | 360242 | 5PHILADEL MS | 361211 | 5N PHILAD TP | 1 | 161 | 7.52 | 2016-11-16 | Planned | Reliability | Philadelphia-North Philadelphia Tap 161 kV, uprate
TVA | MS | 360242 | 5PHILADEL MS | 360204 | 5S PHILADEL | 1 | 161 | 0.83 | 2016-06-16 | Planned | Reliability | Philadelphia-South Philadelphia-Pearl River Tap-Leake 161 kV, uprate
TVA | MS | 360169 | 5PICKWICK HP | 361168 | 5KIMB CL MS | 1 | 161 | 15.42 | 2015-11-16 | Planned | Reliability | Pickwick-Kimberly Clark 161 kV, reconductor
TVA | TN | 360581 | 8PIN HOOK TN | 360365 | 5PIN HOOK TN | 2 | 500/161 | N/A | 2018-11-18 | Planned | Reliability | Pin Hook 500/161 kV #2, install for 1344 MVA
TVA | TN | 360077 | 8PLATEAU TN | 360078 | 5PLATEAU TN | 1 | 500/161 | N/A | 2018-11-18 | Planned | Reliability | Plateau 500/161 kV, install for 1344 MVA
TVA | TN | 360428 | 5ROCKWOOD TN | 360585 | 5BURKEMILLRD | 1 | 161 | 5.28 | 2016-06-16 | Planned | Reliability | Rockwood-Burke Mill Road 161 kV, uprate
TVA | TN | 360166 | 5SELMER TN | 361724 | 5FORST HL TP | 1 | 161 | 0.46 | 2017-06-17 | Planned | Reliability | Selmer-Forest Hill Tap 161 kV, uprate
TVA | KY | 360001 | 8SHAWNEE FP | 360015 | 8MARSHALL KY | 1 | 500 | 28.16 | 2017-11-17 | Planned | Reliability | Shawnee-Marshall 500 kV, uprate
TVA | AL | 360065 | 8WID CRK FP | 360066 | 5WID CRK FP1 | 2 | 500/161 | N/A | 2018-11-18 | Planned | Reliability | Widows Creek 500/161 kV #2, install for 1344 MVA
TVA | AL | 360066 | 5WID CRK FP1 | 361046 | 5BRYANT AL | 1 | 161 | 8.64 | 2016-06-16 | Planned | Reliability | Widows Creek-Bryant-Morganville-Wallaceville Tap-Oglethorpe 161 kV, uprate