## Appendix C New Generation
New or Upgraded Generation Resources in EIPC 2025 Roll-Up Cases
PA | State/ Province | Unit Name | Unit ID | PSSE Bus # | Installed Capacity (MW) | Dispatched Amount (MW) | Fuel Type | Generation Technology | Status | In-Service Date | Notes
ISO-NE | MA | BROCKTON_GT | C1 | 115497 | 205 | 205 | Natural Gas | Combined Cycle | Planned | 2019-05-31
ISO-NE | MA | BROCKTON_ST | S1 | 115496 | 155 | 155 | Natural Gas | Combined Cycle | Planned | 2019-05-31
ISO-NE | MA | NORTHFIELD 3 | G3 | 116413 | 295 | 295 | Water | Hydro Turbine | Committed | 2016-02-13 | Uprate
ISO-NE | MA | NORTHFIELD 2 | G2 | 116412 | 295 | 295 | Water | Hydro Turbine | Committed | 2016-02-13 | Uprate
ISO-NE | MA | NORTHFIELD 4 | P4 | 116414 | 0 | 0 | Water | Hydro Turbine | Committed | 2016-02-13 | Uprate
ISO-NE | MA | NORTHFIELD 4 | G4 | 116414 | 295 | 295 | Water | Hydro Turbine | Committed | 2016-02-13 | Uprate
ISO-NE | MA | NORTHFIELD 1 | G1 | 116411 | 295 | 295 | Water | Hydro Turbine | Committed | 2016-02-13 | Uprate
ISO-NE | MA | NORTHFIELD 1 | P1 | 116411 | 0 | 0 | Water | Hydro Turbine | Committed | 2016-02-13 | Uprate
ISO-NE | MA | QP273-1 | 1 | 116472 | 40.3 | 40.3 | Biomass | Steam Turbine | Committed | 2018-07-15
ISO-NE | ME | QP300-1_GEN | 1 | 100716 | 19.25 | 19.25 | Wind | Wind | Committed | 2017-11-01
ISO-NE | ME | SADLBCK_G | 1 | 100724 | 33 | 33 | Wind | Wind | Committed | 2015-09-15
ISO-NE | VT | BVR WOOD_GEN | 1 | 108864 | 37 | 37 | Biomass | Steam Turbine | Committed | 2016-03-30
ISO-NE | NH | SACO_SC2 | S2 | 105258 | 0 | 0 | SC | SC | Construction | 2016-12-01 | 25 MVAR Synchronous Condenser
ISO-NE | NH | SACO_SC1 | S1 | 105257 | 0 | 0 | SC | SC | Construction | 2016-12-01 | 25 MVAR Synchronous Condenser
DEC | SC | 1LEECCS10 | 10 | 308613 | 327 | 327 | Natural Gas | Combined Cycle | Committed | 2017
DEC | SC | 1LEECCS11 | 11 | 308614 | 224.5 | 224.5 | Natural Gas | Combined Cycle | Committed | 2017
DEC | SC | 1LEECCS12 | 12 | 308615 | 224.5 | 224.5 | Natural Gas | Combined Cycle | Committed | 2017
DEC | NC | 1APL3-GLV | 1 | 308230 | 17.5 | 17.5 | Solar | Renewable | Committed | 2015
FRCC | FL | CITRUS ST1 22.000 | ST1 | 403288 | 360 | 360 | Natural Gas | Combined Cycle | Committed | 2018
FRCC | FL | CITRUS CT1A 19.000 | CT1A | 403289 | 263 | 263 | Natural Gas | Combined Cycle | Committed | 2018
FRCC | FL | CITRUS CT1B 19.000 | CT1B | 403290 | 263 | 263 | Natural Gas | Combined Cycle | Committed | 2018
FRCC | FL | CITRUS ST2 22.000 | ST2 | 403293 | 360 | 360 | Natural Gas | Combined Cycle | Committed | 2018
FRCC | FL | CITRUS CT2A 19.000 | CT2A | 403294 | 263 | 263 | Natural Gas | Combined Cycle | Committed | 2018
FRCC | FL | CITRUS CT2B 19.000 | CT2B | 403295 | 263 | 263 | Natural Gas | Combined Cycle | Committed | 2018
DEP | NC | 1FAYSOL-GLV | 1 | 305224 | 23.4 | 8.2 | Solar | Photo-Voltaic | Committed | 2015
DEP | NC | 1ELMCTYSOLGL | 1 | 305314 | 40.7 | 14.2 | Solar | Photo-Voltaic | Committed | 2016
DEP | NC | 1EDENSOL-GLV | 1 | 305324 | 48.3 | 16.9 | Solar | Photo-Voltaic | Committed | 2015
DEP | NC | 1WARSAWSOLGL | 1 | 305903 | 65.8 | 23 | Solar | Photo-Voltaic | Committed | 2015
FPL | FL | OKEECHOBEE | 1 | 1141 | 241 | 241 | Natural Gas | Combined Cycle | Committed | 2019
FPL | FL | OKEECHOBEE | 2 | 1142 | 241 | 241 | Natural Gas | Combined Cycle | Committed | 2020
FPL | FL | OKEECHOBEE | 3 | 1143 | 241 | 241 | Natural Gas | Combined Cycle | Committed | 2021
FPL | FL | OKEECHOBEE | ST | 1144 | 389 | 389 | Natural Gas | Combined Cycle | Committed | 2022
IESO | ON | Pickering | G1-6 | 156059 | 3094 | 0 | Nuclear | Nuclear | Retired | 2020 | Pickering Nuclear station 6 units (3094 MW) : retire
IESO | ON | Green Electron | G1-2 | 160109 | 289 | 289 | Natural Gas | Combined Cycle | Planned | Q2 2016 | Green Electron 2 units (289 MW); new construction
IESO | ON | Napanee | G1-3 | 155010 | 900 | 900 | Natural Gas | Combined Cycle | Planned | Q4 2018 | Napanee 3 units (900 MW); new construction
IESO | ON | Fit - Transmission connected | N/A | N/A | 2815 | 2815 | Wind/Hydro/Solar | Wind/Hydro/Solar | Planned | 2020 | Fit - Transmission connected (2815 MW); new construction
JEA | FL | North #3 | 1 | 404542 | 523 | 0 | Natural Gas | Steam Turbine | Retired | 2019
MISO | IN | 16EVCTU1 | 1 | 254857 | 235 | 235 | Natural Gas | Combined Cycle | Planned | 2025
MISO | IN | 16EVCTU2 | 2 | 254858 | 235 | 235 | Natural Gas | Combined Cycle | Planned | 2025
MISO | IN | 16EVSTU3 | 3 | 254859 | 255 | 255 | Natural Gas | Combined Cycle | Planned | 2025
MISO | MI | ENFPP3 | 1 | 268817 | 1563 | 1563 | Nuclear | Nuclear | Planned | 2025
MISO | LA | DGHDIESEL | 1 | 500421 | 9.341 | 0 | Diesel | Steam Turbine | Planned | 2025
MISO | LA | DGHDIESEL | 2 | 500421 | 9.341 | 0 | Diesel | Steam Turbine | Planned | 2025
MISO | LA | DGHDIESEL | 3 | 500421 | 9.341 | 0 | Diesel | Steam Turbine | Planned | 2025
MISO | LA | DGHDIESEL | 4 | 500421 | 9.341 | 0 | Diesel | Steam Turbine | Planned | 2025
MISO | LA | DGHDIESEL | 5 | 500421 | 9.341 | 0 | Diesel | Steam Turbine | Planned | 2025
MISO | LA | DGHDIESEL | 6 | 500421 | 9.341 | 0 | Diesel | Steam Turbine | Planned | 2025
MISO | LA | DGHDIESEL | 7 | 500421 | 9.341 | 0 | Diesel | Steam Turbine | Planned | 2025
MISO | MN | J278 PVS W1 | W | 600151 | 100 | 14.7 | Wind | Wind | Planned | 2025
MISO | MN | J278 PVS W2 | W | 600152 | 100 | 14.7 | Wind | Wind | Planned | 2025
MISO | MN | G826 ODEL W1 | W | 600159 | 100 | 14.7 | Wind | Wind | Planned | 2025
MISO | MN | G826 ODEL W2 | W | 600160 | 100 | 14.7 | Wind | Wind | Planned | 2025
MISO | ND | J290 BORDR W | W | 600161 | 150 | 22.05 | Wind | Wind | Planned | 2025
MISO | ND | J262 COURT W | W | 600162 | 100 | 14.7 | Wind | Wind | Planned | 2025
MISO | ND | J263 COURT W | W | 600163 | 100 | 14.7 | Wind | Wind | Planned | 2025
MISO | MN | BLK D76G | 6 | 600164 | 161 | 161 | Natural Gas | Combined Cycle | Planned | 2025
MISO | ND | BISON 6G | 6 | 608896 | 102.4 | 14.4 | Wind | Wind | Planned | 2025
MISO | MN | OWAT_ES-G | 1 | 613212 | 6.5 | 6 | Natural Gas | Steam Turbine | Planned | 2025
MISO | MN | OWAT_ES-G | 2 | 613212 | 6.5 | 0 | Natural Gas | Steam Turbine | Planned | 2025
MISO | MN | OWAT_ES-G | 3 | 613212 | 6.5 | 0 | Natural Gas | Steam Turbine | Planned | 2025
MISO | MN | OWAT_ES-G | 4 | 613212 | 6.5 | 0 | Natural Gas | Steam Turbine | Planned | 2025
MISO | MN | OWAT_ES-G | 5 | 613212 | 6.5 | 0 | Natural Gas | Steam Turbine | Planned | 2025
MISO | MN | OWAT_ES-G | 6 | 613212 | 6.5 | 0 | Natural Gas | Steam Turbine | Planned | 2025
MISO | IA | COG MUNI8 | 4 | 629209 | 3.12 | 0 | Diesel | Steam Turbine | Planned | 2025
MISO | IA | SHD415 W | W | 635407 | 166.667 | 24.5 | Wind | Wind | Planned | 2025
MISO | IA | SHD425 W | W | 635408 | 166.667 | 24.5 | Wind | Wind | Planned | 2025
MISO | IA | SHD435 W | W | 635409 | 166.667 | 24.5 | Wind | Wind | Planned | 2025
MISO | ND | G752 W | W | 661989 | 150 | 22.05 | Wind | Wind | Planned | 2025
MISO | ND | MERRICRT G W | W | 661995 | 150 | 22.05 | Wind | Wind | Planned | 2025
MISO | MI | GDN WD WTG3 | W | 693706 | 28.98 | 4.26 | Wind | Wind | Planned | 2025
MISO | MI | GDN WD WTG2 | W | 693715 | 38 | 5.586 | Wind | Wind | Planned | 2025
NYISO | NY | CPV_CT1 16.500 | 1 | 148996 | 179.5 | 50.2715 | Natural Gas | Combined Cycle | Planned | 2018 | Dispatched Amount is from Summer 2025 case
NYISO | NY | CPV_CT2 16.500 | 1 | 148997 | 179.5 | 50.2715 | Natural Gas | Combined Cycle | Planned | 2018 | Dispatched Amount is from Summer 2025 case
NYISO | NY | CPV_ST 18.000 | 1 | 148998 | 297 | 100.543 | Natural Gas | Combined Cycle | Planned | 2018 | Dispatched Amount is from Summer 2025 case
PJM | IL | O-029 C | 1 | 293712 | 21.9 | 20.26 | Wind | Wind | Committed | 2015 Q1
PJM | IL | O-029 C | 1 | 293713 | 12 | 11.1 | Wind | Wind | Committed | 2015 Q1
PJM | IL | O-029 C | 1 | 293714 | 11.1 | 10.27 | Wind | Wind | Committed | 2015 Q1
PJM | IL | O-029 E | 1 | 293715 | 87.71 | 0 | Wind | Wind | Committed | 2015 Q1
PJM | IL | O-029 E | 1 | 293716 | 48.09 | 0 | Wind | Wind | Committed | 2015 Q1
PJM | IL | O-029 E | 1 | 293717 | 44.2 | 0 | Wind | Wind | Committed | 2015 Q1
PJM | NJ | P-006 | 1 | 228203 | 96.5 | 89.29 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | IL | WALNR;1U | W1 | 274873 | 21 | 0 | Wind | Wind | Suspended | 2015 Q2
PJM | IL | WALNR;2U | W2 | 274874 | 21 | 0 | Wind | Wind | Suspended | 2015 Q2
PJM | IL | WALNR;1U E | 1 | 294500 | 84 | 0 | Wind | Wind | Suspended | 2015 Q2
PJM | IL | WALNR;2U E | 1 | 294502 | 84 | 0 | Wind | Wind | Suspended | 2015 Q2
PJM | IL | Q-039 C | 1 | 290089 | 29.4 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | IL | Q-039 E | 1 | 290090 | 117.6 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | NJ | Q-090 2 | 1 | 295841 | 650 | 601.47 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | NJ | 28R11 | 1 | 206412 | 440 | 0 | Natural Gas | Combined Cycle | Committed | 2019 Q2
PJM | IL | R-030 C3 | 1 | 296125 | 33.6 | 31.09 | Wind | Wind | Committed | 2016 Q4
PJM | IL | R-030 E3 | 1 | 296128 | 134.4 | 0 | Wind | Wind | Committed | 2016 Q4
PJM | IL | R-030 C2 | 1 | 296271 | 33.2 | 30.72 | Wind | Wind | Committed | 2016 Q4
PJM | IL | R-030 E2 | 1 | 296272 | 132.8 | 0 | Wind | Wind | Committed | 2016 Q4
PJM | IL | R-030 C1 | 1 | 296308 | 33.2 | 30.72 | Wind | Wind | Committed | 2016 Q4
PJM | IL | R-030 E1 | 1 | 296309 | 132.8 | 0 | Wind | Wind | Committed | 2016 Q4
PJM | PA | R043_C | 1 | 212386 | 4 | 3.7 | Wind | Wind | Committed | 2015 Q2
PJM | PA | R-043_E | 1 | 212388 | 16 | 0 | Wind | Wind | Committed | 2015 Q2
PJM | OH | R52_1C | 1 | 296454 | 20 | 0 | Wind | Wind | Committed | 2016 Q4
PJM | OH | R52_1E | 1 | 296455 | 80 | 0 | Wind | Wind | Committed | 2016 Q4
PJM | OH | R52_2C | 1 | 296479 | 20 | 0 | Wind | Wind | Committed | 2016 Q4
PJM | OH | R52_2E | 1 | 296480 | 80 | 0 | Wind | Wind | Committed | 2016 Q4
PJM | OH | R-052A C | 1 | 290286 | 20 | 0 | Wind | Wind | Committed | 2016 Q4
PJM | OH | R-052A E | 1 | 290287 | 80 | 0 | Wind | Wind | Committed | 2016 Q4
PJM | MD | S-032 | 1 | 290285 | 230 | 212.83 | Natural Gas | Combined Cycle | Committed | 2015 Q4
PJM | IL | MILKS GRV;1U | 1 | 274880 | 35 | 32.39 | Wind | Wind | Committed | 2015 Q2
PJM | IL | MILKS GRV;1E | 1 | 275148 | 140 | 0 | Wind | Wind | Committed | 2015 Q2
PJM | IL | KEMPTON ;1U | 1 | 274881 | 35 | 32.39 | Wind | Wind | Committed | 2016 Q4
PJM | IL | KEMPTON ;1E | 1 | 275149 | 140 | 0 | Wind | Wind | Committed | 2016 Q4
PJM | WV | 01S70BUS1 | 1 | 236841 | 21.6 | 19.99 | Water | Hydro | Committed | 2015 Q3
PJM | WV | 01S70BUS2 | 2 | 236842 | 21.6 | 19.99 | Water | Hydro | Committed | 2015 Q3
PJM | IN | S-071 C | 1C | 247536 | 24 | 0 | Wind | Wind | Suspended | 2015 Q4
PJM | IN | S-071 E | 1E | 247929 | 96 | 0 | Wind | Wind | Suspended | 2015 Q4
PJM | NJ | NEC_CT1 | 1 | 217191 | 156.25 | 144.59 | Natural Gas | Combined Cycle | Committed | 2016 Q1
PJM | NJ | NEC_CT2 | 1 | 217192 | 156.25 | 144.59 | Natural Gas | Combined Cycle | Committed | 2016 Q1
PJM | NJ | NEC_ST | 1 | 217193 | 312.5 | 289.17 | Natural Gas | Combined Cycle | Committed | 2016 Q1
PJM | PA | T-121C | 1 | 292391 | 24 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | PA | T-121E | 1 | 292392 | 96 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | OH | T-130 C | 1C | 247503 | 60 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | OH | T-130 E | 1E | 247916 | 240 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | OH | T-131 C | 1C | 247521 | 30 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | OH | T-131 E | 1E | 247925 | 120 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | OH | T-142 C | 1C | 247504 | 60 | 0 | Wind | Wind | Committed | 2015 Q4
PJM | OH | T-142 E | 1E | 247917 | 240 | 0 | Wind | Wind | Committed | 2015 Q4
PJM | IL | T-143 C1 | 1 | 886211 | 25 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | IL | T-143 E1 | 1 | 886212 | 100 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | IL | T-143 C2 | 1 | 886221 | 25 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | IL | T-143 E2 | 1 | 886222 | 100 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | IL | BOONE HTG;2U | 1 | 274884 | 20 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | IL | BOONE HTG;2E | 1 | 275145 | 80 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | WV | T-157 C | 1 | 292557 | 32 | 29.61 | Wind | Wind | Committed | 2015 Q4
PJM | WV | T-157 E | 1 | 292559 | 128 | 0 | Wind | Wind | Committed | 2015 Q4
PJM | MD | 01KL_K28_T16 | W1 | 235854 | 25.8 | 23.87 | Wind | Wind | Committed | 2015 Q4
PJM | MD | T-016 E | 1 | 885642 | 24 | 0 | Wind | Wind | Committed | 2015 Q4
PJM | PA | T-174 1 | 1 | 292626 | 185 | 171.19 | Natural Gas | Combined Cycle | Committed | 2018 Q2
PJM | PA | T-174 2 | 1 | 292627 | 185 | 171.19 | Natural Gas | Combined Cycle | Committed | 2018 Q2
PJM | PA | T-174 3 | 1 | 292628 | 185 | 171.19 | Natural Gas | Combined Cycle | Committed | 2018 Q2
PJM | PA | T-174 4 | 1 | 292629 | 375 | 347 | Natural Gas | Combined Cycle | Committed | 2018 Q2
PJM | MI | 05COVRT1 | G1 | 247528 | 215.6 | 199.5 | Natural Gas | Combined Cycle | Under Construction | 2016 Q2
PJM | MI | 05COVRT2 | G2 | 247529 | 215.6 | 199.5 | Natural Gas | Combined Cycle | Under Construction | 2016 Q2
PJM | MI | 05COVRT3 | G3 | 247530 | 215.6 | 199.5 | Natural Gas | Combined Cycle | Under Construction | 2016 Q2
PJM | MI | 05COVRT4 | S1 | 247531 | 129.4 | 119.74 | Natural Gas | Combined Cycle | Under Construction | 2016 Q2
PJM | MI | 05COVRT5 | S2 | 247532 | 129.4 | 119.74 | Natural Gas | Combined Cycle | Under Construction | 2016 Q2
PJM | MI | 05COVRT6 | S3 | 247533 | 129.4 | 119.74 | Natural Gas | Combined Cycle | Under Construction | 2016 Q2
PJM | IL | BOONE HTG;1U | 1 | 274883 | 20 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | IL | BOONE HTG;1E | 1 | 275146 | 80 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | OH | U1-059 C | 1C | 247522 | 6.5 | 0 | Wind | Wind | Suspended | 2015 Q4
PJM | OH | U1-059 E | 1E | 247926 | 43.5 | 0 | Wind | Wind | Suspended | 2015 Q4
PJM | PA | U2-015C OP1 | 1 | 292934 | 13 | 12.03 | Wind | Wind | Committed | 2015 Q2
PJM | PA | U2-015E OP1 | 1 | 292935 | 87 | 0 | Wind | Wind | Committed | 2015 Q2
PJM | OH | U2-041 C | 1C | 247506 | 39 | 36.09 | Wind | Wind | Committed | 2015 Q3
PJM | OH | U2-041 E | 1E | 247919 | 261 | 0 | Wind | Wind | Committed | 2015 Q3
PJM | NJ | U2-045 C | 1 | 292966 | 2.6 | 0 | Offshore Wind | Wind | Proposed | 2017 Q1
PJM | NJ | U2-045 E | 1 | 292967 | 17.4 | 0 | Offshore Wind | Wind | Proposed | 2017 Q1
PJM | IL | PWR VTREC;1U | 1 | 274830 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | PWR VTREC;1U | 2 | 274830 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | PWR VTREC;1U | 3 | 274830 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | PWR VTREC;1U | 4 | 274830 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | PWR VTREC;1U | 5 | 274830 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | PWR VTREC;1U | 6 | 274830 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | PWR VTREC;2U | 7 | 274831 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | PWR VTREC;2U | 8 | 274831 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | PWR VTREC;2U | 9 | 274831 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | PWR VTREC;2U | 10 | 274831 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | PWR VTREC;2U | 11 | 274831 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | PWR VTREC;2U | 12 | 274831 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | OH | U4-001 C | 1C | 247542 | 26 | 0 | Wind | Wind | Suspended | 2018 Q4
PJM | OH | U4-001 E | 1E | 247934 | 174 | 0 | Wind | Wind | Suspended | 2018 Q4
PJM | IL | ANNAWAN ; 1U | 1 | 274832 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | ANNAWAN ; 1U | 2 | 274832 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | ANNAWAN ; 1U | 3 | 274832 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | ANNAWAN ; 1U | 4 | 274832 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | ANNAWAN ; 1U | 5 | 274832 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | ANNAWAN ; 1U | 6 | 274832 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | ANNAWAN ; 1U | 7 | 274832 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | ANNAWAN ; 1U | 8 | 274832 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | ANNAWAN ; 1U | 9 | 274832 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | ANNAWAN ; 1U | 10 | 274832 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | ANNAWAN ; 1U | 11 | 274832 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | IL | ANNAWAN ; 1U | 12 | 274832 | 8.4 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q4
PJM | OH | U4-028 C | 1C | 247551 | 13 | 0 | Wind | Wind | Proposed | 2015 Q3
PJM | OH | U4-028 E | 1E | 247940 | 87 | 0 | Wind | Wind | Proposed | 2015 Q3
PJM | OH | U4-029 C | 1C | 247552 | 13 | 0 | Wind | Wind | Proposed | 2015 Q3
PJM | OH | U4-029 E | 1E | 247941 | 87 | 0 | Wind | Wind | Proposed | 2015 Q3
PJM | IN | U4-039 C | 1C | 247523 | 104 | 0 | Wind | Wind | Proposed | 2015 Q3
PJM | IN | U4-039 E | 1E | 247927 | 696 | 0 | Wind | Wind | Proposed | 2015 Q3
PJM | OH | V1-011 C | 1C | 247607 | 13 | 12.03 | Wind | Wind | Committed | 2015 Q4
PJM | OH | V1-011 E | 1E | 247959 | 87 | 0 | Wind | Wind | Committed | 2015 Q4
PJM | OH | V1-012 C | 1C | 247608 | 19.5 | 18.05 | Wind | Wind | Committed | 2015 Q4
PJM | OH | V1-012 E | 1E | 247960 | 130.5 | 0 | Wind | Wind | Committed | 2015 Q4
PJM | MD | V1-033 | 1 | 292077 | 132 | 0 | Other | Other | Suspended | 2015 Q1
PJM | OH | V2-006 C | 1C | 247567 | 19.5 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | OH | V2-006 E | 1E | 247961 | 130.5 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | MD | V2-028 C | 1 | 297076 | 2.28 | 0 | Solar | Photo-Voltaic | Suspended | 2018 Q4
PJM | MD | V2-028 E | 1 | 297077 | 3.72 | 0 | Solar | Photo-Voltaic | Suspended | 2018 Q4
PJM | IN | V3-007 C | 1C | 247543 | 26 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | IN | V3-007 E | 1E | 247935 | 174 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | IN | V3-009 C | 1C | 247545 | 26 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | IN | V3-009 E | 1E | 247937 | 174 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | MD | V3-017 | 1 | 292630 | 725 | 670.87 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | OH | V3-028 C | 1C | 247549 | 7.6 | 7.03 | Solar | Photo-Voltaic | Committed | 2016 Q4
PJM | OH | V3-028 E | 1E | 247948 | 12.4 | 0 | Solar | Photo-Voltaic | Committed | 2016 Q4
PJM | OH | V4-010 C | 1C | 247548 | 26 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | OH | V4-010 E | 1E | 247947 | 174 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | VA | V4-022C | 1 | 904210 | 1.9 | 1.76 | Solar | Photo-Voltaic | Committed | 2016 Q4
PJM | VA | V4-022E | 1 | 904212 | 3.1 | 0 | Solar | Photo-Voltaic | Committed | 2016 Q4
PJM | NJ | V4-025 C1 | 1 | 904241 | 1.9 | 1.76 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | NJ | V4-025 E1 | 1 | 904242 | 6.2 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | NJ | V4-025 C2 | 1 | 904243 | 1.9 | 1.76 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | NJ | V4-025 E2 | 1 | 904244 | 3.7 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | NJ | V4-025 C3 | 1 | 904245 | 1.9 | 1.76 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | NJ | V4-025 E3 | 1 | 904246 | 1 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | NJ | V4-025 C4 | 1 | 904247 | 1.9 | 1.76 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | NJ | V4-025 E4 | 1 | 904248 | 1.5 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | PA | V4-045 | 1 | 900361 | 320 | 296.11 | Nuclear | Nuclear | Proposed | 2015 Q4
PJM | VA | W1-003 C | 1 | 901003 | 7.6 | 7.03 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | VA | W1-003 E | 1 | 901004 | 12.4 | 0 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | VA | W1-004 C | 1 | 901013 | 7.6 | 7.03 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | VA | W1-004 E | 1 | 901014 | 12.4 | 0 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | VA | W1-005 C | 1 | 901023 | 7.6 | 7.03 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | VA | W1-005 E | 1 | 901024 | 12.4 | 0 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | VA | W1-006 C | 1 | 901033 | 7.6 | 7.03 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | VA | W1-006 E | 1 | 901034 | 12.4 | 0 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | NC | W1-029C | 1 | 901081 | 39 | 0 | Wind | Wind | Suspended | 2015 Q4
PJM | NC | W1-029E | 1 | 901082 | 261 | 0 | Wind | Wind | Suspended | 2015 Q4
PJM | MD | W1-033 | 1 | 901121 | 25 | 0 | Biomass |  | Suspended | 2015 Q1
PJM | PA | W1-045C OP1 | 1 | 901241 | 7.6 | 0 | Solar | Photo-Voltaic | Proposed | 2015 Q4
PJM | PA | W1-045E OP1 | 1 | 901242 | 12.4 | 0 | Solar | Photo-Voltaic | Proposed | 2015 Q4
PJM | OH | W1-056 C | 1C | 247555 | 2.4 | 0 | Wind | Wind | Suspended | 2015 Q4
PJM | OH | W1-056 E | 1E | 247942 | 16 | 0 | Wind | Wind | Suspended | 2015 Q4
PJM | NJ | W1-130C | 1 | 902091 | 3.8 | 3.52 | Solar | Photo-Voltaic | Committed | 2016 Q3
PJM | NJ | W1-130E | 1 | 902092 | 6.2 | 0 | Solar | Photo-Voltaic | Committed | 2016 Q3
PJM | NC | W2-022 C OP1 | 1 | 902241 | 9.57 | 0 | Wind | Wind | Suspended | 2016 Q2
PJM | NC | W2-022 E OP1 | 1 | 902242 | 64.03 | 0 | Wind | Wind | Suspended | 2016 Q2
PJM | NJ | W2-039 | 1 | 902521 | 63 | 58.3 | Natural Gas | Combined Cycle | Committed | 2015 Q2
PJM | OH | W2-040C | 1 | 902531 | 7.6 | 7.03 | Solar | Photo-Voltaic | Committed | 2017 Q2
PJM | OH | W2-040E | 1 | 902532 | 12.4 | 0 | Solar | Photo-Voltaic | Committed | 2017 Q2
PJM | IL | W2-048 E | 1 | 276150 | 62.5 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | NJ | W3-028 C | 1 | 903311 | 45 | 0 | Offshore Wind | Wind | Suspended | 2019 Q1
PJM | NJ | W3-028 E | 1 | 903312 | 303 | 0 | Offshore Wind | Wind | Suspended | 2019 Q1
PJM | DE | W3-032 | 1 | 903511 | 309 | 285.93 | Natural Gas | Combined Cycle | Committed | 2015 Q2
PJM | NJ | W3-044C OP1 | 1 | 903631 | 7.6 | 0 | Solar | Photo-Voltaic | Suspended | 2015 Q2
PJM | NJ | W3-044E OP1 | 1 | 903632 | 12.4 | 0 | Solar | Photo-Voltaic | Suspended | 2015 Q2
PJM | NJ | W3-057C | 1 | 903761 | 7.6 | 7.03 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | NJ | W3-057E | 1 | 903762 | 12.4 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | NC | W3-066 C1OP1 | 1 | 903520 | 19.5 | 0 | Wind | Wind | Suspended | 2016 Q2
PJM | NC | W3-066 E1OP1 | 1 | 903522 | 130.5 | 0 | Wind | Wind | Suspended | 2016 Q2
PJM | NC | W3-066 C2OP1 | 2 | 903531 | 19.5 | 0 | Wind | Wind | Suspended | 2016 Q2
PJM | NC | W3-066 E2OP1 | 2 | 903532 | 130.5 | 0 | Wind | Wind | Suspended | 2016 Q2
PJM | NJ | W3-080C | 1 | 903991 | 7.6 | 0 | Solar | Photo-Voltaic | Suspended | 2015 Q2
PJM | NJ | W3-080E | 1 | 903992 | 12.4 | 0 | Solar | Photo-Voltaic | Suspended | 2015 Q2
PJM | PA | W3-099 C OP1 | 1 | 903643 | 13 | 12.03 | Wind | Wind | Committed | 2017 Q3
PJM | PA | W3-099 E OP1 | 1 | 903644 | 87 | 0 | Wind | Wind | Committed | 2017 Q3
PJM | NJ | W3-106 E | 1 | 903672 | 10.5 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q3
PJM | OH | W3-128 | 1 | 247609 | 652 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q2
PJM | NJ | W3-158C | 1 | 904771 | 3.1 | 0 | Solar | Photo-Voltaic | Suspended | 2016 Q4
PJM | NJ | W3-158E | 1 | 904772 | 4.9 | 0 | Solar | Photo-Voltaic | Suspended | 2016 Q4
PJM | NJ | W3-159C | 1 | 904781 | 4.6 | 4.26 | Solar | Photo-Voltaic | Committed | 2015 Q2
PJM | NJ | W3-159E | 1 | 904782 | 7.4 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q2
PJM | MD | W3-160C | 1 | 904791 | 3.8 | 3.52 | Solar | Photo-Voltaic | Committed | 2017 Q4
PJM | MD | W3-160E | 1 | 904792 | 6.2 | 0 | Solar | Photo-Voltaic | Committed | 2017 Q4
PJM | NJ | W3-175 | 1 | 903963 | 371 | 0 | Natural Gas | Combined Cycle | Suspended | 2017 Q2
PJM | IN | W4-004 C | 1C | 247588 | 11.7 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | IN | W4-004 E | 1E | 247946 | 78.3 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | IL | W4-005 C | 1 | 905081 | 45.6 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | IL | W4-005 E | 1 | 905082 | 305.4 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | IN | W4-008 C | 1C | 247589 | 11.7 | 10.83 | Wind | Wind | Proposed | 2016 Q4
PJM | IN | W4-008 E | 1E | 247953 | 78.3 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | NJ | 28W4-009 | 1 | 206403 | 692.5 | 640.8 | Natural Gas | Combined Cycle | Committed | 2017 Q2
PJM | MD | W4-010 E | 1 | 905112 | 29.1 | 0 | Natural Gas | Combined Cycle | Committed | 2015 Q4
PJM | NJ | W4-015 C | 1 | 905131 | 136 | 125.85 | Natural Gas | Combined Cycle | Committed | 2015 Q2
PJM | NJ | W4-015 E | 1 | 905132 | 74 | 0 | Natural Gas | Combined Cycle | Committed | 2015 Q2
PJM | NJ | W4-016 | 1 | 905143 | 340 | 314.62 | Natural Gas | Combined Cycle | Proposed | 2015 Q2
PJM | NJ | W4-027 C | 1 | 905271 | 3 | 2.78 | Solar | Photo-Voltaic | Proposed | 2015 Q3
PJM | NJ | W4-027 E | 1 | 905272 | 4.9 | 0 | Solar | Photo-Voltaic | Proposed | 2015 Q3
PJM | IL | W4-033 C1 | 1 | 905253 | 2.85 | 2.64 | Solar | Photo-Voltaic | Committed | 2016 Q4
PJM | IL | W4-033 E1 | 1 | 905254 | 4.65 | 0 | Solar | Photo-Voltaic | Committed | 2016 Q4
PJM | IL | W4-033 C2 | 2 | 905261 | 0.95 | 0.88 | Solar | Photo-Voltaic | Committed | 2016 Q4
PJM | IL | W4-033 E2 | 2 | 905262 | 1.55 | 0 | Solar | Photo-Voltaic | Committed | 2016 Q4
PJM | WV | W4-037 E | 1 | 905362 | 32 | 0 | Storage | Storage | Committed | 2015 Q4
PJM | NJ | HUDSON_G2 | 1 | 217112 | 632 | 585.4 | Coal | Steam Turbine | Committed | 2018 Q3
PJM | NJ | W4-045 C | 1 | 905331 | 3.4 | 0 | Solar | Photo-Voltaic | Suspended | 2016 Q4
PJM | NJ | W4-045 E | 1 | 905332 | 5.6 | 0 | Solar | Photo-Voltaic | Suspended | 2016 Q4
PJM | NJ | W4-063 C | 1 | 905531 | 0.65 | 0 | Offshore Wind | Wind | Proposed | 2017 Q1
PJM | NJ | W4-063 E | 1 | 905532 | 4.35 | 0 | Offshore Wind | Wind | Proposed | 2017 Q1
PJM | OH | X1-027A C1 | 1 | 907061 | 16.25 | 15.04 | Wind | Wind | Committed | 2018 Q2
PJM | OH | X1-027A E1 | 1 | 907062 | 108.8 | 0 | Wind | Wind | Committed | 2018 Q2
PJM | OH | X1-027A C2 | 1 | 907064 | 16.25 | 15.04 | Wind | Wind | Committed | 2018 Q2
PJM | OH | X1-027A E2 | 1 | 907065 | 108.8 | 0 | Wind | Wind | Committed | 2018 Q2
PJM | OH | X1-027A C3 | 1 | 907066 | 16.25 | 15.04 | Wind | Wind | Committed | 2018 Q2
PJM | OH | X1-027A E3 | 1 | 907067 | 108.8 | 0 | Wind | Wind | Committed | 2018 Q2
PJM | OH | X1-027A C4 | 1 | 907068 | 16.25 | 15.04 | Wind | Wind | Committed | 2018 Q2
PJM | OH | X1-027A E4 | 1 | 907069 | 108.8 | 0 | Wind | Wind | Committed | 2018 Q2
PJM | NJ | X1-073 C OP1 | 1 | 907281 | 4.6 | 0 | Solar | Photo-Voltaic | Suspended | 2015 Q2
PJM | NJ | X1-073 E OP1 | 1 | 907282 | 7.4 | 0 | Solar | Photo-Voltaic | Suspended | 2015 Q2
PJM | DE | X1-074 | 1 | 907211 | 291 | 0 | Natural Gas | Combined Cycle | Suspended | 2018 Q2
PJM | NJ | X1-085 C | 1 | 907271 | 1.9 | 0 | Solar | Photo-Voltaic | Suspended | 2016 Q1
PJM | NJ | X1-085 E | 1 | 907272 | 3.1 | 0 | Solar | Photo-Voltaic | Suspended | 2016 Q1
PJM | IL | X1-087 | 1 | 907361 | 15.3 | 0 | Methane | Steam Turbine | Proposed | 2016 Q1
PJM | NJ | X1-094 C | 1 | 907383 | 6.4 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | NJ | X1-094 E | 1 | 907384 | 10.6 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | MD | X1-096 C | 1 | 907323 | 19.5 | 18.05 | Wind | Wind | Committed | 2016 Q4
PJM | MD | X1-096 E | 1 | 907324 | 130.5 | 0 | Wind | Wind | Committed | 2016 Q4
PJM | PA | 26X1-109 | 1 | 200949 | 765 | 707.89 | Natural Gas | Combined Cycle | Committed | 2016 Q1
PJM | PA | X1-109 E | 1 | 907462 | 85 | 0 | Natural Gas | Combined Cycle | Committed | 2016 Q1
PJM | PA | PANDA | 1 | 212340 | 765 | 707.89 | Natural Gas | Combined Cycle | Committed | 2016 Q3
PJM | PA | X2-012 E | 1 | 909022 | 85 | 0 | Natural Gas | Combined Cycle | Committed | 2016 Q3
PJM | IL | X2-022 E | 1 | 909052 | 189 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | PA | COROIPP5 | 5 | 208932 | 208 | 192.47 | Natural Gas | Combined Cycle | Committed | 2017 Q3
PJM | PA | COROIPP6 | 6 | 208930 | 208 | 192.47 | Natural Gas | Combined Cycle | Committed | 2017 Q3
PJM | NJ | X2-027 C OP1 | 1 | 909091 | 0.76 | 0 | Solar | Photo-Voltaic | Proposed | 2015 Q3
PJM | NJ | X2-027 E OP1 | 1 | 909092 | 1.24 | 0 | Solar | Photo-Voltaic | Proposed | 2015 Q3
PJM | PA | X2-031 C | 1 | 909093 | 6.5 | 0 | Wind | Wind | Committed | 2015 Q4
PJM | PA | X2-031 E | 1 | 909094 | 43.5 | 0 | Wind | Wind | Committed | 2015 Q4
PJM | IN | X2-052 | 1 | 247611 | 675 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q2
PJM | DE | X2-066 | 1 | 909191 | 309 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q2
PJM | DE | X2-067 | 1 | 909201 | 309 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q2
PJM | VA | 1BRUNSWICKG1 | G1 | 315102 | 271 | 250.77 | Natural Gas | Combined Cycle | Committed | 2016 Q3
PJM | VA | 1BRUNSWICKG2 | G2 | 315103 | 271 | 250.77 | Natural Gas | Combined Cycle | Committed | 2016 Q3
PJM | VA | 1BRUNSWICKG3 | G3 | 315104 | 271 | 250.77 | Natural Gas | Combined Cycle | Committed | 2016 Q3
PJM | VA | 1BRUNSWICKS1 | S1 | 315105 | 563 | 520.97 | Natural Gas | Combined Cycle | Committed | 2016 Q3
PJM | NJ | X3-004 | 1 | 910531 | 35 | 32.39 | Natural Gas | Combined Cycle | Committed | 2016 Q1
PJM | MD | X3-008 C | 1 | 910571 | 7.6 | 7.03 | Solar | Photo-Voltaic | Committed | 2017 Q3
PJM | MD | X3-008 E | 1 | 910572 | 12.4 | 0 | Solar | Photo-Voltaic | Committed | 2017 Q3
PJM | NJ | X3-011 C | 1 | 910581 | 1.9 | 1.76 | Solar | Photo-Voltaic | Committed | 2015 Q2
PJM | NJ | X3-011 E | 1 | 910582 | 3.1 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q2
PJM | MD | X3-015 C | 1 | 910591 | 7.41 | 0 | Solar | Photo-Voltaic | Proposed | 2015 Q4
PJM | MD | X3-015 E | 1 | 910592 | 12.09 | 0 | Solar | Photo-Voltaic | Proposed | 2015 Q4
PJM | NJ | X3-043 C | 1 | 910691 | 4.56 | 4.22 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | NJ | X3-043 E | 1 | 910692 | 7.44 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | OH | X3-051 | 1 | 247612 | 610 | 0 | Natural Gas | Combined Cycle | Proposed | 2017 Q1
PJM | NJ | X3-082 C OP1 | 1 | 910911 | 3.8 | 3.52 | Solar | Photo-Voltaic | Committed | 2015 Q2
PJM | NJ | X3-082 E OP1 | 1 | 910912 | 6.2 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q2
PJM | NJ | X3-083 C | 1 | 910921 | 3.8 | 3.52 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | NJ | X3-083 E | 1 | 910922 | 6.2 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q4
PJM | MD | X3-087 C | 1 | 910861 | 744 | 0 | Natural Gas | Combined Cycle | Proposed | 2017 Q2
PJM | MD | X3-087 E | 1 | 910863 | 170.2 | 0 | Natural Gas | Combined Cycle | Proposed | 2017 Q2
PJM | NJ | X4-005 E | 1 | 912042 | 60 | 0 | Natural Gas | Combined Cycle | Committed | 2017 Q2
PJM | MD | X4-006 E | 1 | 912052 | 60 | 0 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | NJ | X4-012 C OP1 | 1 | 912091 | 2.3 | 0 | Solar | Photo-Voltaic | Suspended | 2015 Q3
PJM | NJ | X4-012 E OP1 | 1 | 912092 | 3.7 | 0 | Solar | Photo-Voltaic | Suspended | 2015 Q3
PJM | NJ | X4-015 C | 1 | 912101 | 1.9 | 1.76 | Solar | Photo-Voltaic | Committed | 2015 Q3
PJM | NJ | X4-015 E | 1 | 912102 | 3.1 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q3
PJM | PA | COROIPP7 | 7 | 208931 | 227 | 210.05 | Natural Gas | Combined Cycle | Committed | 2017 Q3
PJM | KY | X4-025 | 1 | 247613 | 80 | 0 | Coal | Steam Turbine | Proposed | 2015 Q3
PJM | PA | PHLISCT1 | 1 | 213888 | 173.3 | 160.36 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | PA | PHLISCT2 | 1 | 213889 | 173.3 | 160.36 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | PA | PHLISCT3 | 1 | 213890 | 173.3 | 160.36 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | PA | PHLISST1 | 1 | 213893 | 240.1 | 222.18 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | NJ | X4-031 E | 1 | 912182 | 2 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q3
PJM | MD | X4-035 OP1 | 1 | 912211 | 780 | 721.77 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | VA | X4-039 | 1 | 912221 | 750 | 694.01 | Natural Gas | Combined Cycle | Committed | 2017 Q4
PJM | NJ | ALDENE_AB | 1 | 218376 | 9.9 | 9.16 | Natural Gas | Combined Cycle | Committed | 2015 Q2
PJM | NJ | X4-044 E | 1 | 218403 | 8 | 0 | Natural Gas | Combined Cycle | Committed | 2015 Q2
PJM | DC | X4-046 E | 1 | 912282 | 16.1 | 0 | Natural Gas | Combined Cycle | Committed | 2015 Q3
PJM | PA | X4-048 | 1 | 208055 | 333.33 | 308.44 | Natural Gas | Combined Cycle | Committed | 2017 Q4
PJM | PA | X4-048 | 2 | 208055 | 333.33 | 308.44 | Natural Gas | Combined Cycle | Committed | 2017 Q4
PJM | PA | X4-048 | 3 | 208055 | 333.33 | 308.44 | Natural Gas | Combined Cycle | Committed | 2017 Q4
PJM | MD | Y1-003 C OP1 | 1 | 913001 | 7.8 | 0 | Wind | Wind | Suspended | 2017 Q4
PJM | MD | Y1-003 E OP1 | 1 | 913002 | 52.2 | 0 | Wind | Wind | Suspended | 2017 Q4
PJM | VA | Y1-006 C | 1C | 247615 | 9.36 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | VA | Y1-006 E | 1E | 247963 | 62.64 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | NJ | Y1-020 | 1 | 913071 | 3.72 | 3.44 | Solar | Photo-Voltaic | Committed | 2015 Q3
PJM | PA | Y1-027 C OP1 | 1 | 913211 | 1.5 | 0 | Methane | Steam Turbine | Suspended | 2016 Q4
PJM | PA | Y1-027 E OP1 | 1 | 913212 | 2.5 | 0 | Methane | Steam Turbine | Suspended | 2016 Q4
PJM | OH | Y1-030 C OP1 | 1C | 247618 | 13 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | OH | Y1-030 E OP1 | 1E | 247964 | 87 | 0 | Wind | Wind | Proposed | 2015 Q4
PJM | PA | Y1-033 C OP1 | 1 | 913141 | 5.1 | 0 | Wind | Wind | Suspended | 2015 Q4
PJM | PA | Y1-033 E OP1 | 1 | 913142 | 34 | 0 | Wind | Wind | Suspended | 2015 Q4
PJM | WV | Y1-034 OP1 | 1 | 913151 | 6.6 | 0 | Natural Gas | Combined Cycle | Suspended | 2015 Q1
PJM | WV | 01S70BUS1 | 1 | 236841 | 21.6 | 19.99 | Water | Hydro | Committed | 2015 Q3
PJM | WV | 01S70BUS2 | 2 | 236842 | 21.6 | 19.99 | Water | Hydro | Committed | 2015 Q3
PJM | PA | Y1-047 OP1 | 1 | 913191 | 15.4 | 14.25 | Natural Gas | Combined Cycle | Committed | 2015 Q2
PJM | MD | Y1-065 C | 1 | 913271 | 805 | 744.9 | Natural Gas | Combined Cycle | Committed | 2018 Q2
PJM | MD | Y1-065 E | 1 | 913272 | 47 | 0 | Natural Gas | Combined Cycle | Committed | 2018 Q2
PJM | OH | 02_Y1-069 GE | 1 | 241902 | 799 | 739.35 | Natural Gas | Combined Cycle | Committed | 2017 Q2
PJM | PA | Y1-071 | 1 | 913311 | 6 | 0 | Natural Gas | Combined Cycle | Suspended | 2015 Q2
PJM | NJ | Y1-077 | 1 | 913341 | 73 | 67.55 | Natural Gas | Combined Cycle | Proposed | 2015 Q2
PJM | MD | Y1-079 C | 1 | 913361 | 3.8 | 0 | Solar | Photo-Voltaic | Proposed | 2016 Q2
PJM | MD | Y1-079 E | 1 | 913362 | 6.2 | 0 | Solar | Photo-Voltaic | Proposed | 2016 Q2
PJM | MD | Y1-080 C | 1 | 913411 | 1.28 | 1.18 | Solar | Photo-Voltaic | Committed | 2015 Q2
PJM | MD | Y1-080 E | 1 | 913412 | 2.1 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q2
PJM | NJ | Y1-084 C OP1 | 1 | 913381 | 0.8 | 0 | Solar | Photo-Voltaic | Suspended | 2015 Q2
PJM | NJ | Y1-084 E OP1 | 1 | 913382 | 1.2 | 0 | Solar | Photo-Voltaic | Suspended | 2015 Q2
PJM | NC | Y1-086 C | 1 | 913391 | 7.6 | 7.03 | Solar | Photo-Voltaic | Committed | 2017 Q2
PJM | NC | Y1-086 E | 1 | 913392 | 12.4 | 0 | Solar | Photo-Voltaic | Committed | 2017 Q2
PJM | PA | Y2-015 C | 1 | 914031 | 337 | 0 | Natural Gas | Combined Cycle | Proposed | 2015 Q3
PJM | PA | Y2-015 E | 1 | 914032 | 7 | 0 | Natural Gas | Combined Cycle | Proposed | 2015 Q3
PJM | NJ | 28N27_Y2-018 | S1 | 206345 | 0.7 | 0.65 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | NJ | Y2-018 E | 1 | 914044 | 1.2 | 0 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | NJ | Y2-019 | 1 | 914051 | 45 | 41.64 | Natural Gas | Combined Cycle | Committed | 2016 Q1
PJM | PA | Y2-042 | 1 | 914041 | 18.3 | 0 | Natural Gas | Combined Cycle | Committed | 2015 Q2
PJM | NJ | Y2-051 C | 1 | 914091 | 1.9 | 1.76 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | NJ | Y2-051 E | 1 | 914092 | 3.1 | 0 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | WV | 01OGROV1 | 1 | 235623 | 167 | 154.53 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | WV | 01OGROV2 | 2 | 235624 | 167 | 154.53 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | PA | Y2-055 | 1 | 914101 | 29 | 0 | Natural Gas | Combined Cycle | Proposed | 2015 Q3
PJM | PA | Y2-060 | 1 | 914151 | 3.5 | 3.24 | Natural Gas | Combined Cycle | Committed | 2015 Q2
PJM | VA | Y2-066 | 1 | 914181 | 9 | 8.33 | Methane | Steam Turbine | Committed | 2015 Q2
PJM | VA | Y2-077 | 1 | 914231 | 30 | 27.76 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | NJ | 28LKWD G1 | 1 | 206306 | 80.7 | 74.68 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | NJ | 28LKWD G2 | 2 | 206308 | 80.7 | 74.68 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | NJ | 28LKWD G3 | 3 | 206312 | 80.6 | 74.58 | Natural Gas | Combined Cycle | Committed | 2016 Q2
PJM | NJ | 28LKWD CT1 | 1 | 206366 | 258.1 | 238.83 | Natural Gas | Combined Cycle | Committed | 2015 Q2
PJM | NJ | 28LKWD CT2 | 2 | 206367 | 258.1 | 238.83 | Natural Gas | Combined Cycle | Committed | 2015 Q2
PJM | PA | Y2-080 | 1 | 914221 | 1065 | 0 | Natural Gas | Combined Cycle | Proposed | 2017 Q2
PJM | PA | Y2-088 | 1 | 914331 | 19.9 | 0 | Natural Gas | Combined Cycle | Suspended | 2015 Q2
PJM | PA | Y2-089 | 1 | 914271 | 370 | 0 | Natural Gas | Combined Cycle | Proposed | 2015 Q2
PJM | VA | 6WARRNTN | A | 314093 | 2 | 1.85 | Methane | Steam Turbine | Committed | 2016 Q2
PJM | NJ | Y2-110 | 1 | 914361 | 40 | 0 | Natural Gas | Combined Cycle | Proposed | 2016 Q1
PJM | IN | Y3-023 | 1 | 247620 | 4.8 | 4.44 | Methane | Steam Turbine | Committed | 2015 Q2
PJM | IN | Y3-024 | 1 | 247621 | 3.2 | 2.96 | Methane | Steam Turbine | Committed | 2015 Q2
PJM | NJ | Y3-026 C | 1 | 915071 | 3.8 | 3.52 | Solar | Photo-Voltaic | Committed | 2015 Q3
PJM | NJ | Y3-026 E | 1 | 915072 | 6.2 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q3
PJM | PA | Y3-041 C | 1 | 915181 | 8 | 0 | Wind | Wind | Proposed | 2017 Q4
PJM | PA | Y3-043 | 1 | 915191 | 760 | 703.26 | Natural Gas | Combined Cycle | Proposed | 2017 Q2
PJM | NJ | Y3-048 1 | 1 | 915241 | 1 | 0 | Natural Gas | Combined Cycle | Under Construction | 2015 Q1
PJM | NJ | Y3-048 2 | 1 | 915242 | 0.5 | 0 | Natural Gas | Combined Cycle | Under Construction | 2015 Q1
PJM | NJ | Y3-048 3 | 1 | 915243 | 0.5 | 0 | Natural Gas | Combined Cycle | Under Construction | 2015 Q1
PJM | NJ | Y3-048 4 | 1 | 915244 | 0.5 | 0 | Natural Gas | Combined Cycle | Under Construction | 2015 Q1
PJM | NJ | Y3-048 5 | 1 | 915245 | 0.5 | 0 | Natural Gas | Combined Cycle | Under Construction | 2015 Q1
PJM | NJ | Y3-087 C OP1 | 1 | 915591 | 1.4 | 1.3 | Solar | Photo-Voltaic | Committed | 2015 Q2
PJM | NJ | Y3-087 E OP1 | 1 | 915592 | 2.4 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q2
PJM | IL | Y3-088 | 1 | 915601 | 20 | 0 | Natural Gas | Combined Cycle | Proposed | 2015 Q1
PJM | IL | Y3-089 | 1 | 915611 | 20 | 0 | Natural Gas | Combined Cycle | Proposed | 2015 Q1
PJM | IL | Y3-090 | 1 | 915621 | 20 | 0 | Natural Gas | Combined Cycle | Proposed | 2015 Q2
PJM | IL | Y3-091 | 1 | 915631 | 20 | 0 | Natural Gas | Combined Cycle | Proposed | 2015 Q1
PJM | OH | Y3-099 E | 1 | 915662 | 2 | 0 | Storage | Storage | Committed | 2015 Q2
PJM | OH | Y3-100 E | 1 | 915672 | 2 | 0 | Storage | Storage | Committed | 2015 Q4
PJM | MD | Y3-102 | 1 | 915681 | 135 | 124.92 | Natural Gas | Combined Cycle | Committed | 2018 Q2
PJM | PA | Y3-103 C | 1 | 915691 | 97 | 0 | Natural Gas | Combined Cycle | Proposed | 2018 Q2
PJM | PA | Y3-103 E | 1 | 915692 | 108 | 0 | Natural Gas | Combined Cycle | Proposed | 2018 Q2
PJM | PA | Y3-104 E | 1 | 915702 | 20 | 0 | Storage | Storage | Proposed | 2015 Q1
PJM | PA | Y3-109 | 1 | 915731 | 19.9 | 0 | Natural Gas | Combined Cycle | Committed | 2016 Q4
PJM | PA | Z1-015 | 1 | 916001 | 26 | 0 | Natural Gas | Combined Cycle | Proposed | 2015 Q2
PJM | OH | Z1-035 C | 1 | 916031 | 2.34 | 0 | Wind | Wind | Proposed | 2017 Q3
PJM | OH | Z1-035 E | 1 | 916032 | 15.66 | 0 | Wind | Wind | Proposed | 2017 Q3
PJM | NC | Z1-036 C | 1 | 916041 | 39 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | NC | Z1-036 E | 1 | 916042 | 261.3 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | PA | Z1-038 | 1 | 916051 | 19.9 | 18.42 | Natural Gas | Combined Cycle | Proposed | 2015 Q1
PJM | MD | Z1-052 C | 1 | 916101 | 44.5 | 0 | Natural Gas | Combined Cycle | Proposed | 2017 Q1
PJM | MD | Z1-052 E | 1 | 916102 | 20 | 0 | Natural Gas | Combined Cycle | Proposed | 2017 Q1
PJM | MD | ROCKSP 1 | 1 | 200052 | 163.5 | 151.29 | Natural Gas | Combined Cycle | Committed | 2017 Q2
PJM | MD | ROCKSP 2 | 1 | 200053 | 163.5 | 151.29 | Natural Gas | Combined Cycle | Committed | 2017 Q2
PJM | OH | Z1-065 E | 1 | 916182 | 6 | 0 | Storage | Storage | Committed | 2015 Q4
PJM | PA | Z1-069 C | 1 | 916201 | 14.7 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | PA | Z1-069 E | 1 | 916202 | 55.3 | 0 | Wind | Wind | Proposed | 2016 Q4
PJM | OH | Z1-079 | 1 | 916261 | 513 | 0 | Natural Gas | Combined Cycle | Proposed | 2018 Q2
PJM | OH | Z1-080 E | 1 | 916272 | 6 | 0 | Storage | Storage | Committed | 2015 Q4
PJM | VA | Z1-086 C | 1 | 916301 | 1630 | 0 | Natural Gas | Combined Cycle | Under Construction | 2018 Q4
PJM | VA | Z1-086 E | 1 | 916302 | 51 | 0 | Natural Gas | Combined Cycle | Under Construction | 2018 Q4
PJM | PA | Z1-087 | 1 | 916311 | 40 | 0 | Water | Hydro | Under Construction | 2015 Q4
PJM | PA | COROIPP8 | 8 | 208933 | 381 | 0 | Natural Gas | Combined Cycle | Proposed | 2017 Q1
PJM | PA | Z1-091 | 1 | 916351 | 19.9 | 18.42 | Natural Gas | Combined Cycle | Proposed | 2015 Q3
PJM | PA | Z1-092 | 1 | 916361 | 19.9 | 18.42 | Natural Gas | Combined Cycle | Proposed | 2015 Q3
PJM | OH | Z1-097 | 1 | 916411 | 30 | 0 | Natural Gas | Combined Cycle | Proposed | 2017 Q2
PJM | PA | Z1-098 E | 1 | 916422 | 20 | 0 | Storage | Storage | Suspended | 2015 Q1
PJM | VA | Z1-100 | 1 | 916441 | 4.16 | 3.85 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | VA | Z1-101 | 1 | 916451 | 4.16 | 3.85 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | VA | Z1-102 | 1 | 916461 | 4.16 | 3.85 | Solar | Photo-Voltaic | Committed | 2016 Q2
PJM | PA | Z1-105 | 1 | 916491 | 14 | 0 | Natural Gas | Combined Cycle | Proposed | 2015 Q3
PJM | IL | Z1-106 E1 | 1 | 916502 | 10 | 0 | Storage | Storage | Committed | 2015 Q4
PJM | IL | Z1-106 E2 | 1 | 916504 | 10 | 0 | Storage | Storage | Committed | 2015 Q4
PJM | IL | Z1-107 E | 1 | 916512 | 20 | 0 | Storage | Storage | Committed | 2015 Q4
PJM | IL | Z1-108 E | 1 | 916522 | 20 | 0 | Storage | Storage | Committed | 2015 Q4
PJM | PA | Z1-110 | 1 | 916541 | 19.9 | 18.42 | Natural Gas | Combined Cycle | Proposed | 2015 Q3
PJM | NJ | Z2-001 C | 1 | 917001 | 2.7 | 2.5 | Solar | Photo-Voltaic | Committed | 2015 Q3
PJM | NJ | Z2-001 E | 1 | 917002 | 4.4 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q3
PJM | NC | Z2-027 C | 1 | 917121 | 14 | 12.95 | Solar | Photo-Voltaic | Committed | 2015 Q1
PJM | NC | Z2-027 E | 1 | 917122 | 6 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q1
PJM | VA | Z2-030 C | 1 | 917161 | 7.6 | 7.03 | Solar | Photo-Voltaic | Committed | 2015 Q1
PJM | VA | Z2-030 E | 1 | 917162 | 12.4 | 0 | Solar | Photo-Voltaic | Committed | 2015 Q1
PJM | NC | Z2-043 C | 1 | 917331 | 14 | 0 | Solar | Photo-Voltaic | Under Construction | 2015 Q4
PJM | NC | Z2-043 E | 1 | 917332 | 6 | 0 | Solar | Photo-Voltaic | Under Construction | 2015 Q4
PJM | NC | Z2-044 C | 1 | 917341 | 8.4 | 0 | Solar | Photo-Voltaic | Under Construction | 2015 Q4
PJM | NC | Z2-044 E | 1 | 917342 | 3.6 | 0 | Solar | Photo-Voltaic | Under Construction | 2015 Q4
PJM | NJ | Z2-062 | 1 | 917381 | 3 | 2.78 | Methane | Steam Turbine | Committed | 2015 Q2
PJM | NC | Z2-088 C OP1 | 1 | 917511 | 30.4 | 0 | Solar | Photo-Voltaic | Under Construction | 2015 Q4
PJM | NC | Z2-088 E OP1 | 1 | 917512 | 49.6 | 0 | Solar | Photo-Voltaic | Under Construction | 2015 Q4
PJM | PA | Z2-106 | 1 | 917651 | 19.9 | 18.42 | Natural Gas | Combined Cycle | Committed | 2016 Q3
SCE&G | SC | VC Summer 2 | 2 | 370835 | 1165 | 1165 | Nuclear | Steam Turbine | Committed | 2019-08-01
SCE&G | SC | VC Summer 3 | 3 | 370836 | 1165 | 1165 | Nuclear | Steam Turbine | Committed | 2020-08-01
SBA | GA | 1VOGTLE3 26.000 | 3 | 383753 | 1100 | 1100 | Nuclear | Steam Turbine | Under Construction | 2019
SBA | GA | 1VOGTLE4 26.000 | 4 | 383754 | 1100 | 1100 | Nuclear | Steam Turbine | Under Construction | 2020
SBA | GA | YATES 8ST 21.000 | 1 | 383807 | 380 | 380 | Natural Gas | Combined Cycle | Proposed | 2023
SBA | GA | YATES 8A 21.000 | 1 | 383808 | 280 | 280 | Natural Gas | Combined Cycle | Proposed | 2023
SBA | GA | YATES 8B 21.000 | 1 | 383809 | 280 | 280 | Natural Gas | Combined Cycle | Proposed | 2023
SBA | FL | CRIST CT1 18.000 | 1 | 385501 | 150 | 150 | Natural Gas | Combustion Turbine | Proposed | 2024
SBA | FL | CRIST CT2 18.000 | 2 | 385502 | 150 | 150 | Natural Gas | Combustion Turbine | Proposed | 2024
SBA | FL | BRANCH 5ST 21.000 | 5 | 383931 | 380 | 380 | Natural Gas | Combined Cycle | Proposed | 2024
SBA | FL | BRANCH 5A 21.000 | 5A | 383932 | 280 | 280 | Natural Gas | Combined Cycle | Proposed | 2024
SBA | FL | BRANCH 5B 21.000 | 5B | 383933 | 280 | 280 | Natural Gas | Combined Cycle | Proposed | 2024
SBA | GA | 1VALPAR SLR 34.500 | S1 | 386610 | 30 | 30 | Solar | Photo-Voltaic | Committed | 2017
SBA | GA | 1KINGSBY SLR34.500 | S1 | 383414 | 30 | 30 | Solar | Photo-Voltaic | Committed | 2017
SBA | GA | 1EASTBAY SLR34.500 | S1 | 386620 | 40 | 40 | Solar | Photo-Voltaic | Committed | 2017
SBA | GA | 1BELLVW SLR 34.500 | S1 | 386630 | 50 | 50 | Solar | Photo-Voltaic | Committed | 2017
SBA | GA | 1JOHNSON SLR34.500 | S1 | 383403 | 51 | 51 | Solar | Photo-Voltaic | Committed | 2017
SBA | GA | 1MOBLEY SLR 34.500 | S1 | 383404 | 77 | 77 | Solar | Photo-Voltaic | Committed | 2017
SBA | GA | 1ROGERS SLR 34.500 | S1 | 383405 | 102 | 102 | Solar | Photo-Voltaic | Committed | 2017
SPP | OK | GOODWELL_1 1 | 1 | 523170 | 98 | 98 | Wind | Wind | Proposed | 2017
SPP | OK | GOODWELL_2 1 | 1 | 523171 | 102 | 102 | Wind | Wind | Proposed | 2017
SPP | TX | PX_GEN 1 | 1 | 525501 | 300 | 300 | Wind | Wind | Proposed | 2017
SPP | KS | SMKYP1G1 | 1 | 530594 | 100.8 | 100.8 | Wind | Wind | Proposed | 2015
SPP | KS | SMKYP2G1 | 2 | 530600 | 148.5 | 148.5 | Wind | Wind | Proposed | 2016
SPP | KS | HOLCOMB7 | 2 | 531449 | 200 | 200 | Wind | Wind | Proposed | 2017
SPP | KS | WDCTWF-7 | 1 | 531610 | 200.1 | 200.1 | Wind | Wind | Proposed | 2016
SPP | KS | MARSHGEN1 | 1 | 532904 | 74 | 74 | Wind | Wind | Proposed | 2017
SPP | MO | MILLCKW1 | 1 | 541404 | 200 | 200 | Wind | Wind | Proposed | 2017
SPP | NE | CASS 3X | 3 | 645043 | 161.3 | 161.3 | Gas | Combustion Turbine | Proposed | 2016
TVA | AL | Widow Creek | F7 | 364187 | 506 | 0 | Fossil | Coal | Retired | 2015-10-15 | Widows Creek Fossil 7 (506 MW); retire
TVA | TN | Watts Bar | N2 | 364022 | 1204 | 1204 | Nuclear | Nuclear | Planned | 2015-11-15 | Watts Bar Nuclear 2 (1204 MW); new construction
TVA | AL | Colbert | F1-4 | 364111 | 760 | 0 | Fossil | Coal | Retired | 2016-03-16 | Colbert Fossil 1-4 (190 MW each); retire
TVA | TN | Gleason | T1-3 | 364231 | 160 | 520 | Gas | Combined Cycle | Planned | 2016-04-16 | Gleason CT site; uprate plant by total of 160 MW
TVA | TN | Johnsonville | F1-4 | 364141 | 468 | 0 | Fossil | Coal | Retired | 2016-06-16 | Johnsonville Fossil 1-4 (117 MW each); retire
TVA | KY | Paradise | F1-2 | 364160 | 1340 | 0 | Fossil | Coal | Retired | 2017-05-17 | Paradise Fossil 1-2 (683 MW & 657 MW); retire
TVA | KY | Paradise CC | CC1-4 | 364304 | 1015 | 1015 | Gas | Combined Cycle | Planned | 2017-06-17 | Paradise CC plant (1015 MW); new construction
TVA | AL | Browns Ferry | N1 | 364001 | 134 | 1271 | Nuclear | Nuclear | Planned | 2018-05-18 | Browns Ferry Nuclear 3; uprate by 134 MW
TVA | AL | Browns Ferry | N2 | 364002 | 134 | 1275 | Nuclear | Nuclear | Planned | 2018-10-18 | Browns Ferry Nuclear 1; uprate by 134 MW
TVA | AL | Browns Ferry | N3 | 364003 | 134 | 1277 | Nuclear | Nuclear | Planned | 2019-03-19 | Browns Ferry Nuclear 2; uprate by 134 MW
Note on J3: Status: Existing, Under Construction, Committed, Proposed