## Slide 1: Transfer Limit Hardening (TLH) Methodology
Need to translate the NEEM soft constraint results to fixed transfer limits for futures 2, 3, 5, 6, 7 and 8
For each future, SSC will have to decide whether to use Baseline Infrastructure transfer limits or transfer limits based on the soft constraint sensitivity results
If the SSC chooses the latter, the approved transfer limit hardening methodology will be applied to the preferred soft constraint sensitivity flows to develop new fixed transfer limits

## Slide 2: TLH Methodology Options
Three proposed methodologies
  Ruthven/Hadley/Chattopadhyay (RHC) Proposal
    Focused on pipe capacity factors and shadow prices
  NGO Proposal
    Focused on Flow Duration Curve and fraction of time the pipe is full
  Johnson Proposal
    Focused on total energy flow and base line utilization
All methodologies based on 2020-35 data

## Slide 3
NWPP
RMPA
MAPP US
MAPP CA
NE
SPP N
SPP S
AZ NM SNV
ERCOT
MISO W
MISO MO IL
MISO WUMS
MISO MI
MISO IN
OH
PJM
Rest of RTO
TVA
VACA
NEISO
NYISO
A-F
NYISO
GHI
NYISO
J & K
PJM
Eastern
MAAC
PJM
Rest of MAAC
SOCO
FRCC
ENTERGY
Non RTO Midwest
HQ
Maritimes
10
14
6
13
11
8
12
9
4
2
1
5
3
5
BAUF1S2
Notes: 3

## Slide 4
NWPP
RMPA
MAPP US
MAPP CA
NE
SPP N
SPP S
AZ NM SNV
ERCOT
MISO W
MISO MO IL
MISO WUMS
MISO MI
MISO IN
OH
PJM
Rest of RTO
TVA
VACA
NEISO
NYISO
A-F
NYISO
GHI
NYISO
J & K
PJM
Eastern
MAAC
PJM
Rest of MAAC
SOCO
FRCC
ENTERGY
Non RTO Midwest
HQ
Maritimes
10
14
6
13
11
8
12
9
4
2
1
5
3
7
15
16
17
18
19
20
LowCO2F2S1
Notes: 4

## Slide 5
NWPP
RMPA
MAPP US
MAPP CA
NE
SPP N
SPP S
AZ NM SNV
ERCOT
MISO W
MISO MO IL
MISO WUMS
MISO MI
MISO IN
OH
PJM
Rest of RTO
TVA
VACA
NEISO
NYISO
A-F
NYISO
GHI
NYISO
J & K
PJM
Eastern
MAAC
PJM
Rest of MAAC
SOCO
FRCC
ENTERGY
Non RTO Midwest
HQ
Maritimes
10
14
6
13
11
8
12
9
4
2
1
5
3
7
15
16
17
18
19
20
LowCO2F2S2
Notes: 5

## Slide 6: OL75 Top 20 Default (RHC Old)

## Slide 7: OL25 Top 20 Default (RHC Old)

## Slide 8: Shadow Prices

## Slide 9: RHC Old Curve
Chart: RHC Old Curve - Desired Capacity Factor based on Shadow Price
| 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | 9 | 9.5 | 10 | 10.5 | 11 | 11.5 | 12 | 12.5 | 13 | 13.5 | 14 | 14.5 | 15 | 15.5 | 16 | 16.5 | 17 | 17.5 | 18
Total Flow target capacity factor | 1 | 1 | 0.66667 | 0.5 | 0.4 | 0.33333 | 0.28571 | 0.25 | 0.22222 | 0.2 | 0.18182 | 0.16667 | 0.15385 | 0.14286 | 0.13333 | 0.125 | 0.11765 | 0.11111 | 0.10526 | 0.1 | 0.095238 | 0.090909 | 0.086957 | 0.083333 | 0.08 | 0.076923 | 0.074074 | 0.071429 | 0.068966 | 0.066667 | 0.064516 | 0.0625 | 0.060606 | 0.058824 | 0.057143 | 0.055556
Overload Flow Target Capacity Factor | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.28571 | 0.25 | 0.22222 | 0.2 | 0.18182 | 0.16667 | 0.15385 | 0.14286 | 0.13333 | 0.125 | 0.11765 | 0.11111 | 0.10526 | 0.1 | 0.095238 | 0.090909 | 0.086957 | 0.083333 | 0.08 | 0.076923 | 0.074074 | 0.071429 | 0.068966 | 0.066667 | 0.064516 | 0.0625 | 0.060606 | 0.058824 | 0.057143 | 0.055556

## Slide 10: RHC New Curve
Chart: RHC New - Desired Capacity Factor based on Shadow Price

## Slide 11: RHC New Revisions
Max/Min Desired Capacity Factors Installed
  85% - 40% for total flow
  35% - 15% for overload flow
  Prevents extremely low desired capacity factors seen with old RCH
Linear Curve based on relative shadow price
  CF=(x-Shadow Price)/x; x=75% of the max future base case shadow price
  Curve will self-adjust for each future relative to shadow prices

## Slide 12: Future 2 Top 10

## Slide 13: OL75 Top 20 Default (RHC New)

## Slide 14: OL25 Top 20 Default (RHC New)

## Slide 15: TLH Transfer Limit Decision Item 1
Option 1:
  Average value (using revised RHC)
Option 2:
  Average value (using RHC old)
Option 3?:
  Averages using relaxed constraints

## Slide 16: Option 1: Average (Using RHC New)
OL75 | Average
SPP_N_2_ENT | 13,843
MISO_W_2_PJM_ROR | 12,420
NE_2_MISO_W | 2,489
SPP_N_2_MISO_MO-IL | 2,019
SPP_S_2_ENT | 1,992
ENT_2_SOCO | 1,952
NYISO_A-F_2_NYISO_G-I | 1,435
MISO_IN_2_MISO_MI | 887
IESO_2_MISO_MI | 751
MISO_WUMS_2_MISO_MI | 688
SPP_N_2_MISO_W | 337
NEISO_2_NYISO_J-K | 315
MISO_IN_2_PJM_ROR | 261
SPP_N_2_SPP_S | 249
NE_2_SPP_N | 161
MISO_W_2_MISO_MO-IL | 123
NYISO_J-K_2_PJM_E | 74
IESO_2_MISO_W | 67
MISO_W_2_MISO_WUMS | 38
MAPP_US_2_MISO_W | 11
OL25 | Average
MISO_W_2_PJM_ROR | 31,421
SPP_N_2_ENT | 16,272
MISO_WUMS_2_MISO_MI | 15,407
MISO_MI_2_MISO_IN | 8,385
SPP_N_2_MISO_MO-IL | 7,084
MISO_W_2_MISO_WUMS | 5,699
NE_2_MISO_W | 5,612
SPP_S_2_ENT | 5,132
MISO_W_2_MISO_MO-IL | 4,964
ENT_2_SOCO | 4,505
MISO_MO-IL_2_MISO_IN | 4,123
NE_2_SPP_N | 3,355
IESO_2_MISO_MI | 2,904
NYISO_A-F_2_NYISO_G-I | 2,271
PJM_ROR_2_PJM_ROM | 1,789
SPP_N_2_SPP_S | 1,094
NEISO_2_NYISO_J-K | 825
PJM_ROR_2_VACAR | 460
IESO_2_NYISO_A-F | 358
NYISO_G-I_2_NYISO_J-K | 77

## Slide 17: Option 1: Average
Large Expansion from Wind-rich West to East (MISO_W to PJM_ROR and SPP to ENT 10,000 MW+ increases)
Balanced use of the methodologies developed by the subteam

## Slide 18: Option 2: Average (Using RHC Old)
OL25 | Average
MISO_W_2_PJM_ROR | 36,045
MISO_WUMS_2_MISO_MI | 18,645
SPP_N_2_ENT | 16,272
MISO_W_2_MISO_MO-IL | 10,484
NE_2_MISO_W | 9,107
MISO_W_2_MISO_WUMS | 8,798
SPP_N_2_MISO_MO-IL | 8,553
MISO_MI_2_MISO_IN | 8,385
SPP_S_2_ENT | 5,976
ENT_2_SOCO | 5,695
MISO_MO-IL_2_MISO_IN | 4,565
NE_2_SPP_N | 4,475
IESO_2_MISO_MI | 3,174
NYISO_A-F_2_NYISO_G-I | 2,697
NEISO_2_NYISO_J-K | 2,343
PJM_ROR_2_PJM_ROM | 2,234
SPP_N_2_SPP_S | 1,170
NYISO_A-F_2_PJM_ROM | 943
MAPP_CA_2_MISO_W | 834
IESO_2_MISO_W | 526
OL75 | Average
MISO_W_2_PJM_ROR | 17,211
SPP_N_2_ENT | 14,273
SPP_N_2_MISO_MO-IL | 3,902
SPP_N_2_MISO_W | 3,844
ENT_2_SOCO | 3,343
NE_2_MISO_W | 3,307
SPP_S_2_ENT | 2,572
NYISO_A-F_2_NYISO_G-I | 1,962
NEISO_2_NYISO_J-K | 1,940
MISO_W_2_MISO_MO-IL | 1,398
IESO_2_MISO_MI | 1,226
MISO_IN_2_MISO_MI | 1,119
NYISO_A-F_2_PJM_ROM | 879
MISO_W_2_MISO_WUMS | 804
IESO_2_MISO_W | 781
MISO_WUMS_2_MISO_MI | 757
MAPP_CA_2_MISO_W | 738
MISO_IN_2_PJM_ROR | 465
MISO_WUMS_2_PJM_ROR | 276
SPP_N_2_SPP_S | 255

## Slide 19: Option 2: RHC Old
Larger inter-regional transfer increases create a more meaningful difference between national and regional futures
Matches up with idea of exporting high capacity factor wind from west to east

## Slide 20: Option 3? Relaxed Constraints
OL75 | Average
MISO_W_2_PJM_ROR | 16,276
SPP_N_2_ENT | 15,330
SPP_N_2_MISO_MO-IL | 4,237
ENT_2_SOCO | 3,607
NE_2_MISO_W | 3,404
SPP_S_2_ENT | 3,060
NYISO_A-F_2_NYISO_G-I | 2,179
MISO_W_2_MISO_MO-IL | 1,920
MISO_IN_2_MISO_MI | 1,733
SPP_N_2_SPP_S | 1,596
IESO_2_MISO_MI | 1,407
MISO_IN_2_PJM_ROR | 1,393
MISO_WUMS_2_MISO_MI | 1,162
NEISO_2_NYISO_J-K | 967
NYISO_G-I_2_NYISO_J-K | 825
ENT_2_TVA_Transmission | 780
SPP_N_2_MISO_W | 638
PJM_ROR_2_PJM_ROM | 621
IESO_2_MISO_W | 284
NE_2_SPP_N | 275
OL25 | Average
MISO_W_2_PJM_ROR | 34,830
MISO_WUMS_2_MISO_MI | 18,935
SPP_N_2_ENT | 18,010
MISO_MI_2_MISO_IN | 9,991
MISO_W_2_MISO_MO-IL | 9,438
SPP_N_2_MISO_MO-IL | 9,262
MISO_W_2_MISO_WUMS | 8,778
MISO_MO-IL_2_MISO_IN | 8,350
NE_2_MISO_W | 7,106
SPP_S_2_ENT | 5,955
ENT_2_SOCO | 5,659
NE_2_SPP_N | 4,366
IESO_2_MISO_MI | 4,282
PJM_ROR_2_PJM_ROM | 3,586
NYISO_A-F_2_NYISO_G-I | 3,168
SPP_N_2_SPP_S | 2,315
PJM_ROR_2_VACAR | 1,963
NEISO_2_NYISO_J-K | 1,360
NYISO_G-I_2_NYISO_J-K | 1,050
IESO_2_NYISO_A-F | 1,024
Notes: All methodology parameters decreased by 10% points – based on new RHC

## Slide 21: OL75 Options

## Slide 22: OL25 Options

## Slide 23: Anomalies Option A
Make no adjustments for anomalies
“Reality” check on large transfer limit expansions will be applied when SSC decides on Phase II build-outs
More time available for reasoned analysis of possible anomalies

## Slide 24: Anomalies Option B
Values adjusted to spread inter-regional transfers across NEEM regions
  Model mechanically moves generation to lowest cost region as transmission barriers decrease
  In reality, generation will be more evenly spread out taking advantage of low cost resources in each region
Total inter-regional transfer level not adjusted
  i.e. MISO-PJM value; SPP-ENT value
Intra-regional transfers adjusted down from anomalous levels if necessary
  E.g. intra-MISO transfers greater than 5000 MW
  Massive changes between OL75 and OL25 within regions with $0 hurdle rates likely a result of small changes in generation cost multipliers or capacity factors

## Slide 25: OL75 Anomaly Adjustment
Miso-PJM Op 3 Total: 17668 MW
  Almost all from MISO_W
  Split evenly among MISO_W, MISO_WUMS, MISO_MO-IL, MISO_IN, MISO_MI to PJM_ROR (3500 MW)
SPP-ENT Op 3 Total: 18390
  Mostly from SPP_N
  Split evenly among SPP_N, SPP_S to ENT (9000 MW)
No other adjustments

## Slide 26: OL25 Anomaly Adjustment
Miso-PJM Op 3 Total: 34803 MW
  All from MISO_W
  Split evenly among MISO_W, MISO_WUMS, MISO_MO-IL, MISO_IN, MISO_MI to PJM_ROR (7000 MW)
SPP-ENT Op 3 Total: 23965
  Mostly from SPP_N
  Split evenly among SPP_N, SPP_S to ENT (12000 MW)
Reduce inter-MISO transfers by 50%
  Mostly feeding MISO_IN which must have marginally higher generation costs

## Slide 27: TLH Transfer Limit Decision Item 2
Option 1: OL75
Option 2: OL25

## Slide 28: Production Cost Savings
Relative to base run, increased transfer limits may reduce production costs for eastern interconnection.
Production cost savings can be used to evaluate some economic benefits from transfer limit expansions.
A comparison of production cost savings, expressed in present value, from the OL75 and OL25 runs may help inform the transfer limit decision.

## Slide 29: Comparison of Production Cost Savings
 | Present Value of Savings (relative to the base run, in Billions) | Option 1 (avg. w/ new RHC & default parameters) | Option 2 (avg. w/ old RHC & default parameters) | Option 3 (avg. w/ new RHC & relaxed parameters)
OL 75 | $67.7 |  |  | 
OL 25 | $101.9 |  |  | 
Difference (OL25 – OL75) | $34.2 |  |  | 

## Slide 30: Option 1: OL75
More likely to be “cost-effective” transmission expansion
OL75 and OL25 produce similar level of aggregate generation build
  OL25 builds 3 GW more wind
  OL25 shifts generation to lowest cost regions – particularly within MISO – and shifts some wind generation from PJM to MISO
OL25 flows overly concentrate generation in a single region (MISO_W) producing unrealistic results

## Slide 31: Option 2: OL25
OL25 significantly increases transmission build to a level more appropriate for a nationally-focused future
  Without the greater increase in inter-super-region transfer limits produced by OL25, national and regional futures are unlikely to produce meaningful differences that we can learn from