## Appendix C New Generation
New or Upgraded Generation Resources in EIPC 2028 Roll-Up Cases
PA | State/ Province | Unit Name | Unit ID | PSSE Bus # | Installed Capacity (MW) | Dispatched Amount (MW) | Fuel Type | Generation Technology | Status | In-Service Date | Notes
ISO-NE | MA | BROCKTON_GT | C1 | 115497 | 205 | 205 | Natural Gas | Combined Cycle | Planned | 2019-05-31
Duke Carolinas | NC | 1LINCLN17 22.000 | 17 | 308692 | 525 | 0 | Gas | CT | Under Construction | 2024 | Planned
Duke Carolinas | SC | 1BADCRK12 19.000 | 1 | 306207 | 396 | 396 | Water | Pump-storage | Committed | 2020 | Planned upgrade
Duke Carolinas | SC | 1BADCRK12 19.000 | 2 | 306207 | 396 | 396 | Water | Pump-storage | Committed | 2021 | Planned upgrade
Duke Carolinas | SC | 1BADCRK34 19.000 | 3 | 306208 | 396 | 396 | Water | Pump-storage | Committed | 2022 | Planned upgrade
Duke Carolinas | SC | 1BADCRK34 19.000 | 4 | 306208 | 396 | 396 | Water | Pump-storage | Committed | 2023 | Planned upgrade
DEP | NC | 1ASHVCC1CT5 18.000 | 5 | 304875 | 180 | 180 | Natural Gas | Combined Cycle | Under Construction | 2019
DEP | NC | 1ASHVCC1ST6 13.800 | 6 | 304876 | 100 | 100 | Natural Gas | Combined Cycle | Under Construction | 2019
DEP | NC | 1ASHVCC2CT7 18.000 | 7 | 304877 | 180 | 180 | Natural Gas | Combined Cycle | Under Construction | 2019
DEP | NC | 1ASHVCC2ST8 13.800 | 8 | 304878 | 100 | 100 | Natural Gas | Combined Cycle | Under Construction | 2019
JEA | FL | North #3 | 1 | 404542 | 523 | 0 | Natural Gas | Steam Turbine | Retired | 2019
LGEE | KY | 1BROWN 1 13.800 | 1 | 324000 | 115 | 0 | Fossil | Coal | Retired | 2019-02-28 | Brown 1 (115 MW); retire
LGEE | KY | 1BROWN 2 18.000 | 2 | 324001 | 180 | 0 | Fossil | Coal | Retired | 2019-02-28 | Brown 2 (180 MW); retire
NYISO | NY | CPV Valley Energy Center | 1 | 148996 | 179.5 | 163.994 | Gas | Combined Cycle | In-Service | 2019-02-18 | Projects included as new additions in this years’s Load & Capacity Schedule
NYISO | NY | CPV Valley Energy Center | 1 | 148997 | 179.5 | 163.994 | Gas | Combined Cycle | In-Service | 2019-02-18 | Projects included as new additions in this years’s Load & Capacity Schedule
NYISO | NY | CPV Valley Energy Center | 1 | 148998 | 297 | 276.906 | Gas | Combined Cycle | In-Service | 2019-02-18 | Projects included as new additions in this years’s Load & Capacity Schedule
NYISO | NY | Copenhagen Wind | L1 | 136991 | 1.69 | 0 | Renewable | Wind Turbines | In-Service | 2019-11-18 | Projects included as new additions in this years’s Load & Capacity Schedule
NYISO | NY | Copenhagen Wind | L2 | 136991 | 1.69 | 0 | Renewable | Wind Turbines | In-Service | 2019-11-18 | Projects included as new additions in this years’s Load & Capacity Schedule
NYISO | NY | Taylor Biomass | CT | 126152 | 10.7 | 10.7 | Biomass | Solid Waste | Planned | 2019-04-21 | Projects included as new additions in this years’s Load & Capacity Schedule
NYISO | NY | Taylor Biomass | ST | 126152 | 8.3 | 8.3 | Biomass | Solid Waste | Planned | 2019-04-21 | Projects included as new additions in this years’s Load & Capacity Schedule
NYISO | NY | Cricket Valley Energy Center II | 1 | 128288 | 226.2 | 226.2 | Gas | Combined Cycle | Planned | 2019-01-20 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Cricket Valley Energy Center II | 1 | 128289 | 139 | 139 | Gas | Combined Cycle | Planned | 2019-01-20 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Cricket Valley Energy Center II | 1 | 128290 | 226.2 | 226.2 | Gas | Combined Cycle | Planned | 2019-01-20 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Cricket Valley Energy Center II | 1 | 128291 | 139 | 139 | Gas | Combined Cycle | Planned | 2019-01-20 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Cricket Valley Energy Center II | 1 | 128292 | 226.2 | 226.2 | Gas | Combined Cycle | Planned | 2019-01-20 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Cricket Valley Energy Center II | 1 | 128293 | 139 | 139 | Gas | Combined Cycle | Planned | 2019-01-20 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Ogdensburg | 1 | 146284 | 26.9 | 23 | Gas | Combined Cycle | Planned | 2019-05-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Ogdensburg | 2 | 146284 | 26.5 | 21 | Gas | Combined Cycle | Planned | 2019-05-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Ogdensburg | 1 | 146299 | 48.8 | 37.6 | Gas | Combined Cycle | Planned | 2019-05-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Shoreham Solar | S1 | 130671 | 25 | 0 | Renewable | Solar | Planned | 2019-06-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Arkwright Summit | 1 | 146708 | 4.4 | 0.4 | Renewable | Wind Turbines | Planned | 2019-10-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Arkwright Summit | 1 | 146711 | 19.8 | 2 | Renewable | Wind Turbines | Planned | 2019-10-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Arkwright Summit | 1 | 146712 | 15.4 | 1.5 | Renewable | Wind Turbines | Planned | 2019-10-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Arkwright Summit | 1 | 146713 | 6.6 | 0.7 | Renewable | Wind Turbines | Planned | 2019-10-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Arkwright Summit | 1 | 146714 | 24.2 | 2.4 | Renewable | Wind Turbines | Planned | 2019-10-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Arkwright Summit | 1 | 146715 | 6 | 0.6 | Renewable | Wind Turbines | Planned | 2019-10-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Arkwright Summit | 1 | 146285 | 2 | 0.2 | Renewable | Wind Turbines | Planned | 2019-10-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Eight Point Wind Enery Center | W | 134916 | 51.5 | 5.1 | Renewable | Wind Turbines | Planned | 2019-12-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Eight Point Wind Enery Center | W | 134917 | 41.2 | 4.1 | Renewable | Wind Turbines | Planned | 2019-12-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Eight Point Wind Enery Center | W | 134918 | 8.6 | 0.9 | Renewable | Wind Turbines | Planned | 2019-12-18 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Cassadaga Wind | W | 146241 | 33.8 | 3.4 | Renewable | Wind Turbines | Planned | 2019-12-19 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Cassadaga Wind | W | 146242 | 33.8 | 3.4 | Renewable | Wind Turbines | Planned | 2019-12-19 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Cassadaga Wind | W | 146243 | 30.8 | 3.1 | Renewable | Wind Turbines | Planned | 2019-12-19 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
NYISO | NY | Cassadaga Wind | W | 146244 | 30.8 | 3.1 | Renewable | Wind Turbines | Planned | 2019-12-19 | Projects included as proposed resource changes in this years’s Load & Capacity Schedule
PJM | PA | 02AA1-044 C | 1 | 241913 | 1000 | 1000 | Natural Gas | Combined Cycle | Under Construction | 2019-12-16
PJM | OH | 02Z2-028_1A | 1A | 240070 | 266 | 266 | Natural Gas | Combined Cycle | Committed | 2018-08-15
PJM | OH | 02Z2-028_1B | 1B | 240071 | 266 | 266 | Natural Gas | Combined Cycle | Committed | 2018-08-15
PJM | OH | 02Z2-028_1S | 1S | 240072 | 290 | 290 | Natural Gas | Combined Cycle | Committed | 2018-08-15
PJM | OH | 05CARROLCNTY | 1 | 247798 | 742 | 742 | Natural Gas | Combined Cycle | Committed | 2017-09-25
PJM | OH | 05HOG CREEK | 1C | 244757 | 50 | 6.5 | Wind | Wind | Committed | 2017-11-15
PJM | IN | 05ST.JOE CTR | 1 | 244130 | 675 | 675 | Natural Gas | Combined Cycle | Committed | 2018-04-01
PJM | OH | 08HLCRTG | 1 | 250166 | 75 | 28.5 | Solar | Photo-Voltaic | Proposed | 2020-10-31
PJM | OH | 08NTEGEN | 1 | 249583 | 513 | 513 | Natural Gas | Combined Cycle | Committed | 2018-02-06
PJM | PA | 15SHELL C | 1 | 254250 | 205 | 205 | Natural Gas | Combined Cycle | Under Construction | 2020-04-30
PJM | PA | 26Y2-042 | 1 | 203907 | 18.3 | 0 | Natural Gas | Reciprocating Engine | Proposed | 2019-05-31
PJM | PA | 26Z1-069 C | 1 | 203349 | 70 | 9.1 | Wind | Wind | Under Construction | 2019-10-31
PJM | PA | 27AA2-115 OP | 1 | 204694 | 450 | 450 | Natural Gas | Combined Cycle | Committed | 2019-02-07
PJM | NJ | 28AA1-060 E | 1 | 207400 | 20 | 0 | Storage | Storage | Committed | 2018-12-11
PJM | NJ | 28MHD_W3-029 | S1 | 206761 | 17 | 6.46 | Solar | Photo-Voltaic | Committed | 2018-06-04
PJM | NJ | 28MR_W3-044 | S1 | 206749 | 7.6 | 2.89 | Solar | Photo-Voltaic | Under Construction | 2019-06-30
PJM | NJ | 28R11 | 1 | 206412 | 440 | 440 | Natural Gas | Combined Cycle | Suspended | 2020-05-16
PJM | NJ | 28W4-060COL | S1 | 207169 | 10 | 3.8 | Solar | Photo-Voltaic | Committed | 2018-08-04
PJM | NJ | 28W4-073 | S1 | 206719 | 6.4 | 2.43 | Solar | Photo-Voltaic | Under Construction | 2018-12-31
PJM | NC | 3AA1-063SOLA | SA | 315607 | 74.9 | 28.5 | Solar | Photo-Voltaic | Committed | 2018-11-08
PJM | NC | 3AA2-053SOLA | 1 | 315606 | 74.9 | 28.46 | Solar | Photo-Voltaic | Under Construction | 2019-04-22
PJM | VA | 3AA2-088SOLA | SA | 315608 | 100 | 38 | Solar | Photo-Voltaic | Committed | 2017-12-15
PJM | VA | 3PENDLTN | SA | 314491 | 17.6 | 6.69 | Solar | Photo-Voltaic | Committed | 2017-12-01
PJM | VA | 6BIRDNECK | WA | 314295 | 12 | 1.56 | Offshore Wind | Offshore Wind | Under Construction | 2018-12-31
PJM | VA | 6BUCKING | SA | 314677 | 20 | 7.6 | Solar | Photo-Voltaic | Committed | 2017-11-30
PJM | VA | 6CORRCTN | SA | 314375 | 20 | 7.6 | Solar | Photo-Voltaic | Committed | 2017-11-27
PJM | VA | 6OLDCHRC | SB | 314241 | 17 | 6.46 | Solar | Photo-Voltaic | Committed | 2018-08-08
PJM | VA | 6POWHATN | SB | 314333 | 20 | 7.6 | Solar | Photo-Voltaic | Committed | 2017-11-30
PJM | VA | 6SAPONY | SA | 314435 | 20 | 7.6 | Solar | Photo-Voltaic | Committed | 2017-11-30
PJM | VA | 6WESTMOR | SA | 314190 | 20 | 7.6 | Solar | Photo-Voltaic | Committed | 2018-12-12
PJM | NC | 6Z1-036WIND | WA | 315611 | 300.3 | 39.04 | Wind | Wind | Proposed | 2020-10-31
PJM | VA | 8GREENSVILLE | 1 | 314947 | 1630 | 1630 | Natural Gas | Combined Cycle | Committed | 2018-12-08
PJM | NC | AA1-065 | SA | 315602 | 80 | 69.94 | Solar | Photo-Voltaic | Under Construction | 2019-01-09
PJM | PA | AA1-076 CT1 | 1 | 200103 | 337 | 337 | Natural Gas | Combined Cycle | Under Construction | 2021-03-01
PJM | PA | AA1-076 CT2 | 1 | 200104 | 337 | 337 | Natural Gas | Combined Cycle | Under Construction | 2021-03-01
PJM | PA | AA1-076 ST | 1 | 200105 | 401 | 401 | Natural Gas | Combined Cycle | Under Construction | 2021-03-01
PJM | PA | AA1-144 OP | 1 | 203921 | 163 | 0 | Natural Gas | Combined Cycle | Proposed | 2020-04-30
PJM | VA | AA1-145 CT1 | 1 | 313502 | 172 | 168.97 | Natural Gas | Combined Cycle | Committed | 2018-05-30
PJM | VA | AA1-145 CT2 | 1 | 313503 | 172 | 168.97 | Natural Gas | Combined Cycle | Committed | 2018-05-30
PJM | DE | AA2-069 | 1 | 232892 | 451 | 0 | Natural Gas | Combined Cycle | Suspended | 2021-06-01
PJM | WV | AA2-119 GEN | 1 | 235050 | 575 | 564.86 | Natural Gas | Combined Cycle | Proposed | 2021-12-31
PJM | WV | AA2-121 OP | 1 | 235058 | 685 | 0 | Natural Gas | Combined Cycle | Proposed | 2021-08-03
PJM | PA | AA2-132 | 1 | 203913 | 19.9 | 0 | Natural Gas | Reciprocating Engine | Suspended | 2018-09-28
PJM | PA | AA2-133 GEN | 3 | 203919 | 7.01 | 0 | Natural Gas | Reciprocating Engine | Committed | 2019-02-21
PJM | PA | AA2-133 GEN | 2 | 203919 | 7.01 | 0 | Natural Gas | Reciprocating Engine | Committed | 2019-02-21
PJM | PA | AA2-133 GEN | 1 | 203919 | 7.01 | 0 | Natural Gas | Reciprocating Engine | Committed | 2019-02-21
PJM | NC | AA2-178 GEN | 1 | 315614 | 79.92 | 30.37 | Solar | Photo-Voltaic | Proposed | 2019-11-15
PJM | NJ | AB1-001 C | 1 | 228754 | 2.3 | 0.87 | Solar | Photo-Voltaic | Proposed | 2020-03-30
PJM | PA | AB1-033 | 1 | 214227 | 6.1 | 0 | Diesel | Reciprocating Engine | Proposed | 2018-10-31
PJM | WV | AB1-055 E | 1 | 247975 | 2 | 0 | Storage | Storage | Committed | 2017-03-01
PJM | NC | AB1-081 GEN | 1 | 313525 | 80 | 30.4 | Solar | Photo-Voltaic | Proposed | 2019-12-15
PJM | NJ | AB1-116 E | 1 | 228753 | 0.78 | 0 | Natural Gas | Fuel Cell | Committed | 2018-02-01
PJM | NJ | AB1-119 E | 1 | 228733 | 0.73 | 0 | Natural Gas | Fuel Cell | Committed | 2018-02-01
PJM | NC | AB1-132 C OP | 1 | 313504 | 120 | 45.6 | Solar | Photo-Voltaic | Proposed | 2021-11-15
PJM | WV | AB1-150 C | W1 | 235014 | 50.6 | 6.58 | Wind | Wind | Proposed | 2019-12-31
PJM | PA | AB1-166 E | 1 | 254252 | 20 | 0 | Storage | Storage | Under Construction | 2019-08-31
PJM | KY | AB1-169 C OP | 1 | 253285 | 1100 | 1100 | Natural Gas | Combined Cycle | Proposed | 2023-06-30
PJM | VA | AB1-173 C OP | 1 | 313506 | 19.8 | 7.52 | Solar | Photo-Voltaic | Proposed | 2020-12-31
PJM | VA | AB1-173AC OP | 1 | 313507 | 19.8 | 7.52 | Solar | Photo-Voltaic | Proposed | 2020-12-31
PJM | WV | AB1-180 C | 1 | 247654 | 2.4 | 0 | Methane | Steam Turbine | Committed | 2017-03-07
PJM | WV | AB1-180 E | 1 | 247976 | 0.8 | 0 | Methane | Steam Turbine | Committed | 2017-03-07
PJM | NC | AB2-022 | 1 | 313526 | 20 | 7.6 | Solar | Photo-Voltaic | Proposed | 2020-12-30
PJM | PA | AB2-041 C | 1 | 235032 | 20 | 2.6 | Wind | Wind | Proposed | 2019-12-15
PJM | VA | AB2-043 GEN | 1 | 313527 | 49.88 | 18.95 | Solar | Photo-Voltaic | Proposed | 2020-09-01
PJM | VA | AB2-089 C | 1 | 313508 | 20 | 7.6 | Solar | Photo-Voltaic | Committed | 2017-06-01
PJM | MD | AB2-097 E | S1 | 235025 | 10 | 3.8 | Solar | Photo-Voltaic | Under Construction | 2020-02-28
PJM | VA | AB2-109 C | 1 | 247653 | 4 | 4 | Hydro | Vertical Shaft | Committed | 2017-11-29
PJM | VA | AB2-109 E | 1 | 247973 | 8.5 | 0 | Hydro | Vertical Shaft | Committed | 2017-11-29
PJM | NJ | AB2-139 E | 1 | 207419 | 0.21 | 0 | Natural Gas | Fuel Cell | Committed | 2018-02-01
PJM | PA | AB2-175 1 | 1 | 200309 | 22 | 22 | Nuclear | Nuclear | Under Construction | 2019-03-26
PJM | PA | AB2-175 2 | 2 | 200310 | 22 | 22 | Nuclear | Nuclear | Under Construction | 2019-03-26
PJM | WV | AC1-003 | 1 | 235059 | 80 | 0 | Natural Gas | Combined Cycle | Proposed | 2021-08-03
PJM | PA | AC1-025 E | 1 | 235003 | 1.5 | 0 | Storage | Storage | Committed | 2019-02-14
PJM | VA | AC1-036 C | 1 | 313521 | 15 | 5.7 | Solar | Photo-Voltaic | Proposed | 2019-12-31
PJM | PA | AC1-071 GEN1 | 1 | 212899 | 5.15 | 0.67 | Wind | Wind | Proposed | 2018-12-14
PJM | WV | AC1-073 C | 1 | 235055 | 16.3 | 0 | Wind/Storage | Wind/Storage | Suspended | 2019-12-31
PJM | PA | AC1-097 CT1 | 1 | 235053 | 325.5 | 319.76 | Natural Gas | Combined Cycle | Suspended | 2021-06-01
PJM | PA | AC1-097 CT2 | 1 | 235054 | 325.5 | 319.76 | Natural Gas | Combined Cycle | Suspended | 2021-06-01
PJM | PA | AC1-097 ST | 1 | 235052 | 514 | 504.93 | Natural Gas | Combined Cycle | Suspended | 2021-06-01
PJM | VA | AC1-116 C | 1 | 313509 | 12.5 | 4.75 | Solar | Photo-Voltaic | Proposed | 2020-06-30
PJM | VA | AC1-117 C | 1 | 247655 | 20 | 7.6 | Solar | Photo-Voltaic | Suspended | 2019-12-31
PJM | VA | AC1-147 C | 1 | 313530 | 20 | 7.6 | Solar | Photo-Voltaic | Proposed | 2020-12-31
PJM | PA | AC1-209 C | 1 | 214228 | 18 | 6.84 | Solar | Photo-Voltaic | Proposed | 2021-09-30
PJM | OH | AC1-212 GEN1 | 1 | 253283 | 10 | 0 | Storage | Storage | Proposed | 2020-04-30
PJM | OH | AC1-212 GEN2 | 1 | 253284 | 10 | 0 | Storage | Storage | Proposed | 2020-04-30
PJM | OH | AC2-045 C | 1 | 247656 | 10 | 3.8 | Solar | Photo-Voltaic | Suspended | 2019-12-31
PJM | VA | AC2-070 C | 1 | 313510 | 13 | 4.94 | Solar | Photo-Voltaic | Proposed | 2021-12-31
PJM | VA | AC2-071 | 1 | 313531 | 20 | 7.6 | Solar | Photo-Voltaic | Proposed | 2021-12-31
PJM | VA | AC2-072 | 1 | 313532 | 20 | 7.6 | Solar | Photo-Voltaic | Proposed | 2021-12-31
PJM | VA | AC2-073 | 1 | 313533 | 20 | 7.6 | Solar | Photo-Voltaic | Proposed | 2021-12-31
PJM | VA | AC2-074 | 1 | 313534 | 15.65 | 5.95 | Solar | Photo-Voltaic | Proposed | 2021-12-31
PJM | VA | AC2-137 C | 1 | 313512 | 18.8 | 7.14 | Solar | Photo-Voltaic | Proposed | 2019-12-30
PJM | VA | AC2-138 C | 1 | 313513 | 10.8 | 4.1 | Solar | Photo-Voltaic | Proposed | 2019-12-30
PJM | NJ | AC2-144 E | 1 | 207423 | 0.25 | 0 | Storage | Storage | Suspended | 2018-06-01
PJM | NJ | AC2-145 E | 1 | 207424 | 0.2 | 0 | Storage | Storage | Suspended | 2018-06-01
PJM | PA | AC2-168 C | 1 | 254253 | 11.7 | 4.45 | Solar | Photo-Voltaic | Proposed | 2019-12-31
PJM | VA | AC2-174 C | 1 | 235056 | 10 | 3.8 | Solar | Photo-Voltaic | Proposed | 2019-12-31
PJM | NJ | AC2-175 E | 1 | 207425 | 1.6 | 0 | Solar | Photo-Voltaic | Suspended | 2019-01-31
PJM | VA | AC2-196 C | 1 | 313516 | 16.6 | 6.33 | Solar | Photo-Voltaic | Proposed | 2019-11-15
PJM | VA | AD1-048 | 1 | 313535 | 20 | 7.6 | Solar | Photo-Voltaic | Proposed | 2022-12-31
PJM | NJ | AD1-059 | 1 | 207426 | 14.9 | 0 | Natural Gas | Combined Cycle | Under Construction | 2018-05-07
PJM | VA | AD1-063 C | 1 | 313517 | 15 | 5.7 | Solar | Photo-Voltaic | Committed | 2018-10-08
PJM | PA | AD1-109 | 1 | 203916 | 1.1 | 0 | Natural Gas | Combustion Turbine | Committed | 2018-05-10
PJM | PA | AD1-142 | 1 | 203917 | 1.1 | 0 | Natural Gas | Combustion Turbine | Committed | 2018-04-24
PJM | IL | BRIGHTSTK; | W1 | 274889 | 200 | 0 | Wind | Wind | Under Construction | 2019-12-30
PJM | PA | BUMO | 1 | 211418 | 100 | 13 | Wind | Wind | Proposed | 2019-10-01
PJM | NJ | CITIZENP_C | 1 | 219801 | 6 | 2.28 | Solar | Photo-Voltaic | Suspended | 2018-05-31
PJM | NJ | HCECAMPUS_C | 1 | 219805 | 3.72 | 1.41 | Solar | Photo-Voltaic | Proposed | 2018-11-30
PJM | NJ | HCERIVERRD_C | 1 | 219803 | 8.79 | 3.34 | Solar | Photo-Voltaic | Proposed | 2018-11-30
PJM | PA | HUST 11 | 11 | 208930 | 236 | 236 | Natural Gas | Combined Cycle | Committed | 2018-03-18
PJM | PA | HUST 13 | 13 | 208932 | 236 | 236 | Natural Gas | Combined Cycle | Committed | 2018-03-18
PJM | NJ | KDCCARTSOL_E | 1 | 217215 | 1.5 | 0 | Solar | Photo-Voltaic | Proposed | 2018-10-30
PJM | PA | LAEN G1 | 1 | 208055 | 456.6 | 456.6 | Natural Gas | Combined Cycle | Committed | 2018-10-02
PJM | PA | LAEN G2 | 2 | 208052 | 456.6 | 456.6 | Natural Gas | Combined Cycle | Committed | 2018-10-02
PJM | PA | LAEN G3 | 3 | 208053 | 456.6 | 456.6 | Natural Gas | Combined Cycle | Committed | 2018-10-02
PJM | VA | N-007 C | W1 | 235000 | 38 | 4.94 | Wind | Wind | Proposed | 2020-11-30
PJM | NJ | NIXONLANE_C | 1 | 218737 | 6.6 | 2.51 | Solar | Photo-Voltaic | Committed | 2017-05-26
PJM | NJ | NROADSOLAR_C | 1 | 218739 | 10 | 3.8 | Solar | Photo-Voltaic | Under Construction | 2018-03-30
PJM | NJ | PARKLANDSO C | 1 | 219276 | 7.84 | 2.98 | Solar | Photo-Voltaic | Committed | 2015-01-14
PJM | NJ | PENNINGPW_C | 1 | 219794 | 0.586 | 0.22 | Solar/Storage | Photo-Voltaic/Storage | Under Construction | 2017-10-19
PJM | NJ | PENNSAUS3_C | 1 | 219792 | 2.5 | 0.95 | Solar | Photo-Voltaic | Committed | 2017-12-13
PJM | OH | R52A | 1 | 253279 | 100 | 13 | Wind | Wind | Proposed | 2019-12-31
PJM | IL | TWINGROVE;U1 | W1 | 274853 | 206.5 | 26.85 | Wind | Wind | Under Construction | 2017-12-14
PJM | OH | U2-041 C | 1C | 247506 | 300 | 39 | Wind | Wind | Suspended | 2019-12-31
PJM | OH | V1-011 C | 1C | 247607 | 100 | 13 | Wind | Wind | Committed | 2018-09-10
PJM | NJ | V2-009 C1 | 1 | 219884 | 0.95 | 0.36 | Solar | Photo-Voltaic | Under Construction | 2012-06-01
PJM | IN | V3-007 | 1C | 247543 | 200 | 26 | Wind | Wind | Proposed | 2020-11-30
PJM | OH | V3-028 C | 1C | 247549 | 20 | 7.6 | Solar | Photo-Voltaic | Suspended | 2020-06-01
PJM | OH | W1-056 C | 1C | 247555 | 18.4 | 2.39 | Wind | Wind | Committed | 2017-11-15
PJM | NJ | W3-077 C | S1 | 207408 | 15 | 5.7 | Solar | Photo-Voltaic | Under Construction | 2020-01-31
PJM | IL | W3-134 | 1 | 276177 | 10.6 | 10.6 | Hydro | Hydro Turbine | Under Construction | 2019-12-31
PJM | IL | W3-135 | 1 | 276178 | 12.1 | 12.1 | Hydro | Horizontal Shaft | Under Construction | 2019-12-31
PJM | IL | X2-022 | W1 | 276179 | 185 | 74 | Wind | Wind | Under Construction | 2018-11-01
PJM | MD | X3-008 C | 1 | 232417 | 20 | 7.6 | Solar | Photo-Voltaic | Under Construction | 2019-12-31
PJM | MD | X4-035 OP1 | 1 | 226703 | 735.5 | 735.5 | Natural Gas | Combined Cycle | Committed | 2018-05-21
PJM | VA | Y1-006 GEN | 1 | 247661 | 72 | 9.36 | Wind | Wind | Suspended | 2020-03-01
PJM | NJ | Y1-077 | 1 | 228752 | 486 | 477.43 | Natural Gas | Combined Cycle | Proposed | 2021-06-01
PJM | MD | Y1-079 C | 1 | 232424 | 3.8 | 1.44 | Solar | Photo-Voltaic | Committed | 2016-08-24
PJM | WV | Y3-025 | 1 | 247622 | 3.18 | 0 | Methane | Steam Turbine | Under Construction | 2015-05-29
PJM | MD | Y3-102-CTG1 | 1 | 200303 | 290 | 237.11 | Natural Gas | Combined Cycle | Committed | 2017-07-27
PJM | MD | Y3-102-CTG2 | 1 | 200304 | 290 | 237.11 | Natural Gas | Combined Cycle | Committed | 2017-07-27
PJM | MD | Y3-102-STG | 1 | 200302 | 499 | 400.78 | Natural Gas | Combined Cycle | Committed | 2017-07-27
PJM | IL | Z1-127 1 | 1 | 276171 | 13.33 | 0 | Natural Gas | Simple Cycle | Committed | 2014-02-10
PJM | IL | Z1-127 2 | 1 | 276172 | 6.67 | 0 | Natural Gas | Simple Cycle | Committed | 2014-02-10
PJM | MD | Z2-076 C | 1 | 232432 | 6 | 2.28 | Solar | Photo-Voltaic | Under Construction | 2019-04-17
PJM | MD | Z2-077 C | 1 | 232434 | 6 | 2.28 | Solar | Photo-Voltaic | Committed | 2019-03-15
TVA | AL | Browns Ferry N3 | 1 | 364003 | 1277.5 | 1277.5 | Nuclear | Nuclear | Existing | 2018-05-01 | Browns Ferry Nuclear 3; uprate by 155 MW
TVA | TN | Allen F1 | 1 | 364101 | 247 | 0 | Fossil | Coal | Retired | 2018-05-01 | Allen Fossil plant (741 MW); retire site
TVA | TN | Allen F2 | 1 | 364102 | 247 | 0 | Fossil | Coal | Retired | 2018-05-01 | Allen Fossil plant (741 MW); retire site
TVA | TN | Allen F3 | 1 | 364103 | 247 | 0 | Fossil | Coal | Retired | 2018-05-01 | Allen Fossil plant (741 MW); retire site
TVA | TN | Allen CT1 | 1 | 364325 | 320 | 320 | Gas | Combined Cycle | Planned | 2018-06-01 | Allen CC plant (1070 MW); new construction
TVA | TN | Allen CT2 | 1 | 364326 | 320 | 320 | Gas | Combined Cycle | Planned | 2018-06-01 | Allen CC plant (1070 MW); new construction
TVA | TN | Allen ST | 1 | 364327 | 430 | 430 | Gas | Combined Cycle | Planned | 2018-06-01 | Allen CC plant (1070 MW); new construction
TVA | TN | Enerparc Wildberry | 1 | 364056 | 15 | 9 | Solar | Photovoltaic | Planned | 2018-06-01 | Wildberry solar farm; new construction
TVA | MS | Magnolia T1 | 1 | 364761 | 194 | 194 | Gas | Combined Cycle | Existing | 2018-06-01 | Magnolia CC site; uprate plant by total of 90 MW
TVA | MS | Magnolia T2 | 1 | 364762 | 194 | 194 | Gas | Combined Cycle | Existing | 2018-06-01 | Magnolia CC site; uprate plant by total of 90 MW
TVA | MS | Magnolia T3 | 1 | 364763 | 194 | 194 | Gas | Combined Cycle | Existing | 2018-06-01 | Magnolia CC site; uprate plant by total of 90 MW
TVA | MS | Magnolia S1 | 1 | 364764 | 134 | 134 | Gas | Combined Cycle | Existing | 2018-06-01 | Magnolia CC site; uprate plant by total of 90 MW
TVA | MS | Magnolia S2 | 1 | 364765 | 134 | 134 | Gas | Combined Cycle | Existing | 2018-06-01 | Magnolia CC site; uprate plant by total of 90 MW
TVA | MS | Magnolia S3 | 1 | 364766 | 134 | 134 | Gas | Combined Cycle | Existing | 2018-06-01 | Magnolia CC site; uprate plant by total of 90 MW
TVA | AL | Browns Ferry N1 | 1 | 364001 | 1271.6 | 1271.6 | Nuclear | Nuclear | Existing | 2018-10-01 | Browns Ferry Nuclear 1; uprate by 155 MW
TVA | TN | Silicon Ranch Millington | 1 | 364055 | 60 | 36 | Solar | Photovoltaic | Planned | 2018-11-01 | Millington solar farm; new construction
TVA | AL | Browns Ferry N2 | 1 | 364002 | 1275.4 | 1275.4 | Nuclear | Nuclear | Existing | 2019-03-01 | Browns Ferry Nuclear 2; uprate by 155 MW
PowerSouth | AL | Lowman Energy Center | 6 | 317105 | 259 | 259 | Natural Gas | Combined Cycle | Planned | 2022-10-01 | Rettire Lowman Coal units; construct new CC plant on same site
PowerSouth | AL | Lowman Energy Center | 5 | 317105 | 372 | 372 | Natural Gas | Combined Cycle | Planned | 2022-10-01 | Rettire Lowman Coal units; construct new CC plant on same site
SBA | GA | 1VOGTLE3 26.000 | 3 | 383753 | 1100 | 1100 | Nuclear | Steam Turbine | Committed | 2023 | Construction
SBA | GA | 1VOGTLE4 26.000 | 4 | 383754 | 1100 | 1100 | Nuclear | Steam Turbine | Committed | 2024 | Construction
SBA | GA | YATES 8ST 21.000 | 8 | 383807 | 504 | 504 | Natural Gas | Combined Cycle | Proposed | 2025
SBA | GA | YATES 8A 21.000 | 8A | 383808 | 363 | 363 | Natural Gas | Combined Cycle | Proposed | 2025
SBA | GA | YATES 8B 21.000 | 8B | 383809 | 363 | 363 | Natural Gas | Combined Cycle | Proposed | 2025
SBA | GA | 1BRANCH 5ST 21.000 | 5 | 383931 | 337 | 337 | Natural Gas | Combined Cycle | Proposed | 2027
SBA | GA | 1BRANCH 5A 21.000 | 5A | 383932 | 247 | 247 | Natural Gas | Combined Cycle | Proposed | 2027
SBA | GA | 1BRANCH 5B 21.000 | 5B | 383933 | 247 | 247 | Natural Gas | Combined Cycle | Proposed | 2027
SBA | AL | 1BARRY 8ST 18.000 | 8 | 386482 | 280 | 280 | Natural Gas | Combined Cycle | Proposed | 2023
SBA | AL | 1BARRY 8A 26.000 | 8A | 386483 | 342 | 342 | Natural Gas | Combined Cycle | Proposed | 2023
SBA | FL | 1LSMITH CT1 18.000 | 1 | 387843 | 230 | 0 | Natural Gas | Combined Cycle | Proposed | 2023
SBA | FL | 1NESCAMST1 18.000 | 1 | 387906 | 280 | 280 | Natural Gas | Combined Cycle | Proposed | 2023
SBA | FL | 1NESCAM1A 26.000 | 1A | 387907 | 342 | 342 | Natural Gas | Combined Cycle | Proposed | 2023
Dominion Energy South Carolina | SC | VC Summer 2 - PROJECT CANCELED | 2 | 370835 | 1165 | 1165 | Nuclear | Steam Turbine | Canceled | N/A | Project canceled in 2017
Dominion Energy South Carolina | SC | VC Summer 3 - PROJECT CANCELED | 3 | 370836 | 1165 | 1165 | Nuclear | Steam Turbine | Canceled | N/A | Project canceled in 2017
ISO-NE | CT | BRIDGEPORT HARBOR 5 | 1 | 123628-123629 | 509.6 | 0 | Natural Gas | Combined Cycle | Planned | 2019-06-24
ISO-NE | MA | CANAL 3 | 3 | 111256 | 333 | 337.86 | Natural Gas | Combustion Turbine | In-Service | 2019-05-31
ISO-NE | MA | J. COCKWELL 1 | G1 | 113096 | 331.02 | 333 | Water | Pumped Storage | Planned | 2020-06-02 | Uprate
ISO-NE | MA | J. COCKWELL 2 | G2 | 113097 | 330.87 | 333 | Water | Pumped Storage | Planned | 2020-06-02 | Uprate
ISO-NE | CT | LAKE ROAD 1 | 1 | 121513 | 294 | 0 | Natural Gas | Combined Cycle | In Service | 2018-05-20 | Uprate
ISO-NE | CT | LAKE ROAD 2 | 1 | 121514 | 294 | 0 | Natural Gas | Combined Cycle | In Service | 2018-05-20 | Uprate
ISO-NE | CT | LAKE ROAD 3 | 1 | 121515 | 294 | 0 | Natural Gas | Combined Cycle | In Service | 2018-05-20 | Uprate
ISO-NE | MA | MEDWAY PEAKER | 1 | 111080-111081 | 208.94 | 0 | Natural Gas | Combustion Turbine | In Service | 2019-03-14
ISO-NE | CT | MILFORD POWER | C1,S1 | 114858-114859 | 216 | 218.5 | Natural Gas | Combined Cycle | In Service | 2018-12-13
ISO-NE | CT | NUTMEG SOLAR | 1 | 121841 | 19.9 | 0 | Solar | Photo-Voltaic | Planned | 2020-08-01
ISO-NE | MA | QP273-1 PALMER RENEWABLE BIOMASS PROJECT | 1 | 116472 | 36.7 | 0 | Wood | Biomass | Planned | 2020-07-15
ISO-NE | CT | QP497 BEACON FALLS FUEL CELL | DF,HE,ST | 122604 | 63.3 | 0 | Hydrogen | Fuel Cell | Planned | 2022-04-01
ISO-NE | NH | QP543 ANTRIM WIND RESOURCE | 1 | 105731 | 28.4 | 0 | Wind | Wind | Planned | 2019-08-30
ISO-NE | VT | QP565 COOLIDGE SOLAR | 1 | 109151 | 20 | 0 | Solar | Photo-Voltaic | In Service | 2018-12-20
ISO-NE | ME | QP583 SANFORD SOLAR | 1 | 100758 | 50.01 | 0 | Solar | Photo-Voltaic | Planned | 2020-05-15
ISO-NE | NH | QP602 MOORE HYDRO UPRATE | 1,2,3,4 | 106044-106047 | 195.8 | 120 | Water | Hydro | Planned | 2022-05-31 | Uprate
ISO-NE | MA | QP624 | 1 | 116723-116726 | 800 | 0 | Wind | Wind | Planned | 2021-07-01
MISO | MI | Ludington upgrade | 1,2,3,4,5,6 | 256340 256340 256341 256341 256342 256342 | 420 | 420 | Hydro | Hydro | Under Construction | 2019-05-24 | Ludington Substation
MISO | LA | J396 | G1,G2,ST | 336186_1GYP_U4 G1 336187_1GYP_U4 G2 336188_1GYP_U4 ST | 904 | 904 | Gas | Gas | Under Construction | 2019-05-31 | Entergy Little Gypsy Power Station
MISO | IA | J416 | 1,2 | 629922_J416_GEN1 1 629922_J416_GEN1 2 629923_J416_GEN2 1 629923_J416_GEN2 2 | 200 | 200 | Wind | Wind | Under Construction | 2019-07-01 | Emery - Blackhawk 345 kV (Section of MVP4)
MISO | MI | J703 | 1,2,3,4,5,6,7 | 693850_KUESTER 1-4 1 693850_KUESTER 1-4 2 693850_KUESTER 1-4 3 693850_KUESTER 1-4 4 693851_KUESTER 5-7 5 693851_KUESTER 5-7 6 693851_KUESTER 5-7 7 | 128.1 | 128.1 | Gas | Gas | Under Construction | 2019-03-01 | Huron 138kV Substation -looping Lines FREG11 (National to Freeman) & Goose Lake (PI to Empire)
MISO | MI | J704 | 1,2,3 | 693854_J704 1-3 1 693854_J704 1-3 2 693854_J704 1-3 3 | 54.9 | 54.9 | Gas | Gas | Under Construction | 2019-03-01 | M38 Substation 138kV
MISO | LA | J792 | G1,G2 | 336134_1ICALBOG2!:G2 336133_1ICALBOG1!:G1 | 420 | 420 | Gas | Gas | Under Construction | 2020-02-15 | 230 kV Adams Creek Switchyard
MISO | MN | G261 | 1 | 600046_G261 MEC-ST 1 600047_G261 MEC-CT1 1 600172_G261 MEC CT2 1 | 667 | 667 | Combined Cycle | Combined Cycle | In Service | 2018-06-01 | Mankato Substation
MISO | ND | G830 | W | 615148_G830 MDWLAR W | 99 | 99 | Wind | Wind | In Service | 2018-12-22 | GRE McHenry substation
MISO | WI | J390 | ST | 693402_J390ST1 ST | 702 | 702 | Combined Cycle | Combined Cycle | In Service | 2018-04-25 | Paddock - Rockdale 345 kV line
MISO | IA | J455 | 1,2 | 631248_J455 G1 1 631248_J455 G1 2 631249_J455 G2 1 631249_J455 G2 2 | 300 | 300 | Wind | Wind | In Service | 2018-10-10 | Kossuth â€“ Obrien 345 kV line
Note on J3: Status: Existing, Under Construction, Committed, Proposed