## Slide 1: Overview of MRN-NEEM Results for the EIPC Future 3 Sensitivities, Future 4, and the Future 5 Base and Soft Constraint Cases
June 28, 2011
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.

## Slide 2: Overview
1
Using the EIPC stakeholder-approved input assumptions, CRA has completed modeling of:
  Future 3 “Federal Carbon Constraint – State/Regional Implementation” for:
    F3 Sensitivities: F3S3 through F3S12 (F3S2 and F3S7 are reserved)
      The F3 “Hard Limits” selected by the SSC are applied in each of these sensitivities
  Future 4 “Aggressive EE/DR/DG/Smart Grid” for:
    Future 4 Base (F4B) and Future 4 Sensitivities (F4S1-F4S3)
  Future 5 “National RPS – Top Down Implementation” for:
    Future 5 Base and 75% and 25% Soft Constraint Sensitivities (F5B, F5S1and F5S2)
Of the 80 total runs, 46 have now been completed.
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.

## Slide 3: Future 2 and Future 3 Carbon Prices
2
  The same carbon prices derived in Future 2 were applied in NEEM in Future 3 (20% lower in F2S9 and F3S8).
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.
Economy-wide CO2 Price
(2010$/metric ton)

## Slide 4: Future 2 Results (from June 13)
3
Total EI capacity in 2030 is shown below by type for Future 2 (Federal Carbon – National Implementation) in comparison to the BAU.
Installed 2030 EI Capacity by Type: BAU vs. Future 2 (GW)
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.
 |  |  | Installed Capacity in 2030 |  |  |  |  |  |  |  |  |  |  | 
 |  |  | F1S3 | F2B | F2S1 | F2S2 | F2S3 | F2S4 | F2S5 | F2S6 | F2S7 | F2S9 | F2S10 | F2S11
 | Total |  | BAU | Fed | 75% | 25% | 50% | High | Low | ExHi | Low | Low | ExLo | Hard
 | 2010 |  | Base | CO2 | Soft | Soft | Frict | Load | Load | Gas | Gas | CO2 | Rnw$ | Limit
Coal | 272 |  | 199 | 29 | 30 | 30 | 30 | 69 | 16 | 83 | 22 | 34 | 33 | 31
Nuclear | 100 |  | 105 | 133 | 130 | 129 | 132 | 136 | 127 | 135 | 105 | 114 | 134 | 131
CC | 133 |  | 202 | 246 | 230 | 224 | 226 | 306 | 166 | 170 | 265 | 240 | 213 | 226
CT | 120 |  | 132 | 106 | 115 | 116 | 112 | 128 | 100 | 113 | 120 | 119 | 113 | 112
Steam Oil/Gas | 75 |  | 36 | 22 | 27 | 28 | 29 | 35 | 9 | 21 | 27 | 28 | 29 | 29
Hydro | 45 |  | 45 | 50 | 51 | 52 | 51 | 52 | 47 | 51 | 49 | 51 | 52 | 51
On-Shore Wind | 19 |  | 68 | 282 | 313 | 315 | 320 | 385 | 232 | 348 | 243 | 279 | 357 | 317
Off-Shore Wind | 0 |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 2
Other Renewable | 4 |  | 14 | 13 | 13 | 14 | 13 | 14 | 12 | 21 | 13 | 13 | 12 | 13
New HQ/Maritimes | 0 |  | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Other | 17 |  | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17
Total w/o DR | 783 |  | 819 | 901 | 927 | 930 | 934 | 1,147 | 731 | 965 | 866 | 898 | 967 | 932
DR | 33 |  | 71 | 71 | 71 | 71 | 71 | 85 | 58 | 71 | 71 | 71 | 71 | 71
Total w/DR | 816 |  | 890 | 971 | 998 | 1,000 | 1,005 | 1,232 | 789 | 1,035 | 937 | 969 | 1,037 | 1,003

## Slide 5: Future 3 Results
4
Total EI capacity in 2030 is shown below by type for Future 3 (Federal Carbon – Regional/State Implementation) in comparison to the BAU.
  F3S12 (Hard limits) builds are close to F3S1 (75%). Hard limits are used in F3S3 through F3S12.
  Low gas/low CO2 increase CC builds and reduce wind builds. High nuclear cost swaps CCs for nukes. High Canadian hydro imports do not change the overall EI results materially.
  Additional “Other Renewables” are constructed in extra-low renewable costs in F3 (unlike F2).
Installed 2030 EI Capacity by Type: BAU vs. Future 3 (GW)
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.
 |  |  | Installed Capacity in 2030 |  |  |  |  |  |  |  |  |  |  | 
 |  |  | F1S3 | F3B | F3S1 | F3S3 | F3S4 | F3S5 | F3S6 | F3S8 | F3S9 | F3S10 | F3S11 | F3S12
 | Total |  | BAU | Reg | 75% | High | Low | ExHi | Low | Low | Hi $ | HiCN | ExLo | Hard
 | 2010 |  | Base | CO2 | Soft | Load | Load | Gas | Gas | CO2 | Nuke | Impt | Rnw$ | Limit
Coal | 272 |  | 199 | 40 | 35 | 66 | 18 | 82 | 24 | 33 | 39 | 38 | 34 | 39
Nuclear | 100 |  | 105 | 134 | 134 | 137 | 132 | 134 | 105 | 112 | 105 | 134 | 128 | 134
CC | 133 |  | 202 | 256 | 256 | 335 | 185 | 190 | 287 | 267 | 269 | 253 | 229 | 252
CT | 120 |  | 132 | 104 | 105 | 128 | 84 | 104 | 118 | 115 | 116 | 105 | 107 | 105
Steam Oil/Gas | 75 |  | 36 | 18 | 18 | 30 | 11 | 17 | 19 | 24 | 18 | 18 | 25 | 18
Hydro | 45 |  | 45 | 52 | 52 | 52 | 49 | 53 | 50 | 51 | 52 | 51 | 53 | 52
On-Shore Wind | 19 |  | 68 | 199 | 195 | 233 | 156 | 213 | 151 | 170 | 198 | 193 | 215 | 197
Off-Shore Wind | 0 |  | 2 | 2 | 2 | 2 | 2 | 10 | 2 | 2 | 2 | 2 | 59 | 2
Other Renewable | 4 |  | 14 | 13 | 13 | 14 | 12 | 33 | 13 | 13 | 13 | 13 | 26 | 13
New HQ/Maritimes | 0 |  | 0 | 0 | 3 | 5 | 3 | 5 | 3 | 3 | 5 | 4 | 4 | 5
Other | 17 |  | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17
Total w/o DR | 783 |  | 819 | 833 | 829 | 1,019 | 668 | 857 | 789 | 807 | 833 | 829 | 897 | 833
DR | 33 |  | 71 | 71 | 71 | 85 | 58 | 71 | 71 | 71 | 71 | 71 | 71 | 71
Total w/DR | 816 |  | 890 | 904 | 900 | 1,105 | 726 | 927 | 860 | 878 | 904 | 900 | 968 | 903

## Slide 6: Future 3 Results (cont.)
5
EI new capacity in 2030 is shown below by NEEM region for Future 3 in comparison to the BAU.
2030 EI New Builds by Region: BAU vs. Future 3 (GW)
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.
 |  |  |  |  |  | Cum New Builds in 2030 |  |  |  |  |  |  | 
 |  | F1S3 | F3B | F3S1 | F3S3 | F3S4 | F3S5 | F3S6 | F3S8 | F3S9 | F3S10 | F3S11 | F3S12
 |  | BAU | Reg | 75% | High | Low | ExHi | Low | Low | Hi $ | HiCN | ExLo | Hard
 |  | Base | CO2 | Soft | Load | Load | Gas | Gas | CO2 | Nuke | Impt | Rnw$ | Limit
ENT |  | 4 | 9 | 9 | 13 | 6 | 9 | 9 | 9 | 9 | 9 | 9 | 9
FRCC |  | 16 | 29 | 29 | 32 | 26 | 25 | 18 | 20 | 18 | 29 | 37 | 29
IESO |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
MAPP_CA |  | 2 | 5 | 5 | 6 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 5
MAPP_US |  | 2 | 12 | 12 | 9 | 11 | 13 | 12 | 12 | 12 | 12 | 10 | 12
MISO_IN |  | 5 | 21 | 24 | 22 | 19 | 13 | 23 | 22 | 22 | 22 | 21 | 22
MISO_MI |  | 3 | 6 | 3 | 10 | 2 | 8 | 3 | 4 | 4 | 5 | 5 | 5
MISO_MO-IL |  | 2 | 11 | 8 | 16 | 3 | 8 | 11 | 10 | 10 | 10 | 8 | 10
MISO_W |  | 9 | 40 | 41 | 61 | 29 | 41 | 42 | 40 | 40 | 40 | 44 | 40
MISO_WUMS |  | 10 | 9 | 11 | 18 | 8 | 8 | 11 | 10 | 11 | 10 | 9 | 10
NE |  | 1 | 3 | 3 | 3 | 4 | 1 | 3 | 3 | 3 | 3 | 2 | 3
NEISO |  | 9 | 9 | 9 | 9 | 9 | 11 | 9 | 9 | 9 | 9 | 13 | 9
NonRTO_Mid |  | 1 | 7 | 7 | 8 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7
NYISO_A-F |  | 4 | 10 | 7 | 14 | 4 | 14 | 4 | 4 | 9 | 5 | 14 | 9
NYISO_G-I |  | 1 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NYISO_J-K |  | 3 | 1 | 1 | 3 | 1 | 2 | 1 | 1 | 1 | 1 | 2 | 1
PJM_E |  | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 16 | 7
PJM_ROM |  | 12 | 6 | 6 | 12 | 6 | 12 | 10 | 6 | 6 | 6 | 22 | 6
PJM_ROR |  | 20 | 82 | 84 | 94 | 62 | 68 | 48 | 61 | 82 | 82 | 76 | 82
SOCO |  | 10 | 23 | 23 | 29 | 17 | 20 | 16 | 16 | 17 | 23 | 22 | 23
SPP_N |  | 3 | 17 | 17 | 24 | 15 | 17 | 23 | 23 | 17 | 17 | 20 | 17
SPP_S |  | 8 | 38 | 38 | 50 | 24 | 36 | 33 | 33 | 38 | 37 | 34 | 37
TVA |  | 8 | 11 | 11 | 16 | 7 | 11 | 12 | 11 | 11 | 11 | 13 | 11
VACAR |  | 20 | 28 | 28 | 38 | 22 | 33 | 27 | 28 | 27 | 28 | 60 | 28
 |  | 165 | 392 | 389 | 502 | 296 | 373 | 339 | 346 | 371 | 385 | 456 | 390

## Slide 7: Future 3 Results (cont.)
6
EI new CC builds through 2030 are shown below by NEEM region for Future 3.
2030 EI New CC Builds by Region: BAU vs. Future 3 (GW)
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.
 |  |  |  |  |  | Cum New CCs in 2030 |  |  |  |  |  |  | 
 |  | F1S3 | F3B | F3S1 | F3S3 | F3S4 | F3S5 | F3S6 | F3S8 | F3S9 | F3S10 | F3S11 | F3S12
 |  | BAU | Reg | 75% | High | Low | ExHi | Low | Low | Hi $ | HiCN | ExLo | Hard
 |  | Base | CO2 | Soft | Load | Load | Gas | Gas | CO2 | Nuke | Impt | Rnw$ | Limit
ENT |  | 3 | 8 | 8 | 12 | 5 | 7 | 8 | 8 | 8 | 8 | 7 | 8
FRCC |  | 13 | 12 | 13 | 18 | 9 | 9 | 15 | 13 | 15 | 12 | 12 | 12
IESO |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
MAPP_CA |  | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MAPP_US |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MISO_IN |  | 4 | 20 | 23 | 21 | 18 | 12 | 22 | 21 | 21 | 21 | 21 | 21
MISO_MI |  | 0 | 3 | 1 | 6 | 0 | 0 | 1 | 2 | 1 | 1 | 0 | 1
MISO_MO-IL |  | 0 | 3 | 0 | 6 | 0 | 0 | 2 | 2 | 2 | 2 | 0 | 2
MISO_W |  | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
MISO_WUMS |  | 4 | 7 | 8 | 9 | 6 | 6 | 9 | 8 | 8 | 8 | 6 | 8
NE |  | 0 | 2 | 2 | 3 | 0 | 0 | 3 | 2 | 2 | 2 | 2 | 2
NEISO |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
NonRTO_Mid |  | 1 | 6 | 6 | 6 | 3 | 1 | 7 | 6 | 6 | 6 | 5 | 6
NYISO_A-F |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
NYISO_G-I |  | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NYISO_J-K |  | 1 | 1 | 1 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
PJM_E |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
PJM_ROM |  | 2 | 2 | 2 | 5 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
PJM_ROR |  | 8 | 25 | 26 | 37 | 13 | 4 | 35 | 25 | 25 | 25 | 18 | 25
SOCO |  | 8 | 12 | 12 | 19 | 7 | 10 | 13 | 13 | 14 | 12 | 12 | 12
SPP_N |  | 2 | 4 | 2 | 8 | 2 | 3 | 6 | 5 | 5 | 4 | 3 | 4
SPP_S |  | 2 | 5 | 7 | 12 | 5 | 4 | 6 | 6 | 6 | 5 | 6 | 5
TVA |  | 4 | 9 | 9 | 13 | 5 | 5 | 10 | 9 | 9 | 9 | 9 | 9
VACAR |  | 11 | 16 | 16 | 21 | 12 | 9 | 19 | 18 | 18 | 16 | 13 | 16
 |  | 75 | 144 | 145 | 208 | 96 | 82 | 169 | 149 | 152 | 143 | 125 | 143

## Slide 8: Future 3 Results (cont.)
7
New EI on-shore wind capacity through 2030 is shown below by NEEM region for Future 3.
2030 EI New On-Shore Wind Builds by Region: BAU vs. Future 3 (GW)
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.
 |  |  |  |  |  | Cum New On-Sh Wind in 2030 |  |  |  |  |  |  | 
 |  | F1S3 | F3B | F3S1 | F3S3 | F3S4 | F3S5 | F3S6 | F3S8 | F3S9 | F3S10 | F3S11 | F3S12
 |  | BAU | Reg | 75% | High | Low | ExHi | Low | Low | Hi $ | HiCN | ExLo | Hard
 |  | Base | CO2 | Soft | Load | Load | Gas | Gas | CO2 | Nuke | Impt | Rnw$ | Limit
ENT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FRCC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IESO |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
MAPP_CA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MAPP_US |  | 1 | 12 | 11 | 8 | 10 | 12 | 11 | 12 | 12 | 12 | 10 | 12
MISO_IN |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MISO_MI |  | 3 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
MISO_MO-IL |  | 0 | 6 | 6 | 8 | 1 | 6 | 6 | 6 | 6 | 6 | 6 | 6
MISO_W |  | 9 | 40 | 40 | 60 | 29 | 41 | 41 | 40 | 40 | 40 | 44 | 40
MISO_WUMS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
NE |  | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEISO |  | 5 | 5 | 5 | 5 | 5 | 7 | 5 | 5 | 5 | 5 | 9 | 5
NonRTO_Mid |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NYISO_A-F |  | 4 | 9 | 6 | 13 | 3 | 13 | 3 | 3 | 9 | 4 | 13 | 8
NYISO_G-I |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NYISO_J-K |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PJM_E |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
PJM_ROM |  | 7 | 1 | 1 | 2 | 1 | 7 | 5 | 1 | 1 | 1 | 7 | 1
PJM_ROR |  | 9 | 54 | 54 | 54 | 45 | 54 | 9 | 32 | 54 | 54 | 54 | 54
SOCO |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SPP_N |  | 0 | 12 | 14 | 16 | 12 | 12 | 17 | 17 | 12 | 12 | 16 | 13
SPP_S |  | 3 | 29 | 27 | 37 | 17 | 30 | 25 | 25 | 30 | 29 | 26 | 29
TVA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VACAR |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
 |  | 49 | 180 | 176 | 214 | 138 | 194 | 133 | 152 | 179 | 175 | 196 | 179

## Slide 9: Future 4 Results
8
Total EI capacity in 2030 is shown below by type for Future 4 (Aggressive EE/DR/DG/Smart Grid) in comparison to the BAU.
  Compared to the BAU, total EI demand is 17% to 33% lower by 2030 in these Future 4 cases.
    This yields less total capacity installed than in 2010. Most of the reduction from the BAU is in new CCs and CTs, along with more coal and steam oil/gas retirements.
Installed 2030 EI Capacity by Type: Future 4 vs. BAU (GW)
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.

## Slide 10: Future 4 Results
9
Total new EI capacity in 2030 is shown below by region for Future 4.
  Most of the new builds are the “forced builds” included in the Baseline Infrastructure.
2030 EI Builds by Region: Future 4 vs. BAU (GW)
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.

## Slide 11: Future 5 Base Case Results
10
Future 5 has a national RPS target starting at 7.5% in 2015 and reaching 30% in 2030 (MWh basis), with hydro, wind, biomass, solar, geothermal and landfill gas energy counting toward the RPS.
The inclusion of the National RPS and the feedbacks between MRN and NEEM result in changes in GDP, gas prices and electricity demand between the BAU (F1S3) and Future 5 Base Case (F5B).
  U.S. GDP is about 0.3% lower in F5B than in the BAU in 2030.
  Higher electricity prices and lower GDP reduce electricity demand in the EI as shown below.
  Beginning in 2020, gas prices decrease somewhat in F5B relative to the BAU (F1S3) as more renewables are installed in place of CCs.
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.
 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040
BAU (F1S3) | 4.84 | 5.22 | 6.07 | 6.56 | 7.25 | 8.02
Future 5 Base (F5B) | 4.87 | 5.10 | 5.71 | 5.84 | 6.46 | 7.26
 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040
BAU (F1S3) | 3,317 | 3,446 | 3,572 | 3,702 | 3,838 | 3,979
Future 5 Base (F5B) | 3,310 | 3,389 | 3,512 | 3,609 | 3,757 | 3,895
% Reduction from BAU | 0.2% | 1.7% | 1.7% | 2.5% | 2.1% | 2.1%
Gas Prices (2010 $/mmBtu Henry Hub)
El Electricity Demand (TWh)

## Slide 12: Summary of Results – Future 5 Base Case
11
For Future 5 Base Case, additional on-shore wind is constructed to meet the national RPS.
  Relative to the BAU (F1S3), the additional wind replaces new CCs and coal.
  On-shore wind continues to dominate the renewable options, as its economics tend to be more favorable than other renewable types in a “national RPS”.
Future 5 Base Case: New Builds/Retirements by Type for the EI in 2015, 2020 and 2030 (GW)
 | 2010 In-service | ---------- Additions ---------- |  |  | -------- Retirements -------- |  |  | 2030 In-service
 |  | 2015 | 2020 | 2030 | 2015 | 2020 | 2030 | 
Coal | 271.9 | 8.5 | 0.0 | 0.0 | 69.4 | 25.8 | 8.5 | 176.7
Nuclear | 99.8 | 2.7 | 4.5 | 0.0 | 0.0 | 0.6 | 1.5 | 105.0
CC | 132.7 | 28.1 | 8.3 | 2.8 | 4.8 | 0.0 | 0.5 | 166.6
CT | 120.3 | 4.7 | 8.7 | 4.4 | 2.4 | 0.0 | 0.0 | 135.7
Steam Oil/Gas | 74.5 | 0.0 | 0.0 | 0.0 | 34.9 | 0.9 | 1.2 | 37.6
Hydro | 44.6 | 0.0 | 2.2 | 5.7 | 0.0 | 0.0 | 0.0 | 52.4
On-shore Wind | 18.7 | 22.2 | 38.0 | 157.4 | 0.0 | 0.0 | 0.0 | 236.3
Off-shore Wind | 0.0 | 0.5 | 0.0 | 1.1 | 0.0 | 0.0 | 0.0 | 1.6
Other Renewables | 3.6 | 2.3 | 3.2 | 4.3 | 0.0 | 0.0 | 0.0 | 13.4
New HQ/Maritimes | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
Other | 17.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 17.1
Total | 783.3 | 69.0 | 64.9 | 175.6 | 111.5 | 27.3 | 11.7 | 942.5
DR | 33.1 | -1.3 | 16.8 | 22.1 | 0.0 | 0.0 | 0.0 | 70.7
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.

## Slide 13: Future 5 Results
12
Total EI capacity in 2030 is shown below by type for Future 5 in comparison to prior Futures.
  Compared to the BAU, additional on-shore wind replaces coal and CCs by 2030.
  In F5S1 and F5S2, the overall builds do not change significantly from F5B, except less total wind capacity can be built to meet the same RPS as “better wind” locations can be reached.
Installed 2030 EI Capacity by Type: Future 5 vs. BAU and Future 2 (GW)
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.
 |  |  |  | Installed Capacity in 2030 |  |  |  |  |  | 
 |  |  | F1S3 | F2B | F2S11 | F3B | F3S12 | F5B | F5S1 | F5S2
 | Total |  | BAU | Fed | Hard | Reg | Hard | Nat | 75% | 25%
 | 2010 |  | Base | CO2 | Limit | CO2 | Limit | RPS | Soft | Soft
Coal | 272 |  | 199 | 29 | 31 | 40 | 39 | 177 | 175 | 174
Nuclear | 100 |  | 105 | 133 | 131 | 134 | 134 | 105 | 105 | 105
CC | 133 |  | 202 | 246 | 226 | 256 | 252 | 167 | 167 | 167
CT | 120 |  | 132 | 106 | 112 | 104 | 105 | 136 | 136 | 143
Steam Oil/Gas | 75 |  | 36 | 22 | 29 | 18 | 18 | 38 | 39 | 39
Hydro | 45 |  | 45 | 50 | 51 | 52 | 52 | 52 | 51 | 51
On-Shore Wind | 19 |  | 68 | 282 | 317 | 199 | 197 | 236 | 220 | 216
Off-Shore Wind | 0 |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Other Renewable | 4 |  | 14 | 13 | 13 | 13 | 13 | 13 | 13 | 13
New HQ/Maritimes | 0 |  | 0 | 0 | 3 | 0 | 5 | 0 | 6 | 6
Other | 17 |  | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17
Total w/o DR | 783 |  | 819 | 901 | 932 | 833 | 833 | 942 | 931 | 933
DR | 33 |  | 71 | 71 | 71 | 71 | 71 | 71 | 71 | 71
Total w/DR | 816 |  | 890 | 971 | 1003 | 904 | 903 | 1013 | 1002 | 1004
EI Demand 2030 (TWh) |  |  | 3702 | 3248 | 3248 | 3248 | 3248 | 3609 | 3609 | 3609
Change from F1S3 |  |  |  | -12% | -12% | -12% | -12% | -3% | -3% | -3%

## Slide 14: Future 5 Results (cont.)
13
EI new capacity builds through 2030 are shown below by NEEM region for Future 5 vs. the BAU.
  In F5S1 & F5S2, wind moves toward the “better” locations in SPP to meet the same RPS targets.
    In F5S2, NE (SPP-Nebraska) sees a large increase and MISO_W a large decrease. PJM_ROM sees an increase back to BAU levels, as the MISO and PJM_ROR wind decreases.
2030 EI Capacity by Region: Future 5 vs. BAU (GW)
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.
 |  | Cum New Builds in 2030 |  |  |  |  |  | Cum New CCs in 2030 |  |  |  |  |  | Cum New On-Sh Wind 2030 |  |  |  | 
 |  | F1S3 | F2B | F5B | F5S1 | F5S2 |  | F1S3 | F2B | F5B | F5S1 | F5S2 |  | F1S3 | F2B | F5B | F5S1 | F5S2
 |  | BAU | Fed | Nat | 75% | 25% |  | BAU | Fed | Nat | 75% | 25% |  | BAU | Fed | Nat | 75% | 25%
 |  | Base | CO2 | RPS | Soft | Soft |  | Base | CO2 | RPS | Soft | Soft |  | Base | CO2 | RPS | Soft | Soft
ENT |  | 4 | 9 | 4 | 3 | 1 |  | 3 | 8 | 0 | 0 | 0 |  | 0 | 0 | 2 | 2 | 0
FRCC |  | 16 | 30 | 10 | 10 | 10 |  | 13 | 12 | 7 | 7 | 7 |  | 0 | 0 | 0 | 0 | 0
IESO |  | 5 | 5 | 5 | 5 | 5 |  | 1 | 1 | 1 | 1 | 1 |  | 2 | 2 | 2 | 2 | 2
MAPP_CA |  | 2 | 4 | 5 | 5 | 5 |  | 2 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
MAPP_US |  | 2 | 6 | 7 | 7 | 6 |  | 0 | 0 | 0 | 0 | 0 |  | 1 | 5 | 7 | 7 | 6
MISO_IN |  | 5 | 57 | 20 | 1 | 1 |  | 4 | 14 | 0 | 0 | 0 |  | 0 | 42 | 19 | 0 | 0
MISO_MI |  | 3 | 8 | 3 | 3 | 3 |  | 0 | 5 | 0 | 0 | 0 |  | 3 | 3 | 3 | 2 | 2
MISO_MO-IL |  | 2 | 30 | 20 | 8 | 3 |  | 0 | 1 | 0 | 0 | 0 |  | 0 | 27 | 18 | 6 | 0
MISO_W |  | 9 | 34 | 40 | 41 | 7 |  | 0 | 1 | 0 | 0 | 0 |  | 9 | 33 | 40 | 41 | 7
MISO_WUMS |  | 10 | 18 | 13 | 12 | 19 |  | 4 | 6 | 0 | 0 | 0 |  | 1 | 11 | 5 | 1 | 1
NE |  | 1 | 13 | 15 | 17 | 64 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 13 | 15 | 16 | 64
NEISO |  | 9 | 9 | 9 | 9 | 8 |  | 2 | 2 | 2 | 2 | 2 |  | 5 | 5 | 5 | 5 | 4
NonRTO_Mid |  | 1 | 6 | 1 | 1 | 1 |  | 1 | 5 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
NYISO_A-F |  | 4 | 10 | 7 | 4 | 4 |  | 1 | 1 | 1 | 1 | 1 |  | 4 | 10 | 6 | 3 | 3
NYISO_G-I |  | 1 | 1 | 0 | 0 | 0 |  | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
NYISO_J-K |  | 3 | 1 | 2 | 2 | 2 |  | 1 | 1 | 1 | 1 | 1 |  | 0 | 0 | 0 | 0 | 0
PJM_E |  | 7 | 7 | 7 | 7 | 7 |  | 5 | 5 | 5 | 5 | 5 |  | 1 | 1 | 1 | 1 | 1
PJM_ROM |  | 12 | 6 | 6 | 6 | 12 |  | 2 | 2 | 2 | 2 | 2 |  | 7 | 1 | 1 | 1 | 7
PJM_ROR |  | 20 | 71 | 27 | 27 | 17 |  | 8 | 28 | 3 | 3 | 3 |  | 9 | 40 | 20 | 20 | 10
SOCO |  | 10 | 23 | 8 | 8 | 8 |  | 8 | 12 | 5 | 5 | 5 |  | 0 | 0 | 0 | 0 | 0
SPP_N |  | 3 | 31 | 28 | 39 | 30 |  | 2 | 1 | 0 | 0 | 0 |  | 0 | 28 | 28 | 38 | 29
SPP_S |  | 8 | 45 | 43 | 53 | 58 |  | 2 | 4 | 0 | 0 | 0 |  | 3 | 38 | 41 | 51 | 56
TVA |  | 8 | 11 | 8 | 8 | 8 |  | 4 | 9 | 2 | 4 | 4 |  | 0 | 0 | 0 | 0 | 0
VACAR |  | 20 | 28 | 19 | 19 | 19 |  | 11 | 15 | 10 | 9 | 9 |  | 4 | 4 | 4 | 4 | 4
 |  | 165 | 465 | 310 | 294 | 298 |  | 75 | 135 | 39 | 40 | 40 |  | 49 | 263 | 218 | 201 | 197

## Slide 15: Future 5 Results (cont.)
14
F5B has more generation from wind than the BAU, but less than F2B. On-shore wind and hydro are the key capacity types meeting the national RPS requirements.
F5B has lower U.S. electric sector CO2 emissions than the BAU, but not as low as the national carbon futures.
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.
EI Generation as Percent of EI Energy Demand for Six Key Capacity Types
U.S. Electric Sector CO2 Emissions (Millions of metric tons)
 | 2020 | 2025 | 2030 | 2035
F1S3 (BAU) | 2,041 | 2,159 | 2,239 | 2,424
F2B | 1,086 | 718 | 487 | 277
F3B | 1,105 | 747 | 556 | 320
F4B | 1,858 | 1,838 | 1,823 | 1,883
F5B | 1,976 | 1,874 | 1,769 | 1,960
 | BAU F1S3 |  | F2B |  | F3B |  | F4B |  | F5B | 
 | 2020 | 2030 | 2020 | 2030 | 2020 | 2030 | 2020 | 2030 | 2020 | 2030
CC | 26% | 25% | 44% | 31% | 46% | 37% | 21% | 16% | 22% | 16%
Coal | 37% | 38% | 9% | 1% | 9% | 2% | 38% | 41% | 37% | 31%
Nuclear | 24% | 22% | 26% | 32% | 26% | 32% | 27% | 27% | 24% | 23%
On-Shore Wind | 4% | 5% | 12% | 25% | 10% | 18% | 5% | 5% | 7% | 20%
Off-Shore Wind | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Hydro | 6% | 5% | 6% | 7% | 6% | 7% | 6% | 7% | 6% | 7%
Total | 97% | 96% | 97% | 97% | 97% | 96% | 97% | 96% | 97% | 96%

## Slide 16: Next Steps
15
Hardened Future 5 transfer limits are calculated by the MWG to use in the remaining Future 5 sensitivities using the F5S2 (25%) soft constraint results.
The remaining Future 5 sensitivities are run in NEEM.
Future 6 Base Case (F6B) and soft-constraint sensitivity (F6S1) are run, and a soft constraint report is created for the MWG to calculate the hardened limits to use for the remaining F6 sensitivities using the F6S1 (25%) soft constraint results.
As time permits, F7B (nuclear resurgence) and F7S1 will be completed, and a soft constraint report created. Similarly, as time permits, F8B, F8S1 and F8S2 and an F8 soft constraint report.
Based on the last SSC call:
  The F2S8 and F3S7 “high carbon” sensitivities are reserved, and the F3S2 and F6S8 friction/hurdles sensitivities are eliminated.
The results presented herein use modeling assumptions developed by EIPC, EIPC stakeholders and CRA for purposes of EIPC capacity expansion modeling. As such, these results do not necessarily reflect the opinions or views of CRA or any individual EIPC stakeholder.