## Exh17 TX limits New
Transfer Limits to be used for remaining Future 2 sensitivities
Table. Transfer Limits between NEEM Regions (all limits in MW) - Transfer limits are unidirectional and should be stated as "FROM" column
C "TO" columns D through R
DESTINATION
|  | AZ_NM_SNV | ENTERGY | ERCOT | FRCC | MAPP_CA | MAPP_US | MISO_IN | MISO_MI | MISO_MO_IL | MISO_W | MISO_WUMS | NE | NEISO | Non_RTO_Midwest
ORIGIN | AZ_NM_SNV
| ENTERGY | [8 empty] | 2260
ERCOT
FRCC
| MAPP_CA | [5 empty] | 372 |  |  |  | 1970
| MAPP_US |  |  |  |  | 165 |  |  |  |  | 2635 |  | 2000
| MISO_IN | [7 empty] | 5768.4872 | 5000 |  |  |  |  | 4800
| MISO_MI | [6 empty] | 2813.4872 |  |  |  | 805.2833
| MISO_MO_IL |  | 2540 |  |  |  |  | 2100 |  |  | 1081.7663
| MISO_W |  |  |  |  | 700 | 2300 |  |  | 3921.7663 |  | 1666.8063 | 5288.589
| MISO_WUMS | [7 empty] | 787.2833 |  | 1174.8063
| NE | [5 empty] | 1600 |  |  |  | 4088.589
NEISO
| Non_RTO_Midwest | [6 empty] | 4450
| NWPP | [5 empty] | 150
| NYISO__A-F | [12 empty] | 600
| NYISO_GHI | [12 empty] | 600
| NYISO_J_&_K | [12 empty] | 315.2258
| IESO |  |  |  |  | 262 |  |  | 2590.6473 |  | 206.5805
PJM_Eastern_MAAC
PJM_Rest_of_MAAC
| PJM_Rest_of_RTO | [6 empty] | 1169.6576 | 1305 | 1111 | 13128.8003 | 1467
| RMPA | [5 empty] | 200 | [5 empty] | 310
| SOCO |  | 4300.3716 |  | 3700
| SPP_N |  | 15642.9406 | [6 empty] | 4018.7898 | 1087.4182 |  | 490.4642
| SPP_S | 400 | 2841.9766 | 800
| TVA |  | 3000 | [6 empty] | 4000 |  |  |  |  | 700
VACAR
Legend
Note: Non-existent links are blank.
DESTINATION
|  | NWPP | NYISO_A-F | NYISO_GHI | NYISO_J_&_K | IESO | PJM_Eastern_MAAC | PJM_Rest_of_MAAC | PJM_Rest_of_RTO | RMPA | SOCO | SPP_N | SPP_S | TVA | VACAR
ORIGIN | AZ_NM_SNV | [11 empty] | 400
| ENTERGY | [9 empty] | 3900.3716 | 15142.9406 | 3291.9766 | 2100
| ERCOT | [11 empty] | 800
| FRCC | [9 empty] | 900
| MAPP_CA |  |  |  |  | 330
| MAPP_US | 200 | [7 empty] | 200
| MISO_IN | [7 empty] | 1252.6576
| MISO_MI |  |  |  |  | 2330.6473 |  |  | 1424
| MISO_MO_IL | [7 empty] | 1212 |  |  | 4018.7898 |  | 4000
| MISO_W |  |  |  |  | 156.5805 |  |  | 13192.8003 |  |  | 3537.4182
| MISO_WUMS | [7 empty] | 1600
| NE | [8 empty] | 310 |  | 1960.4642
| NEISO |  | 600 | 600 | 745.2258
| Non_RTO_Midwest | [12 empty] | 2400
NWPP
| NYISO__A-F |  |  | 5685.3923 |  | 1600 |  | 1000
| NYISO_GHI |  | 3434.3923 |  | 6130 |  | 1500
| NYISO_J_&_K |  |  | 1999 |  |  | 330
| IESO |  | 1725
| PJM_Eastern_MAAC |  |  | 500 | 330 |  |  | 8000
| PJM_Rest_of_MAAC |  | 2000 |  |  |  | 8000 |  | 8000
| PJM_Rest_of_RTO | [6 empty] | 8000 | [5 empty] | 2500 | 3000
| RMPA | [10 empty] | 210
| SOCO | [12 empty] | 2600 | 2000
| SPP_N | [8 empty] | 210 |  |  | 4236.2379
| SPP_S | [10 empty] | 876.2381
| TVA | [7 empty] | 2000 |  | 3200 |  |  |  | 900
| VACAR | [7 empty] | 2000 |  | 3000 |  |  | 900
Legend
Note: Non-existent links are blank.

## Future 2 TX Limit increase
Transfer Limit increases called for by application of TLH methodology to Future 2 OL75 sensitivity flows
Table. Transfer Limits between NEEM Regions (all limits in MW) - Transfer limits are unidirectional and should be stated as "FROM" column
C "TO" columns D through R
DESTINATION
|  | AZ_NM_SNV | ENTERGY | ERCOT | FRCC | MAPP_CA | MAPP_US | MISO_IN | MISO_MI | MISO_MO_IL | MISO_W | MISO_WUMS | NE | NEISO | Non_RTO_Midwest
ORIGIN | AZ_NM_SNV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENTERGY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ERCOT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| FRCC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MAPP_CA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MAPP_US | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MISO_IN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 768.4872 | 0 | 0 | 0 | 0 | 0 | 0
| MISO_MI | 0 | 0 | 0 | 0 | 0 | 0 | 768.4872 | 0 | 0 | 0 | 688.2833 | 0 | 0 | 0
| MISO_MO_IL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 121.7663 | 0 | 0 | 0 | 0
| MISO_W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 121.7663 | 0 | 37.8063 | 2488.589 | 0 | 0
| MISO_WUMS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 688.2833 | 0 | 37.8063 | 0 | 0 | 0 | 0
| NE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2488.589 | 0 | 0 | 0 | 0
| NEISO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Non_RTO_Midwest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NWPP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NYISO__A-F | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NYISO_GHI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NYISO_J_&_K | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315.2258 | 0
| IESO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 750.6473 | 0 | 66.5805 | 0 | 0 | 0 | 0
| PJM_Eastern_MAAC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PJM_Rest_of_MAAC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PJM_Rest_of_RTO | 0 | 0 | 0 | 0 | 0 | 0 | 260.6576 | 0 | 0 | 12419.8003 | 0 | 0 | 0 | 0
| RMPA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SOCO | 0 | 1900.3716 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SPP_N | 0 | 13842.9406 | 0 | 0 | 0 | 0 | 0 | 0 | 2018.7898 | 337.4182 | 0 | 160.4642 | 0 | 0
| SPP_S | 0 | 1991.9766 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VACAR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Legend
Note: Non-existent links are blank.
DESTINATION
|  | NWPP | NYISO_A-F | NYISO_GHI | NYISO_J_&_K | IESO | PJM_Eastern_MAAC | PJM_Rest_of_MAAC | PJM_Rest_of_RTO | RMPA | SOCO | SPP_N | SPP_S | TVA | VACAR
ORIGIN | AZ_NM_SNV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENTERGY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1900.3716 | 13842.9406 | 1991.9766 | 0 | 0
| ERCOT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| FRCC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MAPP_CA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MAPP_US | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MISO_IN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 260.6576 | 0 | 0 | 0 | 0 | 0 | 0
| MISO_MI | 0 | 0 | 0 | 0 | 750.6473 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MISO_MO_IL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018.7898 | 0 | 0 | 0
| MISO_W | 0 | 0 | 0 | 0 | 66.5805 | 0 | 0 | 12419.8003 | 0 | 0 | 337.4182 | 0 | 0 | 0
| MISO_WUMS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160.4642 | 0 | 0 | 0
| NEISO | 0 | 0 | 0 | 315.2258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Non_RTO_Midwest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NWPP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NYISO__A-F | 0 | 0 | 1435.3923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NYISO_GHI | 0 | 1435.3923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NYISO_J_&_K | 0 | 0 | 0 | 0 | 0 | 330 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| IESO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PJM_Eastern_MAAC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PJM_Rest_of_MAAC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PJM_Rest_of_RTO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RMPA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SOCO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SPP_N | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236.2379 | 0 | 0
| SPP_S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236.2381 | 0 | 0 | 0
| TVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VACAR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Legend
Note: Non-existent links are blank.

## Exh17 TX Limits Old
Table. Transfer Limits between NEEM Regions (all limits in MW) - Transfer limits are unidirectional and should be stated as "FROM" column
C "TO" columns D through R
DESTINATION
|  | AZ_NM_SNV | ENTERGY | ERCOT | FRCC | MAPP_CA | MAPP_US | MISO_IN | MISO_MI | MISO_MO_IL | MISO_W | MISO_WUMS | NE | NEISO | Non_RTO_Midwest
ORIGIN | AZ_NM_SNV
| ENTERGY | [8 empty] | 2260
ERCOT
FRCC
| MAPP_CA | [5 empty] | 372 |  |  |  | 1970
| MAPP_US |  |  |  |  | 165 |  |  |  |  | 2635 |  | 2000
| MISO_IN | [7 empty] | 5000 | 5000 |  |  |  |  | 4800
| MISO_MI | [6 empty] | 2045 |  |  |  | 117
| MISO_MO_IL |  | 2540 |  |  |  |  | 2100 |  |  | 960
| MISO_W |  |  |  |  | 700 | 2300 |  |  | 3800 |  | 1629 | 2800
| MISO_WUMS | [7 empty] | 99 |  | 1137
| NE | [5 empty] | 1600 |  |  |  | 1600
NEISO
| Non_RTO_Midwest | [6 empty] | 4450
| NWPP | [5 empty] | 150
| NYISO__A-F | [12 empty] | 600
| NYISO_GHI | [12 empty] | 600
| NYISO_J_&_K | [12 empty] | 0
| IESO |  |  |  |  | 262 |  |  | 1840 |  | 140
PJM_Eastern_MAAC
PJM_Rest_of_MAAC
| PJM_Rest_of_RTO | [6 empty] | 909 | 1305 | 1111 | 709 | 1467
| RMPA | [5 empty] | 200 | [5 empty] | 310
| SOCO |  | 2400 |  | 3700
| SPP_N |  | 1800 | [6 empty] | 2000 | 750 |  | 330
| SPP_S | 400 | 850 | 800
| TVA |  | 3000 | [6 empty] | 4000 |  |  |  |  | 700
VACAR
Legend
Note: Non-existent links are blank.
DESTINATION
|  | NWPP | NYISO_A-F | NYISO_GHI | NYISO_J_&_K | IESO | PJM_Eastern_MAAC | PJM_Rest_of_MAAC | PJM_Rest_of_RTO | RMPA | SOCO | SPP_N | SPP_S | TVA | VACAR
ORIGIN | AZ_NM_SNV | [11 empty] | 400
| ENTERGY | [9 empty] | 2000 | 1300 | 1300 | 2100
| ERCOT | [11 empty] | 800
| FRCC | [9 empty] | 900
| MAPP_CA |  |  |  |  | 330
| MAPP_US | 200 | [7 empty] | 200
| MISO_IN | [7 empty] | 992
| MISO_MI |  |  |  |  | 1580 |  |  | 1424
| MISO_MO_IL | [7 empty] | 1212 |  |  | 2000 |  | 4000
| MISO_W |  |  |  |  | 90 |  |  | 773 |  |  | 3200
| MISO_WUMS | [7 empty] | 1600
| NE | [8 empty] | 310 |  | 1800
| NEISO |  | 600 | 600 | 430
| Non_RTO_Midwest | [12 empty] | 2400
NWPP
| NYISO__A-F |  |  | 4250 |  | 1600 |  | 1000
| NYISO_GHI |  | 1999 |  | 6130 |  | 1500
| NYISO_J_&_K |  |  | 1999 |  |  | 0
| IESO |  | 1725
| PJM_Eastern_MAAC |  |  | 500 | 330 |  |  | 8000
| PJM_Rest_of_MAAC |  | 2000 |  |  |  | 8000 |  | 8000
| PJM_Rest_of_RTO | [6 empty] | 8000 | [5 empty] | 2500 | 3000
| RMPA | [10 empty] | 210
| SOCO | [12 empty] | 2600 | 2000
| SPP_N | [8 empty] | 210 |  |  | 4000
| SPP_S | [10 empty] | 640
| TVA | [7 empty] | 2000 |  | 3200 |  |  |  | 900
| VACAR | [7 empty] | 2000 |  | 3000 |  |  | 900
Legend
Note: Non-existent links are blank.

## Sheet1
| BI | OL75 Average
ENT_2_MISO_MO-IL | 2260 | 0.00013167 | 2260.0001
ENT_2_SOCO | 2000 | 1900.3716 | 3900.3716
ENT_2_SPP_N | 1300 | 0.00013167 | 1300.0001
ENT_2_SPP_S | 1300 | 0.00013167 | 1300.0001
ENT_2_TVA_Transmission | 2100 | 0.00024764 | 2100.0002
FRCC_2_SOCO | 900 | 0.00020047 | 900.0002
IESO_2_MAPP_CA | 262 | 0.20046 | 262.2005
IESO_2_MISO_MI | 1840 | 750.6473 | 2590.6473
IESO_2_MISO_W | 140 | 66.5805 | 206.5805
IESO_2_NYISO_A-F | 1725 | 0.10663 | 1725.1066
MAPP_CA_2_IESO | 330 | 0.00021516 | 330.0002
MAPP_CA_2_MAPP_US | 372 | 0.00050119 | 372.0005
MAPP_CA_2_MISO_W | 1970 | 0.00034851 | 1970.0003
MAPP_US_2_MAPP_CA | 165 | 0.00023817 | 165.0002
MAPP_US_2_MISO_W | 2635 | 0.00034971 | 2635.0003
MAPP_US_2_NE | 2000 | 0.00013167 | 2000.0001
MISO_IN_2_MISO_MI | 5000 | 768.4872 | 5768.4872
MISO_IN_2_MISO_MO-IL | 5000 | 0.00020748 | 5000.0002
MISO_IN_2_NonRTO_Midwest | 4800 | 0.00013167 | 4800.0001
MISO_IN_2_PJM_ROR | 992 | 260.6576 | 1252.6576
MISO_MI_2_IESO | 1580 | 0.00013167 | 1580.0001
MISO_MI_2_MISO_IN | 2045 | 0.00013167 | 2045.0001
MISO_MI_2_MISO_WUMS | 117 | 0.00024361 | 117.0002
MISO_MI_2_PJM_ROR | 1424 | 0.00020126 | 1424.0002
MISO_MO-IL_2_ENT | 2540 | 0.00020704 | 2540.0002
MISO_MO-IL_2_MISO_IN | 2100 | 0.30382 | 2100.3038
MISO_MO-IL_2_MISO_W | 960 | 0.00019569 | 960.0002
MISO_MO-IL_2_PJM_ROR | 1212 | 0.021945 | 1212.0219
MISO_MO-IL_2_SPP_N | 2000 | 0.00013167 | 2000.0001
MISO_MO-IL_2_TVA_Transmission | 4000 | 0.000198 | 4000.0002
MISO_W_2_IESO | 90 | 0.00013167 | 90.0001
MISO_W_2_MAPP_CA | 700 | 0.00025144 | 700.0003
MISO_W_2_MAPP_US | 2300 | 0.00013167 | 2300.0001
MISO_W_2_MISO_MO-IL | 3800 | 121.7663 | 3921.7663
MISO_W_2_MISO_WUMS | 1629 | 37.8063 | 1666.8063
MISO_W_2_NE | 2800 | 0.00013167 | 2800.0001
MISO_W_2_PJM_ROR | 773 | 12419.8003 | 13192.8003
MISO_W_2_SPP_N | 3200 | 0.00013167 | 3200.0001
MISO_WUMS_2_MISO_MI | 99 | 688.2833 | 787.2833
MISO_WUMS_2_MISO_W | 1137 | 0.00021628 | 1137.0002
MISO_WUMS_2_PJM_ROR | 1600 | 0.034149 | 1600.0341
NE_2_MAPP_US | 1600 | 0.00048254 | 1600.0005
NE_2_MISO_W | 1600 | 2488.589 | 4088.589
NE_2_SPP_N | 1800 | 160.4642 | 1960.4642
NEISO_2_NYISO_A-F | 600 | 0.00013167 | 600.0001
NEISO_2_NYISO_G-I | 600 | 0.010496 | 600.0105
NEISO_2_NYISO_J-K | 430 | 315.2258 | 745.2258
NonRTO_Midwest_2_MISO_IN | 4450 | 0.00013167 | 4450.0001
NonRTO_Midwest_2_TVA_Transmission | 2400 | 0.00013167 | 2400.0001
NYISO_A-F_2_IESO | 1600 | 0.00013167 | 1600.0001
NYISO_A-F_2_NEISO | 600 | 0.00021215 | 600.0002
NYISO_A-F_2_NYISO_G-I | 4250 | 1435.3923 | 5685.3923
NYISO_A-F_2_PJM_ROM | 1000 | 0.003947 | 1000.0039
NYISO_G-I_2_NEISO | 600 | 0.00013167 | 600.0001
NYISO_G-I_2_NYISO_A-F | 1999 | 0.00013167 | 1999.0001
NYISO_G-I_2_NYISO_J-K | 6130 | 0.00022573 | 6130.0002
NYISO_G-I_2_PJM_E | 1500 | 0.00013167 | 1500.0001
NYISO_J-K_2_NEISO | 0.001 | 0.012353 | 0.013353
NYISO_J-K_2_NYISO_G-I | 1999 | 0.00013167 | 1999.0001
NYISO_J-K_2_PJM_E | 0.001 | 74.3428 | 74.3438
PJM_E_2_NYISO_G-I | 500 | 0.00021065 | 500.0002
PJM_E_2_NYISO_J-K | 330 | 0.00022149 | 330.0002
PJM_E_2_PJM_ROM | 8000 | 0.00019287 | 8000.0002
PJM_ROM_2_NYISO_A-F | 2000 | 0.00013167 | 2000.0001
PJM_ROM_2_PJM_E | 8000 | 0.00013167 | 8000.0001
PJM_ROM_2_PJM_ROR | 8000 | 0.00013167 | 8000.0001
PJM_ROR_2_MISO_IN | 909 | 0.00013167 | 909.0001
PJM_ROR_2_MISO_MI | 1305 | 0.00013167 | 1305.0001
PJM_ROR_2_MISO_MO-IL | 1111 | 0.00013167 | 1111.0001
PJM_ROR_2_MISO_W | 709 | 0.00013167 | 709.0001
PJM_ROR_2_MISO_WUMS | 1467 | 0.00013167 | 1467.0001
PJM_ROR_2_PJM_ROM | 8000 | 0.087064 | 8000.0871
PJM_ROR_2_TVA_Transmission | 2500 | 0.00013167 | 2500.0001
PJM_ROR_2_VACAR | 3000 | 0.00016282 | 3000.0002
SOCO_2_ENT | 2400 | 0.00013167 | 2400.0001
SOCO_2_FRCC | 3700 | 0.00019588 | 3700.0002
SOCO_2_TVA_Transmission | 2600 | 0.00013167 | 2600.0001
SOCO_2_VACAR | 2000 | 0.00013167 | 2000.0001
SPP_N_2_ENT | 1800 | 13842.9406 | 15642.9406
SPP_N_2_MISO_MO-IL | 2000 | 2018.7898 | 4018.7898
SPP_N_2_MISO_W | 750 | 337.4182 | 1087.4182
SPP_N_2_NE | 330 | 0.00019633 | 330.0002
SPP_N_2_SPP_S | 4000 | 236.2379 | 4236.2379
SPP_S_2_ENT | 850 | 1991.9766 | 2841.9766
SPP_S_2_SPP_N | 640 | 0.00020239 | 640.0002
TVA_2_ENT | 500 | 0.00020416 | 500.0002
TVA_2_MISO_MO-IL | 50 | 0.00013167 | 50.0001
TVA_2_NonRTO_Midwest | 100 | 0.00013167 | 100.0001
TVA_2_PJM_ROR | 50 | 0.00013167 | 50.0001
TVA_2_SOCO | 500 | 0.00020218 | 500.0002
TVA_2_VACAR | 150 | 0.000202 | 150.0002
TVA_Transmission_2_ENT | 3000 | 0.00013167 | 3000.0001
TVA_Transmission_2_MISO_MO-IL | 4000 | 0.00013167 | 4000.0001
TVA_Transmission_2_NonRTO_Midwest | 700 | 0.00013167 | 700.0001
TVA_Transmission_2_PJM_ROR | 2000 | 0.00013167 | 2000.0001
TVA_Transmission_2_SOCO | 3200 | 0.00013167 | 3200.0001
TVA_Transmission_2_TVA | 99999 | 0.00013167 | 99999.0001
TVA_Transmission_2_VACAR | 900 | 0.00013167 | 900.0001
VACAR_2_PJM_ROR | 2000 | 0.0002012 | 2000.0002
VACAR_2_SOCO | 3000 | 0.00013167 | 3000.0001
VACAR_2_TVA_Transmission | 900 | 0.00013167 | 900.0001